[image: image1.jpg]\\‘//
—

]
THE NELAC INSTITUTE




CHECKLIST TO DETERMINE ACCREDITATION BODY COMPLIANCE
	AB Applicant Name:
	     

	NELAP Certificate No.:
	     

	Date Reviewed:
	     

	Reviewed By:
	     


Note: Based on 2003 NELAC Standards: Most NELAC requirements identified on this checklist are a paraphrase of the NELAC Standard. The number preceding each checklist item is the location in the NELAC Standard where the exact language for that requirement can be found.

	NELAC REQUIREMENTS OF AN ACCREDITATION BODY

	No.
	AB Name:
     
	Y
	N
	N/A
	Document Location/Comments

	
	A. The accreditation body’s program requires accredited laboratories to meet the following NELAC standards:

	1
	2.2.3
Laboratories that seek to become accredited or maintain accreditation shall perform analyses of PT samples for each field of proficiency testing as defined in Section 2.1.PT samples shall be obtained from designated PTOB/PTPA-approved PT Provider. The results of the analyses shall be submitted to the PT provider for scoring.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	2
	2.2.4
The Primary Accreditation bodies shall make all decisions regarding a laboratory’s accreditation status. They are responsible for taking action to make these determinations including ensuring that laboratories seeking or holding their accreditations have participated in the PT Program. Accreditation bodies shall accept for the purposes of initial and continuing accreditation, PT results from any designated PTOB/PTPA-approved PT provider that meets the requirements of this standard. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	3
	2.4.1
To be accredited initially and to maintain accreditation, a laboratory shall participate in two single-blind, single concentration PT studies, where available, per year for each field of proficiency testing for which it seeks or wants to maintain accreditation. Laboratories must obtain PT samples from a PTOB/PTPA-approved PT provider. Each laboratory shall participate in at least two PT studies for each field of proficiency testing per year unless a different frequency for a given program is defined in the appendices. Section 2.5 describes the time period in which a laboratory shall analyze the PT samples and report the results. Data and laboratory evaluation criteria are discussed in Section 2.6 and 2.7 of this chapter. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	4
	2.4.2
At the time each laboratory applies for accreditation, it shall notify the Primary Accreditation body which field(s) of testing it chooses to become accredited for and shall participate in the appropriate PT studies. For all fields of proficiency testing, including those for which PT samples are not available, the laboratory shall ensure the reliability of its testing procedures by maintaining a total quality management system that meets all applicable requirements of Chapter Five of the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	5
	2.4.3
Each laboratory shall authorize the PT Provider to release all accreditation and remediation results and acceptable/not acceptable status directly to the Primary Accreditation body, and the PTOB/PTPA, in addition to the laboratory.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	6
	2.5
The samples shall be analyzed and the results returned to the PT Provider no later than 45 calendar days from the opening of the study (i.e., first day that samples are shipped or available to laboratories). The laboratory’s management and all analysts shall ensure that all PT samples are handled (i.e., managed, analyzed, and reported) in the same manner as real environmental samples utilizing the same staff, methods as used for routine analysis of that analyte, procedures, equipment, facilities, and frequency of analysis.


When analyzing a PT sample, a laboratory shall employ the same calibration, laboratory quality control and acceptance criteria, sequence of analytical steps, number of replicates and other procedures as used when analyzing routine samples.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	7
	2.5.1(a)
A laboratory shall not send any PT sample, or a portion of a PT sample, to another laboratory for any analysis for which it seeks accreditation, or is accredited.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	8
	2.5.1(b)
A laboratory shall not knowingly receive any PT sample or portion of a PT sample from another laboratory for any analysis for which the sending laboratory seeks accreditation, or is accredited.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	9
	2.5.1(c)
Laboratory management or staff shall not communicate with any individual at another laboratory (including intracompany communication) concerning the PT sample.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	10
	2.5.1(d)
Laboratory management or staff shall not attempt to obtain the assigned value of any PT sample from their PT Provider.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	11
	2.5.2
The laboratory shall maintain copies of all written, printed, and electronic records, including but not limited to bench sheets, instrument strip charts or printouts, data calculations, and data reports, resulting from the analysis of any PT sample for five years or for as long as is required by the applicable regulatory program, whichever is greater. These records shall include a copy of the PT study report forms used by the laboratory to record PT results. All of these laboratory records shall be made available to the assessors of the Primary Accreditation body during on-site audits of the laboratory.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	12
	2.7.2
A laboratory seeking to obtain or maintain accreditation shall successfully complete two initial or continuing PT studies for each requested field of proficiency testing within the most recent three rounds attempted. For a laboratory seeking to obtain accreditation, the most recent three rounds attempted shall have occurred within 18 months of the laboratory’s application date. Successful performance is described in Appendix C. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	13
	2.7.2
When a laboratory has been granted accreditation status, it shall continue to complete PT studies for each field of proficiency testing and maintain a history of at least two acceptable PT studies for each field of proficiency testing out of the most recent three. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	14
	2.7.2
For initial accreditation, the laboratory must successfully analyze two sets of PT studies, the analyses to be performed at least 15 calendar days apart from the closing date of one study to the shipment date of another study for the same field of proficiency testing.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	15
	2.7.2
For continuing accreditation, completion dates of successive proficiency rounds for a given field of proficiency testing shall be approximately six months apart. Failure to meet the semiannual schedule is regarded as a failed study.


Initial or continuing PT Studies must meet all applicable criteria described in this chapter and associated appendices.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	16
	2.7.3
A NELAP-accredited laboratory may elect to participate in supplemental PT studies when the laboratory desires to add field(s) of proficiency testing to their scope or when the laboratory fails an initial or continuing PT study and wishes to re-establish its history of successful performance. These additional studies are not distinguished from the initial or continuing PT studies except that: analysis dates of supplemental PT studies must be at least 15 calendar days apart from the closing date of one study to the shipment date of another study for the same field of proficiency testing. For supplemental studies, laboratories report to their PT Provider results for all analytes for which they are demonstrating corrective action or requesting an expansion of their existing accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	17
	2.7.3.1
A NELAP accredited laboratory is required to maintain acceptable performance in PT studies on a semiannual schedule. If an accredited laboratory fails to maintain a record of passing two out of the most recent three PT studies, it may be subject to loss of accreditation for one or more fields of accreditation in its current scope of accreditation. A laboratory that is out of compliance with this PT requirement may choose to participate in a Supplemental PT Study for Demonstrating Corrective Action. Corrective Action PT samples must meet the following criteria:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	18
	2.7.3.1(a)
The sample must be obtained from a PT Provider that meets the accreditation requirements of NELAC.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	19
	2.7.3.1(b)
The sample must be from a lot that has been demonstrated to have met all of the design, testing, and verification requirements of Chapter 2 and associated Appendices. PT samples from previously released NELAC compliant PT studies may be used as long as they are within the stability period (e.g., an expiration date) for that sample.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	20
	2.7.3.1(c)
The PT provider cannot supply the laboratory with a sample that has been previously sent to the laboratory. The original sample tracking ID must be masked and the sample tracking ID shall be unique. (See Chapter 2, section A.5.2)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	21
	2.7.3.1(d)
For corrective action supplemental studies, the assigned values for all analytes requested by the laboratory must not be equal to zero with the exception of the qualitative PCB group and qualitative microbiology.


All other aspects of Supplemental PT studies for Demonstrating Corrective Action including scoring and distribution of final reports must meet all other requirements of the NELAC PT program.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	22
	2.7.3.2
A laboratory that is NELAP accredited may add fields of accreditation to its current scope of accreditation. As part of the request to expand its scope of accreditation, the laboratory is required to submit to its Primary Accreditation body, results of participation in two successful PT studies. The laboratory may use results of a PT study that meets the requirements of either Section 2.7.2 or 2.7.3.1. After the laboratory is granted accreditation for the requested FOT, the laboratory is required to participate in regular semi-annual PT studies.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	23
	2.7.4
Whenever a laboratory fails a study, it shall determine the cause for the failure and take any necessary corrective action. It shall then document in its own records and provide to the Primary Accreditation body both the investigation and the action taken. If a laboratory fails two out of the three most recent studies for a given field of proficiency testing, its performance is considered unacceptable under the NELAC PT standard for that field. The laboratory shall then meet the requirements of initial accreditation as described in Section 2.7.2 – Initial or Continuing Accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	24
	2.7.7
A laboratory may withdraw from a PT study for an analyte(s) or for the entire study if the laboratory notifies both the PT Provider and the Primary Accreditation body before the closing date of the PT study. This does not exempt the laboratory from participating in the semiannual schedule.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	25
	2.7.8
There may be occasions when the PT Provider has shipped one or more samples for NELAP accreditation which do not meet the quality control requirements of Appendix B, and the provider has not in a timely manner notified all affected laboratories or Accreditation bodies as described in Section A.10 of this standard. In this case, An Accreditation body, upon review of summary data or other relevant documentation, may choose not to use the results of the analyte(s)/matrices to support the accreditation status of the laboratories. In order to justify not using the results, first contact the PT Provider and attempt to resolve the situation. If after notifying the PT Provider, the AA still chooses to pursue a complaint against the provider, the AA shall submit a written complaint to the PTOB/PTPA which currently accredits the PT Provider for the particular analyte(s) and matrices. The AA shall follow all procedures for filing complaints as specified by the PTOB/PTPA. If the AA is not satisfied by the response of the PTOB/PTPA which granted the accreditation, the AA shall submit a written complaint to the PT Board. The PT Board shall evaluate the complaint. If the complaint is determined to be valid, then the PT Board shall notify the PTOB/PTPA of any steps that may result in the revocation of the PTOB/PTPA being recognized by NELAP as a PTOB/PTPA. 


The AA may determine that the affected laboratories shall either wait until the next regularly scheduled PT testing round to analyze another PT for that field of accreditation, or may require the laboratories to obtain and analyze a supplemental sample, and repeat the test. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	26
	3.5.2
A laboratory's refusal to admit the assessment team for assessment results in an automatic failure of the laboratory to receive accreditation or loss of an existing accreditation by the laboratory, unless there are extenuating circumstances that are accepted and documented by the accreditation authority. The assessment team leader must notify the AA as soon as possible after refusal of entry.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	27
	4.1.1.1
The laboratory must have a technical director(s) who is a full-time member of the staff of an environmental laboratory who exercises actual day-to-day supervision of laboratory operations for the appropriate fields of accreditation and reporting of results.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	28
	4.1.1.1
A technical director who is absent for a period of time exceeding 15 consecutive calendar days shall designate another full-time staff member meeting the qualifications of technical director(s) to temporarily perform this function. If this absence exceeds 65 consecutive calendar days, the primary accreditation body shall be notified in writing.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	29
	4.1.1.1
The technical director must meet the qualifications found in Chapter Four, section 4.1.1.1 (a) through (f) and exemption language in section 4.1.1.2.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	30
	4.1.1
When the technical director does not meet the educational requirements specified in Sec. 4.1.1.1 and 4.1.1.2 but possesses the requisite experience of Section 4.1.1.1 of the NELAC standards, he/she must meet the qualifications given in Sec. 4.1.1 (a) through (d).
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	31
	4.1.3(b)
After being notified of deficiencies, the laboratory shall have 30 calendar days from the date of receipt of the assessment report to provide a corrective action report.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	32
	4.1.3(d)
If the corrective action report (or a portion) is deemed unacceptable to remediate a deficiency, the laboratory shall have an additional 30 calendar days to submit a revised corrective action report.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	33
	4.1.5(a)
Each accredited laboratory shall have a named Quality Assurance Officer or a person designated as account-able for data quality in accordance with Chapter 5.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	34
	4.1.5(b)
Each accredited laboratory shall have a developed and maintained Quality Manual available on site, as required in Chapter 5.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	35
	4.1.8(e)
Where there is a change in ownership all records and analyses performed pertaining to accreditation must be kept for a minimum of 5 years and are subject to inspection by the accreditation bodies during this period without prior notification to the laboratory. This stipulation is applicable regardless of change in ownership, accountability or liability.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	36
	4.3.2
The accredited laboratory shall notify the accreditation body of any changes in key accreditation criteria within 30 calendar days of the change. This written notification of change includes but is not limited to: changes in the laboratory ownership, location, key personnel, and major instrumentation. All such updates are public record, and any or all of the information contained therein may be placed in the national database.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	37
	4.6
The certificate must be returned to the accreditation body upon loss of accreditation. However, this does not require the return of a certificate which has simply expired (reached the expiration date). If an accredited laboratory changes its scope of accreditation, a new certificate shall be issued which details the laboratory’s accreditation(s).
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	38
	4.6.1
An accredited laboratory must not misrepresent its NELAP accredited fields of accreditation, methods, analytes or its NELAP accreditation status on any document. This includes laboratory reports, catalogs, advertising, business solicitations, proposals, quotations or other materials (pursuant to NELAC Chapter 6, Section 8). 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	39
	5.0
The laboratories must meet all the requirements set forth in NELAC, Chapter 5. Verification and documentation of this must be accomplished by comparison of the applicant accreditation body's program requirements with the Chapter 5 checklist. The NELAP assessment team must note on the checklist that each Chapter 5 requirement is addressed by the applicant accreditation body's program.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	40
	6.8(a)(1)
NELAP accredited laboratories must post or display their most recent NELAP accreditation certificate or their NELAP accreditation fields of accreditation in a prominent place in the laboratory facility.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	41
	6.8(a)(2)
NELAP accredited laboratories must make accurate statements concerning their NELAP accreditation fields of accreditation and NELAP accreditation status.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	42
	6.8(a)(3)
NELAP accredited laboratories accompany the accreditation body’s name and/or the NELAC/NELAP logo with at least the phrase “NELAP accredited” and the laboratory’s accreditation number or other identifier when the accreditation body’s name is used on general literature such as catalogs, advertising, business solicitations, proposals, quotations, laboratory analytical reports or other materials.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	43
	6.8(a)(4)
NELAP accredited laboratories not use their NELAP certificate, NELAP accreditation status and/or NELAC/NELAP logo to imply endorsement by the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	
	B. The accreditation body's program must meet the following NELAC standards:

	44
	2.7.5
If a laboratory fails a second study out of the most recent three for a given analyte, as described in Section 2.7.4, the Primary Accreditation body shall take action, pursuant to Chapter 4, within 60 calendar days. The Primary AA shall also determine the accreditation status for all technologies/methods for which unacceptable results were reported for the analyte(s) in each matrix.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	45
	2.7.6
A Primary Accreditation body may specify which months that laboratories within its authority are required to participate in NELAC PT programs. If the Primary Accreditation body chooses to specify the months, then it shall adhere to the required semiannual schedule. If the Primary Accreditation body does not specify the months, then the laboratory shall determine the semiannual schedule.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     


	46
	3.2.1
An assessor must be an experienced professional and hold at least a Bachelor’s degree in a scientific discipline, or have equivalent experience in environmental laboratory assessment.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	47
	3.2.1
Each assessor must satisfactorily complete a training program approved by the AA responsible for on-site assessments. Each AA shall be responsible for ensuring that the training course used to train its assessors meets the NELAC standards. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	48
	3.2.1(a)
The assessor training program must include participation in the NELAC Basic Training Course (Section 3.2.3.1 and Appendix A), including attainment of a passing score on the written examination for the course.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	49
	3.2.1(b)
The assessor training program must include participation in at least four actual NELAC on-site assessments under the supervision of a qualified assessor. Assessors employed by accreditation bodies (either directly or as a third party) when the authority is granted NELAP recognition (see section 6.7) are exempt from the requirement to undergo training with a qualified assessor, provided they have previously conducted four assessments and been judged proficient by the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	50
	3.2.1(c)
The assessor training program must include completion of the applicable technical training requirements for at least one field of accreditation (Section 3.2.3.2 and Appendix B).
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	51
	3.2.1
Assessors must take annual refresher/update training as defined in Section 3.2.3.3
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	52
	3.2.1(a)
Assessors must be familiar with the relevant legal regulations, accreditation procedures, and accreditation requirements.

Note: This is for refresher purposes not same as item #48.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	53
	3.2.1(b)
Assessors must have a thorough knowledge of the relevant assessment methods and assessment documents.

Note: This is for refresher purposes not same as item #49.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	54
	3.2.1(c)
Assessors must be thoroughly familiar with the various forms of records described in Section 3.5.3 - Records Review.

Note: This is for refresher purposes not same as item #50.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	55
	3.2.1(d)
Assessors must be thoroughly cognizant of data reporting, analysis, and reduction techniques and procedures;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	56
	3.2.1(e)
Assessors must have a working knowledge and be conversant with the specific tests or types of tests for which the accreditation is sought and, where relevant, with the associated sampling and preservation procedures.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	57
	3.2.1(f)
Assessors must be able to communicate effectively, both orally and in writing.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	58
	3.2.2
Each assessor must sign a statement before conducting an assessment certifying that no conflict of interest exists and provide any supporting information as required by the accreditation body. Failure to provide this information will make the proposed assessor ineligible to participate in the assessment program. (See also 6.3.2.1(i))
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	59
	3.3.1
Accreditation bodies must conduct a comprehensive on-site assessment of each laboratory prior to granting accreditation, except as allowed by interim accreditation (Section 4.5.1). In addition, an on-site assessment of each accredited laboratory must be completed at least every two years. Assessments may be conducted more frequently for cause, at the option of the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	60
	3.3.2
If directed by an accreditation body, an assessment team must conduct follow-up assessments at laboratories where a deficiency was identified by the previous assessment. These assessments may be, but are not necessarily limited to, determining whether a laboratory has corrected its deficiency(ies), or determining the merit of a formal appeal from the laboratory.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	61
	3.3.2
When deficiencies are of such severity as to possibly warrant the downgrading of a laboratory’s accreditation status, any follow-up assessment that is planned or conducted must be completed and reported within thirty (30) calendar days after the receipt of the laboratory’s plan of corrective action.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	62
	3.3.3
When a change occurs in a laboratory’s ownership, location, key personnel, or major instrumentation, notification of the accreditation body is required within 30 days (Section 4.3.2). The accreditation body must evaluate the significance of a change that might alter or impair the laboratory’s capability and quality, and indicate to the laboratory the results of their evaluation in writing. The accreditation body must retain records to indicate that such an evaluation was conducted.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	63
	3.3.4
The accreditation body, at its discretion, may conduct either unannounced or announced on-site assessments. The accreditation body is not required to provide advance notice of an assessment. To the maximum extent practical, accreditation bodies, when necessary, shall work with Federal departments/agencies/contractors to obtain government security clearances for their assessors as far in advance as possible. Federal departments/agencies/ contractors shall facilitate expeditious attainment of the necessary clearances.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	64
	3.4.1.1
The accreditation body determines the number and expertise of the assessment team and support personnel that are required to conduct the on-site assessment based on the type of assessment and the scope of accreditation of the accredited or applicant laboratory.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	65
	3.4.1.2
An assessment team may include technical support personnel approved by the primary accreditation body as capable of providing assistance to the assessors. These individuals need not be formally qualified by the accreditation body as assessors (Section 3.2.2). If not so qualified, these individuals must still meet the requirements of the standards concerning conflicts of interest and professional conduct.. Members of the assessment team who provide technical assistance but are not qualified as assessors are not eligible to conduct interviews in the absence of the assessor nor to cite deficiencies.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	66
	3.4.2
The on-site assessment must include both an appraisal of the laboratory's operations and a review of the appropriate records. The assessment for a field of accreditation must cover the complete scope of accreditation for which the laboratory seeks or maintains accreditation within the specific field of accreditation as authorized by the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	67
	3.4.2.1
A laboratory assessment must review the ability of the laboratory to conduct environmental testing. The examination of the systems, processes and procedures of the laboratory should give a general sense of its past and present capabilities to perform work of known and documented quality. During a laboratory assessment, the assessment team must identify a number of samples or a recently completed or on-going project and evaluate to what extent the tests are being conducted according to the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	68
	3.4.2.2
The accreditation body reviews records to determine whether the testing laboratory has maintained necessary documentation of data, the quality system, and other information to technically substantiate reports previously issued. During a records review, the assessment team will conduct an overall assessment of data and will compare data with submitted reports to determine whether the data were collected, generated, and reported following the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	69
	3.4.3
The assessment team, prior to initiating an on-site assessment, shall make determinations as to which laboratory records shall be reviewed prior to the actual site visit. These records, from the files of the accreditation body, the national laboratory accreditation database, or the laboratory itself include, but are not limited to:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	70
	3.4.3(a)
Copies of previous assessment reports and proficiency testing sample results;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	71
	3.4.3(b)
General laboratory information such as laboratory submitted self-assessment forms, SOPs, and Quality Manual(s);
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	72
	3.4.3(c)
Official laboratory communications and associated records with appropriate accreditation body staff;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	73
	3.4.3(d)
Available documents from recipients of reports from the laboratory;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	74
	3.4.3(e)
The laboratory’s application for accreditation;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	75
	3.4.3(f)
The existing program regulations (federal and state), and
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	76
	3.4.3(g)
The most recently approved or in use laboratory methods for which the laboratory has requested or maintains accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	77
	3.4.4
Documents necessary for the assessment must be provided to the laboratory management or staff. The lead assessor must obtain copies of all forms required for the assessment, including the appropriate checklist(s). In addition, the lead assessor must provide information to the laboratory on how to obtain assessment information from the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	78
	3.4.5
The accreditation body has procedures in place for treating confidential business information in a safe and secure manner. EPA regulations for handling confidential business information (40CFR, Part 2, Subpart B) must be followed in NELAP matters. 


During assessments, if the assessment team comes into possession of information claimed as business confidential, the laws and regulations of the primary accreditation body will govern the procedures for handling and disclosure of this information. If the primary accreditation body is not subject to laws or regulations pertaining to confidential business information, the EPA regulations for handling confidential business information, detailed in Title 40, CODE of Federal Regulations, Part 2, Subpart B, will apply. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	79
	3.5.2
An opening conference must be conducted and shall address the following topics:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	80
	3.5.2(a)
the purpose of the assessment;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	81
	3.5.2(b)
the identification of the assessment team;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	82
	3.5.2(c)
the primary areas that will be examined;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	83
	3.5.2(d)
any pertinent records and operating procedures to be examined during the assessment and the names of the individuals in the laboratory responsible for providing the assessment team with the necessary documentation;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	84
	3.5.2(e)
the roles and responsibilities of key managers and staff in the laboratory;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	85
	3.5.2(f)
the procedures related to Confidential Business Information;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	86
	3.5.2(g)
any special safety procedures that the laboratory may think necessary for the protection of the assessment team while in certain parts of the facility (under no circumstance is an assessment team required or even allowed to sign any waiver of responsibility on the part of the laboratory for injuries incurred by a team member during an inspection to gain access to the facility);
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	87
	3.5.2(h)
the standards that will be used by the assessors in judging the adequacy of the laboratory operation;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	88
	3.5.2(i)
confirmation of the tentative time for the exit conference;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	89
	3.5.2(j)
presentation of the assessment appraisal form to the responsible laboratory official (for submission to the accreditation body); 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	90
	3.5.2(k)
discussion of any questions the laboratory may have about the assessment process.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	91
	3.5.3
Assessment team members must review laboratory records for accuracy, completeness, and the use of proper methodology. NELAC Chapter 5, Section 5.4.12 lists the records required for review during the assessment. The assessors must document the required elements of the records review on the NELAC assessment checklists.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	92
	3.5
The laboratory must mark all confidential information. The lead assessor must handle it as required by appropriate laws and regulations. All other information for all aspects of application, assessment and accreditation of laboratories is considered public information. If the laboratory requests that information is confidential, the information must be treated as confidential until a ruling can be made by the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	93
	3.5.4
The assessment team members shall have the authority to conduct interviews with any/all staff, as necessary.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	94
	3.5.5
The assessment team must meet with representative(s) of the laboratory following the assessment for an informal debriefing and discussion of findings. The assessment team shall in no way be limited in its ability to identify additional problem areas in the final assessment report should it become necessary. The assessment team shall provide only preliminary determinations of potential findings, their severity, and whether they are critical in natures, and must information laboratory that final determinations concerning the number, nature, and extent of assessment findings shall be made by the accreditation body, after reviewing reported findings. The assessment team must describe all deficiencies identified-to-date with the possible exception of any issues of improper and/or potentially illegal activity which may be the subject of further action.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	95
	3.5.5
In the event the laboratory disagrees with the findings of the assessor(s), and the team leader adheres to the original findings, the deficiencies with which the laboratory takes exception shall be documented by the team leader and included in the report to the accreditation body for consideration. The accreditation body makes a determination as to the validity of the contested elements.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	96
	3.5.5
The assessment team must inform the laboratory representative(s) that an assessment report encompassing all relevant information concerning the ability of the applicant laboratory to comply with the accreditation requirements is forthcoming.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	97
	3.5.6
The accreditation body or its authorized third party must present an assessment report to the laboratory within thirty (30) calendar days of the assessment. The laboratory has thirty (30) calendar days from the date of receipt of the report to provide a plan of corrective action to the accreditation body (see Section 4.1.3). An exception to these deadlines is in those circumstances where a possible enforcement investigation or other action has been initiated. The laboratory shall give priority to correcting critical findings identified by confirmed by the accreditation body. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	98
	3.5.7
After reviewing the assessment report and any completed corrective action(s) reported by the laboratory, the accreditation body will make the determination of the accreditation status for a laboratory. Additional on-site assessments may be conducted before a final decision for accreditation is made following the procedures of the accreditation bodies.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	99
	3.6.1
The following areas are to be evaluated against the standards detailed in Chapter 5, Quality Systems, Chapter 2, Proficiency Testing and Chapter 4, Accreditation Process of the NELAC Standards and the appropriate method references during an on-site assessment to evaluate laboratories consistently and uniformly:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	100
	3.6.1(a)
Organization and Management
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	101
	3.6.1(b)
Quality System - Establishment, Assessments, Essential Quality Controls and Data Verification
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	102
	3.6.1(c)
Personnel
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	103
	3.6.1(d)
Physical Facilities - Accommodation and Environment
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	104
	3.6.1(e)
Equipment and Reference Materials
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	105
	3.6.1(f)
Measurement Traceability and Calibration
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	106
	3.6.1(g)
Test Methods and Standard Operating Procedures
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	107
	3.6.1(h)
Sample Handling, Sample Acceptance Policy and Sample Receipt
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	108
	3.6.1(i)
Records
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	109
	3.6.1(j)
Laboratory Report Format and Contents
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	110
	3.6.1(k)
Subcontracting of Analytical Samples
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	111
	3.6.1(l)
Outside Support Services and Supplies
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	112
	3.6.1(m)
Complaints
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	113
	3.6.2
During the assessment, sufficient information may become available to suspect that a particular person has violated an environmental law or regulation, such as knowingly making a false statement on a report. This information must be carefully documented since further action may be necessary. In the event that evidence of improper and/or potentially illegal activities have or may have occurred, the assessment team must present such information to the accreditation body for appropriate action(s). These issues, at the discretion of the accreditation body, may or may not be subjects or issues of the closing conference. However, the assessor must continue to gather the information necessary to complete the accreditation assessment.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	114
	3.6.3
Standardized checklists must be used for the on-site assessment.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	115
	3.6.4
Professional standards apply to every NELAC assessor, whether a government employee or an employee of a third party organization conducting assessments under an agreement with a NELAP accreditation body. Assessors that knowingly engage in unprofessional activity may be liable for punitive actions as initiated by the affected accreditation body. Standards for Professional Conduct outlined in this section are based upon 5 CFR 2635 (Standards of Ethical Conduct for Employees of the Executive Branch) and will be followed in NELAP related matters. NELAC assessors shall:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	116
	3.6.4(a)
have no interest at play other than that of the accreditation body and NELAC during the entire accreditation process;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	117
	3.6.4(b)
act impartially and not give preferential treatment to any organization or individual;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	118
	3.6.4(c)
provide equal treatment to all persons and organizations regardless of race, color, religion, sex, national origin, age, and/or disability;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	119
	3.6.4(d)
not use their position for private gain; 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	120
	3.6.4(e)
not solicit or accept any gift or other item of monetary value from any laboratory, laboratory representative, or any other affected individual or organization doing business with, or affected by, the actions of the assessor’s employer or accreditation body;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	121
	3.6.4(f)
not hold financial interests that conflict with the conscientious performance of their duties;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	122
	3.6.4(g)
not engage in financial transactions using information gained through their positions as assessors to further any private interest;
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	123
	3.6.4(h)
not engage in employment activities (seeking or negotiating for employment) or attempt to arrange contractual agreements with a laboratory that would conflict with their duties and responsibilities as an assessor; 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	124
	3.6.4(i)
not knowingly make unauthorized commitments or promises of any kind purporting to bind the affected accreditation body and,
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	125
	3.6.4(j)
attempt to avoid any actions that could create even the appearance that they are violating any of the standards of professional conduct outlined in this section.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	126
	3.6.4
It is the assessors’ responsibility to report to the affected accreditation body any personal issues or activities that constitute a conflict of interest before an assessment occurs. It is up to the affected accreditation body to determine if the reported issues and activities regarding a specific assessor constitute, or be construed as, a conflict of interest. Appeals of decisions made by accreditation bodies regarding such matters must be directed to the Executive Director of the NELAC, who shall make the final decision as to the merit of such appeals.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	127
	3.7.1
The checklists used by the assessors during the assessment shall become a part of the permanent file kept by the accreditation body for each laboratory. The assessor shall specify the laboratory records, documents, equipment, procedures, or staff evaluated and the observations that contributed to the evaluation of “No” for each assessment checklist item. This information must be documented in the comments section or referenced on the checklist. The assessment report must contain sufficient evidence to support all assessment findings and the overall evaluation of the laboratory.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	128
	3.7.2
The final assessment report shall be written to contain a description of the adequacy of the laboratory as it relates to the assessment standards in Section 3.6.1. Assessment reports must be generated in a narrative format. Documentation of existing conditions at the laboratory must be included in each report to serve as a baseline for future contacts with the facility. Assessment reports must contain:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	129
	3.7.2(a)
Identification of the organization assessed (name and address),
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	130
	3.7.2(b)
Date of the assessment,
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	131
	3.7.2(c)
Identification and affiliation of each assessment team member,
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	132
	3.7.2(d)
Identification of participants in the assessment process,
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	133
	3.7.2(e)
Statement of the objective of the assessment,
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	134
	3.7.2(f)
Summary,
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	135
	3.7.2(g)
Assessment, findings (deficiencies) and requirements.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	136
	3.7.2
The Findings and Requirements section must be referenced to the NELAC standards so that both the finding (deficiency) is understood and the specific requirement is outlined. The team leader shall assure that the results within the final assessment report conform to established standards for the evaluated parameters.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	137
	3.7.3
The accreditation body shall be recognized as having the responsibility for the distribution of the assessment reports. The assessment team leader shall compile, edit, and submit the final report to the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	138
	3.7.4
On-site assessment reports must be released initially by the accreditation body only. The reports will be released to the responsible laboratory official(s). The assessment report shall not be released to the National Accreditation Database and the public until findings of the assessment and the corrective actions have been finalized, all Confidential Business Information and information related to national security has been stricken from the report in accordance with prescribed procedures, and the report has been provided to the laboratory (Section 4.1.3). 


In accordance with the Freedom of Information requirements, any documentation adjudged to be proprietary, financial and/or trade information, or relevant to an ongoing enforcement investigation, must be considered exempt from release to the public.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	139
	3.7.5
Copies of all assessment reports, checklists, and laboratory responses must be retained by the accreditation body for a period of at least five (5) years, or longer if required by specific State or Federal regulations. (See Sections 4.3.3 & 5.12.2(b))
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	140
	4.0(a)
Laboratories applying for accreditation may be fixed-base or mobile. The primary accreditation body shall determine what constitutes an individual fixed-base laboratory when noncontiguous laboratory facilities operate under the same ownership, technical directorship, and quality system as the parent laboratory.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	141
	4.0(b)
The primary accreditation body shall determine if a separate accreditation is required for mobile laboratories that are located within and analyze samples exclusively from within their jurisdiction.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	142
	4.0(c)
The primary accreditation body shall determine if mobile laboratories that are not individually accredited by a primary accreditation body will need separate accreditation to operate within their jurisdiction.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	143
	4.1.3
A corrective action report must be submitted by the laboratory to the primary accreditation body in response to any assessment report received by the laboratory after an on-site assessment. The corrective action report shall include the action that the laboratory shall implement to correct each deficiency and the time period required to accomplish the corrective action. Upon the request of the primary accreditation body documentation showing the implementation of corrective action(s) must be forwarded to the primary accreditation body within the timeframe specified in the corrective action report.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	144
	4.1.3(a)
The accreditation body shall present an assessment report to the laboratory within 30 calendar days of the on-site assessment.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	145
	4.1.3(c)
The primary accreditation body shall respond to the action noted in the corrective action report within 30 calendar days of receiving it.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	146
	4.1.3(e)
If the corrective action report is not acceptable to the accreditation body after the second submittal, the laboratory's accreditation shall be revoked pursuant to Section 4.4.3 for all or any portion of its scope of accreditation for any or all of a field of accreditation, a method, or analyte within a field of accreditation..
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	147
	4.1.3(f)
All information included and documented in an assessment report and the corrective action report are considered to be public information and are to be released pursuant to Chapter 3, Section 3.7.4.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	148
	4.1.3(g)
If the laboratory fails to implement and maintain corrective action(s) as stated in their corrective action report(s), accreditation for fields of accreditations, specific methods, or analysis within those field of accreditation shall be revoked. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	149
	4.1.3(h)
Proprietary data, Confidential Business Information and classified national security information will be excluded from all public records.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	150
	4.1.7.1
An accreditation body must include in its application form the following:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	151
	4.1.7.1(a)
Legal name of laboratory
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	152
	4.1.7.1(b)
Laboratory mailing address
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	153
	4.1.7.1(c)
Billing address (if different from b)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	154
	4.1.7.1(d)
Name of owner
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	155
	4.1.7.1(e)
Address of owner
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	156
	4.1.7.1(f)
Location (full address) of laboratory
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	157
	4.1.7.1(g)
Name and phone number of technical director(s), however named, and the lead technical director
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	158
	4.1.7.1(h)
Name and phone number of Quality Assurance Officer
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	159
	4.1.7.1(i)
Name and phone number of laboratory contact person
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	160
	4.1.7.1(j)
Laboratory hours of operation
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	161
	4.1.7.1(k)
Primary Accreditation body
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	162
	4.1.7.1(l)
Fields of accreditation for which the laboratory is requesting accreditation
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	163
	4.1.7.1(m)
Methods employed including analytes
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	164
	4.1.7.1(n)
Description of laboratory type
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	165
	4.1.7.1(o)
Certification of compliance by laboratory management
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	166
	4.1.7.1(p)
Applicable fee enclosed (if applicable)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	167
	4.1.7.1(q)
Description of geographical location
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	168
	4.1.7.1(r)
FAX number
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	169
	4.1.7.1(s)
Lab identification number 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	170
	4.1.7.1(t)
Unique vehicle identification number, e.g., VIN or serial number, if facility is a mobile laboratory.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	171
	4.1.7.1(u)
Quality Manual
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	172
	4.1.7
The application package includes any specific state regulatory requirements that are essential for accreditation within an individual state.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	173
	4.1.7.2
 When a laboratory seeks accreditation from a secondary accreditation body, it shall complete and submit a secondary accreditation package as required by the secondary accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	174
	4.1.8
The accreditation body must have procedures in place for addressing the change of ownership and/or location of an accredited laboratory that meet the requirements set forth in this subsection.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	175
	4.1.9
A "Certification of Compliance" statement must accompany the application for laboratory accreditation. It must be signed and dated by both the laboratory management and the quality assurance officer, or other designated person, for that laboratory. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	176
	4.1.9
The certification statement must contain at least the following statements: "The applicant understands and acknowledges that the laboratory is required to be continually in compliance with the (insert the name of the primary accreditation body) standards and is subject to the enforcement and penalty provisions of that accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	177
	4.1.9
"I hereby certify that I am authorized to sign this application on behalf of the applicant/owner and that there are no misrepresentations in my answer to the questions on this application."
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	178
	4.2
The period for accreditation will be 12 months and will be considered to be ongoing once a laboratory has been accredited for that field of testing method or analyte within a field of accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	179
	4.3.1
Chapter 5, Quality System provides the details concerning quality assurance and quality control requirements for the evaluation of laboratories. The quality assurance policies, which establish essential quality control procedures, are applicable to all environmental laboratories regardless of size, volume of business and fields of accreditation. Failure to maintain, revise, or replace any of these key components may be cause for suspending or revoking a laboratory’s accreditation status, as specified in Section 4.4 of this Chapter.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	180
	4.4.1(a)
Reasons to deny an initial application shall include: 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	181
	4.4.1(a)(1)
Failure to submit a completed application.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	182
	4.4.1(a)(2)
Failure to pay required fees (if applicable to the accreditation body).
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	183
	4.4.1(a)(3)
Failure of laboratory staff to meet the personnel qualifications of education, training and experience as required by the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	184
	4.4.1(a)(4)
Failure to successfully analyze and report proficiency testing samples as required by the NELAC standards, Chapter 2.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	185
	4.4.1(a)(5)
Failure to respond to an assessment report from the on-site assessment with a corrective action report within the required 30 calendar days after receipt of the assessment report.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	186
	4.4.1(a)(6)
Failure to implement the corrective actions detailed in the corrective action report within the specified time frame as approved by the primary accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	187
	4.4.1(a)(7)
Failure to implement a quality system as defined in Chapter 5.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	188
	4.4.1(a)(8)
Failure to pass required on-site assessment(s) as specified in the NELAC standards, Chapter Three.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	189
	4.4.1(a)(9)
Misrepresentation of any fact pertinent to receiving or maintaining accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	190
	4.4.1(a)(10)
Denial of entry during normal business hours for an on-site assessment as required by the NELAC standards, Chapter 3.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	191
	4.4.1(b)
If the laboratory is not successful in correcting the deficiencies as required by the NELAC standards, the laboratory must wait six months before again reapplying for accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	192
	4.4.1(d)
No laboratory’s accreditation will be denied without the right to due process.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	193
	4.4.2(a)
A laboratory’s accreditation may be suspended in total or in part. The laboratory shall retain accreditation for the field of accreditations, methods and analytes where it continues to meet the requirements of the NELAC standards. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	194
	4.4.2(b)
Reasons for suspension shall include: 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	195
	4.4.2(b)(1)
If the primary accreditation body finds during the on-site assessment that the public interest, safety or welfare imperatively requires emergency action.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	196
	4.4.2(b)(2)
Failure to complete PT studies and maintain a history of at least two successful PT studies for each affected accredited field of accreditation (as defined in NELAC, Chapter 2) out of the most recent three PT studies.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	197
	4.4.2(b)(3)
Failure to notify the primary accreditation body of any changes in key accreditation criteria, as set forth in subsection 4.3.2.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	198
	4.4.2(b)(4)
Failure to maintain a Quality System as defined in Chapter 5.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	199
	4.4.2(b)(5)
Failure of laboratory to employ staff that to meet the personnel qualifications for education, training and experience as required by the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	200
	4.4.2(c)
A suspended laboratory cannot to continue to analyze samples for the affected fields of testing for which it holds accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	201
	4.4.2(d)
The laboratory’s suspended accreditation status will change to accredited when the laboratory demonstrates to the primary accreditation body that the laboratory complies with the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	202
	4.4.2(e)
A suspended laboratory would not have to reapply for accreditation if the cause/causes for suspension are corrected within six months.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	203
	4.4.2(f)
If the laboratory fails to correct the causes of suspension within 6 months after the effective date of the suspension, the primary accreditation body shall revoke in total or part the laboratory’s accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	204
	4.4.2(g)
No laboratory’s accreditation shall be suspended without the right to due process as set forth by the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	205
	4.4.3(a)
The accreditation body shall revoke a laboratory’s accreditation, in part or in total for failure to correct the deficiencies as set forth in subsection 4.1.3 (e) and failure to correct reasons for suspension. The laboratory shall retain those areas of accreditation where it continues to meet the requirements of the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	206
	4.4.3(b)
Reasons for revocation of accreditation in part or in total shall include a laboratory’s:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	207
	4.4.3(b)(1)
Failure to submit an acceptable corrective action report, and implement corrective action(s) related to any deficiencies found during a laboratory assessment. The laboratory may submit two corrective action reports within the time limits specified in Section 4.1.3.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	208
	4.4.3(b)(2)
After being suspended due to failure of proficiency testing samples, if the laboratory’s analysis of the next proficiency testing study results in 3 consecutively failed proficiency testing studies, the laboratory’s accreditation shall be revoked for each affected accredited field of accreditation as defined in NELAC Chapter 2.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	209
	4.4.3(c)
Reasons for total revocation of accreditation include a laboratory’s:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	210
	4.4.3(c)(1)
Failure to respond with a corrective action report within the required 30 calendar days.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	211
	4.4.3(c)(2)
Failure to participate in a proficiency testing program as required by the NELAC standards, Chapter 2.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	212
	4.4.3(c)(3)
Submitting proficiency test sample results generated by another laboratory as its own.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	213
	4.4.3(c)(4)
Misrepresentation of any material fact pertinent to receiving or maintaining accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	214
	4.4.3(c)(5)
Denial of entry during normal business hours for an on-site assessment.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	215
	4.4.3(c)(6)
Conviction of charges for the falsification of any report of or relating to a laboratory analysis.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	216
	4.4.3(c)(7)
Failure to remit the accreditation fees within the time limit as established by the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	217
	4.4.3(d)
No laboratory’s accreditation will be revoked without the right to due process.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	218
	4.4.4
If an environmental laboratory wishes to withdraw from NELAP, in total or in part, it must notify the primary accreditation body in writing.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	219
	4.5.1
If a laboratory completes all of the requirements for accreditation except that of an on-site assessment because the accreditation body is unable to schedule the assessment, the accreditation body may issue an interim accreditation. Interim accreditation shall allow a laboratory to perform analyses and report results with the same status as an accredited laboratory until the on-site assessment requirements have been completed. Interim accreditation status shall not exceed twelve months. The interim accreditation status is a matter of public record and shall be entered into the national database.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	220
	4.5.2
Revocation of interim accreditation may be initiated for due cause as described in Sec. 4.3.3 by order of the primary accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	221
	4.6
When a participating laboratory has met the requirements specified for receiving accreditation, the laboratory shall receive a certificate awarded on behalf of the accreditation body. The certificate shall be signed by a member of the accreditation body and shall be considered an official document. It will be transmitted as a sealed and dated (effective date and expiration date) document containing the NELAC insignia. The certificate shall include:

a)
name of laboratory,

b)
address of the laboratory,

c)
fields of accreditation (matrix-technology/method-analyte/analyte group), and,

d)
addenda or attachments (these shall be considered to be official documents).
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	222
	4.6
The laboratory must have a certificate for each State or federal department/agency in which it is accredited.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	223
	4.6
The accreditation body shall issue certificates which state that "continued accredited status depends on successful ongoing participation in the program".
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	224
	4.6
The accreditation body shall issue certificates shall include a statement that urges a customer to verify the laboratory's current accreditation standing within a particular State.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	225
	4.6
If an accredited laboratory changes its scope of accreditation, a new certificate shall be issued which details the laboratory’s scope of accreditation(s).
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	226
	6.2(a)
The accreditation body is a Territorial, State, or Federal governmental organization.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	227
	6.2(b)
A territorial, state or federal entity shall designate the appropriate agency or department as its designated NELAP-recognized accreditation bodies for the fields of testing for which NELAP recognition is being sought.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	228
	6.2(c)
The authority for granting, maintaining, suspending or revoking a laboratory’s NELAP accreditation resides with the accreditation body and shall not be delegated by the AA.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	229
	6.2(d)
The accreditation body shall administer its program in an impartial and non-discriminatory manner. The accreditation body shall have no rules, regulations, procedures or practices that:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	230
	6.2(d)(1)
restrict the size, large or small, of any laboratory seeking accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	231
	6.2(d)(2)
require membership or participation in any laboratory or other professional association.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	232
	6.2(d)(3)
impose any financial conditions or restrictions for participation in the accreditation program other than the fees authorized by territorial, state or federal law.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	233
	6.2(d)(4)
conflict with any territorial, state or federal laws governing discrimination.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	234
	6.2(e)
The accreditation body and its contractors shall confine their requirements, assessments and decision making processes for an accredited laboratory to those matters specifically related to the fields of testing of the accreditation being sought by a laboratory.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	235
	6.2(f)
The NELAP-recognized accreditation body shall accompany the display of the NELAP insignia with at least the phrase "NELAP-recognized". (Not applicable to Initial Applications)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	236
	6.2(g)
Accreditation bodies, within the scope and applicability of their prevailing rules and regulations, shall establish one or more technical committees for assistance in interpretation of requirements and for advising the accreditation body on the technical matters relating to the operation of its environmental laboratory accreditation program. When such committees are established, the accreditation body shall have: 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	237
	6.2(g)(1)
formal rules and structures for the appointment and operation of committees involved in the accreditation process and such committees shall be free from any commercial, financial, and other pressures that might influence decisions, or
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	238
	6.2(g)(2)
a structure where committee members are chosen to provide relevant competent technical support and impartiality through a balance of interests where no single interest predominates, and
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	239
	6.2(g)(3)
mechanism for publishing interpretations and recommendations made by these committees.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	240
	6.2.1(a)
NELAP-recognized secondary accreditation bodies shall grant accreditation to laboratories accredited by any other NELAP-recognized primary accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	241
	6.2.1(a)
The NELAP-recognized accreditation body grants such reciprocal accreditations on a laboratory-by-laboratory basis.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	242
	6.2.1(a)
The NELAP-recognized secondary accreditation body shall consider only the current certificate of accreditation issued by the NELAP-recognized primary accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	243
	6.2.1(b)(1)
When granting reciprocal accreditation to a laboratory, the NELAP-recognized secondary accreditation body shall grant reciprocal accreditation for only the fields of testing, methods and analytes for which the laboratory holds current primary NELAP accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	244
	6.2.1(b)(2)
When granting reciprocal accreditation to a laboratory, the NELAP-recognized secondary accreditation body shall grant reciprocal accreditation and issue certificates, as required in NELAC, Chapter 4, to an applicant laboratory within 30 calendar days of receipt of the laboratory's application.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	245
	6.2.1(d)
The NELAP-recognized secondary accreditation body does not require any additional proficiency testing, quality assurance, or on-site assessment requirements for the fields of testing for which the laboratory holds primary NELAP accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	246
	6.2.1(e)
If a NELAP-recognized secondary accreditation body notes any potential nonconformance with the NELAC standards by a laboratory during the initial application process for reciprocal accreditation, or for a laboratory that already has been granted NELAP accreditation through reciprocity, the NELAP-recognized secondary accreditation body shall immediately notify, in writing, the applicable NELAP-recognized primary accreditation body and the laboratory. However, the laboratory is to be notified only in situations where no administrative or judicial prosecution is contemplated. The notification must cite the applicable sections within the NELAC standards for which nonconformance by the laboratory has been noted.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	247
	6.2.1(e)(1)
If the alleged nonconformance is noted during the initial application process for reciprocal NELAP accreditation, final action on the application for reciprocal NELAP accreditation shall not be taken until the alleged nonconformance issue has been resolved..
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	248
	6.2.1(e)(2)
If the alleged nonconformance is noted after reciprocal NELAP accreditation has been granted, the laboratory shall maintain its current NELAP accreditation status until the alleged nonconformance issue has been resolved.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	249
	6.2.1(f)(1)
Upon receipt of the subsection 6.2.1 (e) notification, the NELAP-recognized primary accreditation body shall review and investigate the alleged nonconformance,
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	250
	6.2.1(f)(2)
Upon receipt of the subsection 6.2.1 (e) notification, the NELAP-recognized primary accreditation body shall take appropriate action on the laboratory as set forth by the NELAC standards, including the addition of any change of accreditation status in the National Environmental Laboratory Accreditation Database. All such actions shall be taken in accordance with the laboratory’s right to due process as set forth in the NELAC standards, Chapter 4 , Accreditation Process,
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	251
	6.2.1(f)(3)
Upon receipt of the subsection 6.2.1 (e) notification, the NELAP-recognized primary accreditation body shall respond to the NELAP-recognized secondary accreditation body, in writing, with a copy to the NELAP Director, within 20 calendar days of receipt of the subsection 6.2.1 (e) notification providing:

A)

an initial report of the findings;

B)

a description of the actions to be taken; and,

C)
a schedule for implementation of further action on the alleged nonconformance, if necessary.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	252
	6.2.1(g)
If, in the opinion of the secondary accreditation body, the primary accreditation body does not take timely and appropriate action on the complaint, the secondary accreditation body should notify the NELAP Director of the dispute between the two accreditation bodies regarding proper disposition of the complaint. (See also §6.3.2.1 (o))
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	253
	6.2.2(i)
In order that all laboratory applications for NELAP accreditation are treated equally, accreditation bodies shall initiate processing applications for NELAP accreditation in the chronological order that the applications are received.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	254
	6.2.3(a)(1)(i)
The accreditation body shall maintain in hard copy, electronic media or other means a document or documents to include information setting forth its authority to grant laboratory accreditations and whether such laboratory accreditation is mandatory or voluntary.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	255
	6.2.3(a)(1)(ii)
The accreditation body shall maintain in hard copy, electronic media or other means a document or documents to include information setting forth its requirements for an environmental laboratory to become accredited.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	256
	6.2.3(a)(1)(iii)
The accreditation body shall maintain in hard copy, electronic media or other means a document or documents to include information setting forth the accreditation body’s assessor training and ongoing internal audit program
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	257
	6.2.3(a)(1)(iv)
The accreditation body shall maintain in hard copy, electronic media or other means a document or documents to include a list of names of the qualified assessors and a list of technical support personnel (as defined in 3.4.1.2) with areas of responsibility, education and experience.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	258
	6.2.3(a)(1)(v)
The accreditation body shall maintain in hard copy, electronic media or other means a document or documents to include information stating the requirements for granting, maintaining, withdrawing, suspending or revoking laboratory accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	259
	6.2.3(a)(1)(vi)
The accreditation body shall maintain in hard copy, electronic media or other means a document or documents to include information about the laboratory accreditation process.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	260
	6.2.3(a)(1)(vii)
The accreditation body shall maintain in hard copy, electronic media or other means a document or documents to include information on fees charged to applicants and accredited laboratories.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	261
	6.2.3(a)(1)(viii)
The accreditation body shall maintain in hard copy, electronic media or other means a document or documents to include information regarding the rights and duties of accredited laboratories.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	262
	6.2.3(a)(1)(ix)
The accreditation body shall maintain in hard copy, electronic media or other means a document or documents to include information listing its NELAP accredited laboratories describing the NELAP accreditation granted.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	263
	6.2.3(a)(2)
The accreditation body reviews the document or documents listed in 6.2.3 (a)(1)(A through G) annually. A written record of this review is available for inspection.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	264
	6.2.3(b)
The accreditation body updates the 6.2.3(a) documents when its review reveals that the program has changed or is otherwise different within 30 days of the review.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	265
	6.2.3(c)
The accreditation body makes the 6.2.3(a) documents readily available upon request.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	266
	6.2.3(d)
The accreditation body shall have arrangements, consistent with NELAC, Chapter 3, On-Site Assessment to safeguard information claimed by the laboratories as confidential.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	267
	6.3.2.1(b)
The accreditation body is a legally identifiable governmental entity. [See also 6.2(a) above]
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	268
	6.3.2.1(c)
The accreditation body has the authority, rights and responsibilities necessary to carry out an environmental laboratory accreditation program.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	269
	6.3.2.1(d)
The accreditation body has the same arrangements to cover liabilities and workman’s compensation claims arising from its operations and activities as all other programs, units, divisions, bureaus, etc. in the department or agency in which the accreditation body is located.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	270
	6.3.2.1(e)
The accreditation body shall have financial stability and the physical and human resources required for the operation of an accreditation body’s laboratory accreditation program. The accreditation body shall have and make available on request a description of the means by which it receives its financial support. As a benchmark, the accreditation body shall have the resources necessary to complete action on a laboratory’s application within nine months from the time a completed application is first received from the laboratory. This time period applies as long as all turn-around times for responses to application review, proficiency testing and on-site assessment issues are carried out within the required time limits set forth in the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	271
	6.3.2.1(f)
The accreditation body appoints and maintain records on assessors, including contractual assessors, who meet the education, experience and training requirements set forth in the NELAC standards, Chapter 3, On-Site Assessment. Such records include:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	272
	6.3.2.1(f)(1)
name and address.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	273
	6.3.2.1(f)(2)
organization affiliation and position held.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	274
	6.3.2.1(f)(3)
educational qualification and professional status.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	275
	6.3.2.1(f)(4)
work experience.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	276
	6.3.2.1(f)(5)
training applicable to laboratory accreditation.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	277
	6.3.2.1(f)(6)
experience in laboratory assessment, together with field of competence.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	278
	6.3.2.1(f)(7)
date of most recent updating of record.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	279
	6.3.2.1(g)
The accreditation body has a system in place to evaluate assessor performance that is consistent with the organizational employee evaluation program and demonstrates compliance with the NELAC standards, Chapter 3, On-Site Assessment.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	280
	6.3.2.1(h)
The accreditation body has identified one individual responsible for day-to-day management of the accreditation body’s environmental laboratory accreditation program. This individual must:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	281
	6.3.2.1(h)(1)
be an employee of the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	282
	6.3.2.1(h)(2)(i)
has the technical expertise necessary to plan and manage the laboratory accreditation program.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	283
	6.3.2.1(h)(2)(ii)
has the technical expertise necessary to coordinate various facets of the laboratory accreditation program with other territory, state and federal accreditation bodies.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	284
	6.3.2.1(h)(2)(iii)
has the technical expertise necessary to coordinate development of environmental laboratory accreditation regulations.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	285
	6.3.2.1(h)(2)(iv)
has the technical expertise necessary to evaluate the technical competence and performance of contractors or employees.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	286
	6.3.2.1(i)
The accreditation body has arrangements to ensure that its management and technical staff are free of any commercial, financial or other pressures that influence the results of the accreditation process and are subject to the same conflict of interest disclosure requirements designed to identify and eliminate potential conflict-of- interest problems as all other programs, units, divisions, bureaus etc. in the department or agency in which the accreditation body is located
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	287
	6.3.2.1(j)
The accreditation body has a documented procedure in place to conduct systematic internal audits annually of the accreditation body’s environmental laboratory accreditation program to verify compliance with the NELAC standards. One element of the annual internal audit shall be to review the effectiveness of the quality systems required in subsection 6.3.2.1.3. When applicable, the accreditation body shall use the same policies and procedures for internal audits as used by all other programs, units, divisions, bureaus etc. in the department or agency in which the accreditation body is located.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	288
	6.3.2.1(k)
The accreditation body has designated the individual specified in subsection 6.3.2.1 (h) or an individual who reports directly to the individual responsible for day-to-day management of the accreditation body’s environmental laboratory accreditation program to take responsibility for the quality system and maintenance of the quality documentation required in subsection 6.3.2.1.3.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	289
	6.3.2.1(l)
The accreditation body has established SOPs for dealing with appeals, complaints and disputes arising from denial, suspension or revocation of laboratory accreditation, or from users of the services about the accredited laboratories or any other matters.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	290
	6.3.2.1(m)
The accreditation body requires NELAP-accredited laboratories to participate in a proficiency testing program meeting the requirements of the NELAC standards, Chapter 2, Proficiency Testing Appendix A.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	291
	6.3.2.1(n)
The accreditation body or its contractors shall not offer consultancy or other services which may compromise the objectivity or impartiality of its accreditation process and decisions.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	292
	6.3.2.1(o)
The accreditation body shall have a documented procedure to address 6.2.2(g).
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	293
	6.3.2.1.1(a)
The accreditation body has arrangements to establish and maintain records for each accredited laboratory with respect to all aspects of the laboratory’s accreditation process.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	294
	6.3.2.1.1(b)
The accreditation body has a policy and procedure for retaining NELAP accreditation records for a minimum of ten years or a longer period of time if required by contractual obligations or pertinent territorial, state or federal laws and regulations.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	295
	6.3.2.1.1(c)
The accreditation body has a policy and procedures concerning access to records as prescribed by the territorial, state or federal entity in which the accreditation body resides.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	296
	6.3.2.1.1(d)
The accreditation body shall have a policy and procedure for updating the NELAP national database with the NELAP-required information specific to the laboratories for which that accreditation body is the primary or secondary accreditation body. These updates must occur no less frequently than every two weeks. The schedule for the updates would include submitting a report even if there were no changes to the database.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	297
	6.3.2.1.2(a)
The accreditation body shall have arrangements to ensure and require by signed contract or other similar type of binding document that all laboratory accreditation functions performed by a contractor on behalf of the accreditation body are carried out in compliance with the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	298
	6.3.2.1.2(b)(1)
When laboratory accreditation functions are contracted out, the accreditation body takes full responsibility for such subcontracted work.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	299
	6.3.2.1.2(b)(2)
When laboratory accreditation functions are contracted out, the accreditation body ensures that the contractor or his employees are competent and comply with the applicable provisions of the NELAC standards.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	300
	6.3.2.1.2(b)(3)
When laboratory accreditation functions are contracted out, ensure that the contractor and their employees comply with the confidentiality requirements of the accreditation body and NELAC, and,
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	301
	6.3.2.1.2(b)(4)(i)
When laboratory accreditation functions are contracted out, the accreditation body ensures that the contractor and their employees are not directly involved with the laboratory seeking NELAP accreditation from the accreditation body employing the contractor.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	302
	6.3.2.1.2(b)(4)(ii)
When laboratory accreditation functions are contracted out, the accreditation body ensures that the subcontractor and their employees are not directly involved with any other affiliations which would compromise impartiality in the laboratory accreditation process.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	303
	6.3.2.1.3(a)
The accreditation body has a quality system appropriate to the type, range and volume of work performed.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	304
	6.3.2.1.3(b)
The accreditation body documents its quality system in a quality manual and associated written quality procedures and makes these documents available for use by the staff. The quality manual shall include at least the following:
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	305
	6.3.2.1.3(b)(1)
the quality policy statement, including objectives and commitments, signed by the manager responsible for day-to-day management of the environmental laboratory accreditation program.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	306
	6.3.2.1.3(b)(2)
the organizational structure of its environmental laboratory accreditation program and the responsibilities of individual staff assigned to the structure.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	307
	6.3.2.1.3(b)(3)
the policies and procedures for acquiring, training, supervising and evaluating the performance of contractors carrying out any part of the accreditation body’s laboratory accreditation program.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	308
	6.3.2.1.3(b)(4)
the arrangements for annual internal audits, including Quality Systems reviews, as required in subsection 6.3.2.1(j).
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	309
	6.3.2.1.3(b)(5)
the system for providing feedback to personnel responsible for the area audited and for taking timely and appropriate corrective actions whenever discrepancies are detected.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	310
	6.3.2.1.3(b)(6)
the procedures established to address conflict-of-interest questions arising from the NELAC standards as set forth in subsection 6.2.2 (h)(2) and for the accreditation body’s management and technical staff as set forth in subsection 6.3.2.1(i). 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	311
	6.3.2.1.3(b)(7)
the policies and procedures established to maintain document control.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	312
	6.3.2.1.3(b)(8)
the procedures and policies to implement the accreditation process.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	313
	6.3.2.1.3(b)(9)
the procedures and policies for dealing with appeals, complaints and disputes by laboratories.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	314
	6.3.2.1.3(b)(10)
the policies and procedures for dealing with reports of questionable laboratory practices
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	315
	6.3.4(a)(1)
For all changes in the accreditation body’s environmental laboratory accreditation program listed below, the NELAP Board shall be notified of changes to: the authority to accredit laboratories as stated in the statutes, regulations and promulgating instructions establishing and governing the accreditation body’s environmental laboratory accreditation program.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	316
	6.3.4(a)(2)
For all changes in the accreditation body’s environmental laboratory accreditation program listed below, the NELAP Board shall be notified of changes to: the organizational structure including key personnel.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	317
	6.3.4(a)(3)
For all changes in the accreditation body’s environmental laboratory accreditation program listed below, the NELAP Board shall be notified of changes to: the rules, regulations, policies, guidance documents and standard operating procedures.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	318
	6.3.4(a)(4)
For all changes in the accreditation body’s environmental laboratory accreditation program listed below, the NELAP Board shall be notified of changes to: the mailing address and office location, telephone and facsimile numbers and electronic mail address.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	319
	6.3.4(a)(5)
For all changes in the accreditation body’s environmental laboratory accreditation program listed below, the NELAP Board shall be notified of changes to: the contractual arrangements, including contractor’s personnel, for laboratory accreditation activities contracted out under authority of subsection 6.2 (c).
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	320
	6.3.4(b)
The notification to the NELAP Board shall be made within 30 calendar days of the change taking place in the accreditation body’s environmental laboratory accreditation program.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	321
	6.8(a)
The accreditation body shall have requirements for controlling the ownership, use and display of the accreditation body’s NELAP accreditation documents and for controlling the manner in which an accredited laboratory may refer to its NELAP accreditation and/or use of the NELAC/NELAP logo. 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	322
	6.8(b)(1)
The accreditation body has arrangements to ensure NELAP accredited laboratories choosing to use the accreditation body’s name, making reference to its NELAP accreditation status and/or using the NELAC/NELAP logo in any catalogs, advertising, business solicitations, proposals, quotations, laboratory analytical reports or other materials distinguish between proposed testing for which the NELAP accredited laboratory is accredited and the proposed testing for which the NELAP accredited laboratory is not accredited.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	323
	6.8(b)(2)
The accreditation body has arrangements to ensure NELAP accredited laboratories choosing to use the accreditation body’s name, making reference to its NELAP accreditation status and/or using the NELAC/NELAP logo in any catalogs, advertising, business solicitations, proposals, quotations, laboratory analytical reports or other materials include the NELAP accredited laboratory’s accreditation number or other identifier.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	324
	6.8(c)(1)
The accreditation body has arrangements to ensure the NELAP accredited laboratories upon suspension, revocation or withdrawal of their NELAP accreditation discontinue use of all catalogs, advertising, business solicitations, proposals, quotations, laboratory analytical results or other materials that contain reference to their past NELAP accreditation status and/or display the NELAC/NELAP logo.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	325
	6.8(c)(2)
The accreditation body has arrangements to ensure the NELAP accredited laboratories upon suspension, revocation or withdrawal of their NELAP accreditation return any certificates for NELAP accreditation to the accreditation body.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     

	326
	6.8(d)
The accreditation body has arrangements to take suitable actions, including legal action, when incorrect references to the accreditation body’s NELAP accreditation, misleading use of the laboratory’s NELAP accreditation status and/or unauthorized use of the NELAC/NELAP logo is found in catalogs, advertisements, business solicitations, proposals, quotations, laboratory analytical reports or other materials.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	     


