SOP 001

Rev. 8

5/21/07

Page 
 of 30
SOP 001

Rev. 8.7

07/13/09

Page 
 of 30

The NELAC Institute

National Environmental Laboratory Accreditation Program

Standard Operating Procedure 

For the 

Evaluation of Accreditation Bodies

Revision 9.0 
July 22, 2009

Prepared by
TNI NELAP Board

Date  _______________


Reviewed by
_____________________
Date  _______________


Concurred by  _____________________
Date  _______________

Table of Contents

41.0
Changes - Updates


52.0
Purpose


53.0
Applicability


54.0
Summary/Scope


55.0
Definitions


86.0
Personnel Qualifications and Responsibility


107.0
Procedures


107.1.
Frequency and Scope of Evaluation


107.2.
Application Process


127.3.
Selection of the Evaluation Team


127.4.
Review of Application and Supporting Documents


147.5.
Scheduling the On-Site Program Evaluation


157.6.
Conducting the On-Site AB Evaluation


     7.7
     Adaptation for on-site evaluation of new (prospective) ABs……………
        16
177.8.
Scheduling of the Observation of the Laboratory Assessment


187.9.
Conduct of the Laboratory Assessment Observation


187.10.
Documentation of Findings from the Laboratory Assessment Observation


187.11.
Documentation of Findings from the On-Site Program Evaluation


187.12.
Response to the AB Corrective Action Report (CAR)


197.13.
Recommendations to the NELAP Board


197.14.
Issuance of Certificate of Recognition to the AB


197.15.
Handling of Unexpected Circumstances


198.0
Criteria, Checklists, Standards


209.0
Records Management


2010.0
Quality Control


2011.0
References


21APPENDIX A - Evaluation Team and QAO Conflict of Interest Form


22APPENDIX B - Application Review Tracking Checklist


24APPENDIX C –Model letter for application completeness review deficiencies


25APPENDIX D – Model Letter for Technical Review Deficiencies


        APPENDIX E - Recommended Discussion Topics for Opening Meetings at On-site      
Evaluations of ABs………………………………………………………………………27
        APPENDIX F- Recommended Discussion Topics for Closing Meetings at On-Site 
Evaluations of ABs………………………………………………………………………28
29APPENDIX G - Model Recommendation Letter to the TNI NELAP Board




1.0 Changes - Updates
	Date:
	Change:

	10/22/07
	Updated personnel list for Appendix A and B.

	10/22/07
	Editorial and formatting

	10/23/07
	Correct and format reference in section 6.4

	11/06/07
	Incorporated comments from EPA evaluators

	02/15/08
	Incorporated comments from evaluator training

	June 2009
	Drafts for revision

	July 2009
	Drafts for revision

	July 22, 2009
	Final draft to incorporate provisions for evaluating new ABs

	
	


2.0 Purpose 

This document describes the procedures used by The NELAC Institute National Environmental Laboratory Accreditation Program Board, henceforth referred to as the NELAP Board, to evaluate NELAP Accreditation Bodies (AB) for initial or continuing recognition.  It was based on the SOP developed by the EPA Evaluation workgroup under NELAC.
3.0 Applicability 

This Standard Operating Procedure is applicable to initial or continuing reviews of Federal, State or Tribal Accreditation Bodies conducted by NELAP Evaluators.  It is based on the policies of the TNI NELAP Board and the 2003 NELAC Standards.

4.0 Summary/Scope 

This document includes the procedures used to:

· Perform a completeness check of an AB’s application and its attachments. 

· Perform a technical review of these materials.

· Perform an on-site evaluation of an AB.

· Perform an observation of the AB’s assessor(s) performing a laboratory assessment.

· Complete the on-site evaluation report.

· Perform the review of and response to the AB’s corrective action plans.

· Provide recommendations of the evaluation team to the TNI NELAP Board.  

The examination of the systems, processes and procedures of the AB must provide a determination of the AB’s compliance with the policies of the TNI NELAP Board and its capabilities to perform laboratory assessments in a consistent, uniform manner. 

5.0 Definitions 

Accreditation: the process by which an agency or organization evaluates and determines that a laboratory meets certain predetermined qualifications or standards, thereby accrediting the laboratory. In the context of the National Environmental Laboratory Accreditation Program (NELAP), this process is a voluntary one. (NELAC) 

Accreditation Body (AB): the Territorial, State, or federal agency, previously named Accrediting Authority, having responsibility and accountability for environmental laboratory accreditation and which grants accreditation. (NELAC)[1.4.2.3] 

Applicant Laboratory or Applicant: the laboratory or organization applying for NELAP accreditation. (NELAC) 
Assessment: the evaluation process used to measure or establish the performance, effectiveness, and conformance of an organization and/or its systems to defined criteria (to the standards and requirements of NELAC). (NELAC) 

Assessment Criteria: the measures established by NELAC and applied in establishing the extent to which an applicant is in conformance with NELAC requirements. (NELAC) 

Assessment Team: the group of people authorized to perform the on-site inspection of a laboratory and evaluate proficiency testing data required to establish whether an applicant meets the criteria for NELAP accreditation. (NELAC) 

Assessor: one who performs on-site assessments of laboratories’ capability and capacity for meeting NELAC requirements by examining the records and other physical evidence for each one of the tests for which accreditation has been requested. (NELAC) 

Audit: a systematic evaluation to determine the conformance to quantitative and qualitative specifications of some operational function or activity.  (EPA-QAD) 

Critical Finding:  a finding or a combination of findings that results in a significant negative effect on data quality or defensibility, if not corrected.  (NELAC) 

Deficiency: See Finding and Critical Finding 

Denial:  to refuse to accredit in total or in part a laboratory applying for initial accreditation or resubmission of initial application. (NELAC)[4.4.1] 

Evaluation: the process used to measure or establish the performance, effectiveness, and conformance of an organization as a NELAP Accreditation Body
Evaluation Coordinator (EC): An individual, selected by the NELAP Board, who coordinates all communications between the Evaluation Team and the AB, and assures all steps of the evaluation are completed in a timely manner. The Evaluation Coordinator (EC) reports directly to the NELAP Board.

Evaluation Team: A team comprised of the LE, other State AB and/or EPA representatives, and any other technical evaluators approved by the NELAP Board to conduct a review of an AB for the purposes of granting NELAP recognition to the AB. 

Evaluator: one who performs on-site evaluation of accreditation bodies’ accreditation program capability and capacity for meeting NELAC requirements by examining the records and other physical evidence for compliance with the designated standard(s).
Field of Accreditation: (previously Field of Testing) NELAC’s approach to accrediting laboratories by matrix, technology/method and analyte/analyte group.  Laboratories requesting accreditation for a matrix-technology/method-analyte/analyte group combination or for an updated/improved method are required to submit only that portion of the accreditation process not previously addressed. (NELAC) 

Field of Accreditation Matrix: these matrix definitions shall be used when accrediting a laboratory or recognizing an AB.

Air and Emissions: whole gas or vapor samples including those contained in flexible or rigid wall containers and the extracted concentrated analytes of interest from a gas or vapor that are collected with a sorbent tube, impinger solution, filter, or other device. (NELAC)

Biological Tissue: any sample of a biological origin such as fish tissue, shellfish, or plant material. Such samples shall be grouped according to origin.

Drinking Water: any aqueous sample that has been designated a potable or potential potable water source.

Non-Potable Water: any aqueous sample excluded from the definition of Drinking Water matrix. This includes surface water, groundwater, effluents, water treatment chemicals, and TCLP or other extracts.

Solid and Chemical Materials: includes soils, sediments, sludges, products and by-products of an industrial process that results in a matrix not previously defined.

Field of Proficiency Testing:  NELAC’s approach to offering proficiency testing by matrix, technology, and analyte/analyte group. 

Finding: an assessment conclusion referenced to a NELAC Standard and supported by objective evidence that identifies a deviation from a NELAC requirement.

Lead Evaluator (LE): a state or EPA member of the evaluation team who provides direction for the evaluation team and is responsible for planning on-site evaluation activities, communication with ABs being evaluated and the final recommendation regarding AB recognition, based on input from the entire team. 
NELAC Standards:  the plan of procedures for consistently evaluating and documenting the ability of laboratories performing environmental measurements to meet nationally defined standards established by the National Environmental Laboratory Accreditation Conference.  (NELAC) 

NELAP Recognition:  the determination by the NELAP Board that an Accreditation Body meets the requirements of the NELAP and is recognized to grant NELAP accreditation to laboratories. (NELAC) 

Primary Accreditation Body:  the agency or department designated at the Territory, State or Federal level as the recognized authority with responsibility and accountability for granting NELAC accreditation for a specified field of testing. (NELAC) 

Quality Assurance Officer:  An individual, selected by the NELAP Board who participates on all AB assessments during an assessment cycle, performing a quality assurance function, and acting as a liaison between the NELAP Board and the evaluation team.  The QAO reports directly to the NELAP Board

Recognized Fields of Accreditation:  Laboratory fields of testing for which Accreditation Bodies have competence in assessing.  These Fields of Accreditation are tracked by matrix and technology combination.  Accreditation Bodies may grant accreditation for any methods or analytes in these recognized matrix/technology combinations.
Secondary Accreditation Body:  the Territorial, State or federal agency that grants NELAC accreditation to laboratories, based upon their accreditation by a NELAP-recognized Primary Accreditation Body.  See also Recognition and Primary Accreditation Body.  (NELAC) 

Standard Operating Procedures (SOPs): a written document which details the method of an operation, analysis or action whose techniques and procedures are thoroughly prescribed and which is accepted as the method for performing certain routine or repetitive tasks. (QAMS) 

Technology: a specific arrangement of analytical instruments, detection systems, and/or preparation techniques. 

United States Environmental Protection Agency (EPA):  the federal governmental agency with responsibility for protecting public health and safeguarding and improving the natural environment (i.e., the air, water, and land) upon which human life depends. (US-EPA) 

6.0 Personnel Qualifications and Responsibility 

6.1. All evaluation team members must meet minimum requirements for training and professional qualifications.

6.2. The lead evaluator (and preferably all team members) must successfully complete the NELAP accreditation body evaluator training course.

6.3. All members of the evaluation team and the QAO must sign the conflict of interest certification.  See Appendix A for the Conflict of Interest form.

6.4. All evaluation team members must comply with the policies of the TNI NELAP Board and the following criteria as specified in NELAC 2003 Standard 6.9.1(d) which states: 

The NELAP evaluation team shall:

· have at least one member of the NELAP evaluation team who meets the education, experience and training requirements for laboratory assessors specified in the NELAC standards, Chapter 3, On-site Assessment; and

· have at least one other member with experience that includes at least one of the following:

· certification as a management systems lead assessor (quality or environmental) from an internationally recognized auditor certification body;

· one year of experience implementing federal or state laboratory accreditation rulemaking; or

· one year experience developing or participating at a managerial level in laboratory accreditation programs.

· Have documentation that verifies freedom from any conflict of interest that would compromise acting in an impartial nondiscriminatory manner.

· All experience required by this subsection must have been acquired within the five year period immediately preceding appointment as a NELAP evaluation team member.

6.5. The Lead Evaluator is generally responsible for planning activities.  All members of the evaluation team should be involved to ensure that the evaluation is well planned and consistent with the evaluations of other ABs.

6.5.1. The LE provides direction to the evaluation team throughout the evaluation process.

6.5.2. The LE is responsible for obtaining consensus of the evaluation team for the final recommendation of AB recognition status to the NELAP Board.

6.5.3. The LE is responsible for notifying the EC and QAO of all required communications and events.

6.6. The Evaluation Coordinator has the following duties:

6.6.1. Assists the evaluation team by assuring all communication between the evaluation team and the AB, and between the evaluation team and the NELAP Board occurs in a timely manner.

6.6.2. Tracks and documents that all aspects of AB evaluations are performed in a timely manner in conformance with the evaluation SOP and the NELAC standards.
6.6.3. Reviews the AB application for completeness, with concurrence of the LE.

6.6.4. Reviews the evaluation reports for completeness and consistency according to the evaluation SOP and the NELAC standards.
6.6.5. Provides regular status reports to the NELAP Board. 

6.7. The Quality Assurance Officer has the following duties:

6.7.1. The QAO assures all AB evaluations are performed in a consistent manner in conformance with the Standard Operating Procedure for the Evaluation of Accreditation Bodies.

6.7.2. The QAO reviews the following aspects of the AB evaluation process:

6.7.2.1. technical review of the AB application;

6.7.2.2. on-site evaluation of the AB; 

6.7.2.3. review of the AB’s corrective action plans;
6.7.3. The QAO will inform the NELAP Board of any unresolved consistency problems as they occur and will provide a report to the NELAP Board at the completion of each AB evaluation, or at times requested by the Board.

7.0 Procedures 

Frequency and Scope of Evaluation

7.1.1. The 2003 NELAC standards require Accreditation Bodies to be evaluated initially and at a minimum of once every 3 years thereafter.  This evaluation will include: 

7.1.2. Completeness and technical reviews of the application package,

7.1.3. An on-site evaluation,

7.1.4. Observation of the AB conducting an on-site laboratory assessment,

7.1.5. On-site evaluation report(s) with findings for both the on-site evaluation and the observation, and 

7.1.6. Recommendations to the TNI NELAP Board regarding recognition or denial of recognition. 


Once the evaluation team makes a recommendation to the NELAP Board for granting or 
denying recognition, all subsequent communications shall be between the TNI NELAP 
Board and the AB, with copies given to the LE and the EC.

Application Process 

7.1.7. Initial Application

7.1.7.1. Initial Application forms for NELAP recognition can be obtained from the NELAP Board.  

7.1.7.2. The application must be signed and dated by the highest ranking individual within the department or agency responsible for laboratory accreditation activities for which NELAP recognition is being sought.  (This is the person that has the ultimate authority and responsibility for accreditation decisions.)  By signature on the application, this individual must attest to the validity of the information contained within the application and its supporting documents.[NELAC Standard 6.3.1(c)]

7.1.7.3. When the new applicant indicates that submission of application is imminent, the NELAP Board Chair shall select the state evaluation team member(s) and notify the EC and all team members that the application is expected.

7.1.7.4. An electronic version of the completed application and supporting documents shall be submitted to the NELAP Board chairperson or designee. Copies of the completed application and any supporting and relevant documentation shall also be submitted to the EC, LE, and QAO, as directed by the NELAP Board chair.
7.1.7.5. With prior arrangements, paper copies of application materials may be accepted.

7.1.7.6. Upon receipt of the application and supporting documents the NELAP Board chairperson or designee shall send an acknowledgement to the AB and establish an evaluation team, with the approval of the NELAP Board.  The review process shall begin.  (This SOP Section 6.5) [NELAC Standard 6.3.2(c)] 

7.1.7.7. Application Communications



Once the application is given to the EC, all subsequent 



communications shall be between the LE and the AB, with copies 


provided to the EC.  The LE will respond to these communications 

as necessary

7.1.8. Renewal Applications

7.1.8.1. Notification

The NELAP Board chairperson or designee will send a letter with an attached application to the AB at least 270 calendar days prior to the expiration of the AB’s current NELAP recognition with copies sent to the EC and appropriate LE.  Prior to sending renewal letters, the NELAP Board shall approve composition of all evaluation teams, and all team members will be identified in the letter.  The letter shall be sent by any method providing receipt confirmation.

7.1.8.2. Application Submittal

7.1.8.2.1. Electronic copies of the completed application and any supporting and relevant documentation shall be submitted to the EC, LE, QAO, and all team members. within 30 days of receipt of the application.  [NELAC Standard 6.3.1(d)(3)]

7.1.8.2.2. If the AB does not submit a renewal application within 30 days, the AB will receive final notification from the NELAP Board or the EC by any method providing receipt confirmation that, if an application is not submitted within another 20 days, the AB’s recognition will expire with the current NELAP certificate recognition. [NELAC Standard 6.3.2 (b)]

7.1.8.3. Application Communications

Once the application is given to the EC, all subsequent communications shall be between the LE and the AB, with copies provided to the EC.  The LE will respond to these communications as necessary.

Selection of the Evaluation Team 

7.1.9. The NELAP Board appoints the team at the times indicated in Section 7.2. The team will usually include one member from the EPA Region in which the AB is located .  The EPA Region can propose additional EPA team members to the NELAP Board.  The evaluation team will include a representative of another AB. If the EPA region chooses not to participate, the NELAP Board shall appoint a representative of a second AB, another EPA Region or EPA program office to the team.  The evaluation team shall agree on one of their members being designated LE, and shall submit that person’s name to the NELAP Board for approval.  All team members will work under the direction of the LE. [NELAC Standard 6.9.1]
7.1.10. At least one member of the team shall have completed the TNI evaluator training course based on this SOP.
7.1.11. At least one other member of the team shall have the experience stated in NELAC Standard 6.9.1(d)(2):

7.1.12. See section 6.0 for personnel qualification and responsibilities.
7.1.13. Each member of the evaluation team is required to fill out and submit the Conflict of Interest form provided in Appendix A to the LE after the NELAP Board designates the evaluation team members and before commencing the technical review.  The LE will inform the NELAP Board if any team member(s) has a conflict.

Review of Application and Supporting Documents

7.1.14. Application Completeness Review

7.1.14.1. Following receipt of a new or renewal application, the EC shall notify the AB and the evaluation team that the application has been received.  The EC shall review it for completeness within 20 days, using the “Checklist for Application Completeness”, and will report to the LE.

7.1.14.2. If the application is complete, the LE will advise the AB, the evaluation team members, and the QAO that the application is complete. 

7.1.14.3.  If the application is not complete, the EC will send the completeness deficiency report to the LE for review  The LE will send the AB an Application Completeness Deficiency Report (Appendix D includes a possible example of a deficiency report letter) in writing.  The NELAP Board and evaluation team members will receive a copy of this Deficiency Report.  

7.1.14.4. The AB shall have no more than 20 days from receipt of the Completeness Deficiency Report to supply any missing information to the LE and EC.  If the missing material is not submitted, renewal will not proceed.  Once the EC determines that the application is complete, he/she shall notify the LE, who shall in turn notify the AB and the NELAP Board of this determination.  [NELAC Standard 6.3.2]

7.1.14.5.  Extensions up to 20 days may be granted in accordance with NELAC Standard 6.3.2 c (3).

7.1.15. Application Technical Review

7.1.15.1. The evaluation team shall then conduct a technical review to verify that all required items have been addressed.  The applicant’s completed NELAP Application Checklist will be used as a guide to determine accreditation body compliance with the NELAC Standard.  The review shall be performed by the same NELAP Evaluation Team assigned to the on-site evaluation. 

7.1.15.2. The NELAP Evaluation Team shall review the application and supporting documents to evaluate whether the AB’s accreditation program requires its laboratories to meet the NELAC Standard; Chapter 2 Proficiency testing, Chapter 3, On-site Assessment, Chapter 4, Accreditation Process and Chapter 5 Quality Systems.

7.1.15.3. Also, the technical review shall follow the requirements of the NELAC Standard Section 6.3.2.1.

7.1.15.4. The evaluation team has 30 days to conduct this review after the application is determined complete and respond in writing to the AB.  The evaluation team will send by any method providing receipt confirmation an application technical review deficiency report to the AB. [NELAC Standard Section 6.3.2.2.d]

7.1.15.5. The AB will have 30 days to respond to any deficiencies with written corrective actions.  The evaluation team shall review and respond to the AB’s corrective actions within 30 days of receipt.

7.1.15.6. If the accreditation body’s plan of corrective actions does not address all deficiencies, the NELAP evaluation team will notify the accreditation body by any method providing receipt confirmation that it must submit another plan of corrective actions for the remaining deficiencies within 20 calendar days of the accreditation body’s receipt of this notification.

7.1.15.7. The evaluation team shall review the AB’s second corrective action response within 20 calendar days of receipt.  If application deficiencies remain after the second attempt to resolve them, the team shall document the unresolved deficiencies and recommend to the NELAP Board that: 

· the AB’s application for initial recognition be denied, or 

· the AB’s recognition be revoked. 

7.1.15.8. If the initial application as submitted contained no deficiencies or if the deficiencies were appropriately addressed as provided in subsection 6.3.2.2(d) of the NELAC Standard, except those deficiencies requiring legislation or rulemaking action as set forth in Section 6.5 of the NELAC Standard, the NELAP evaluation team shall schedule the on- site evaluation.


7.1.15.9. If the AB’s renewal application contained no deficiencies or if deficiencies were corrected in accordance with the NELAC Standards, the application is accepted and the evaluation team shall schedule the on-site evaluation.  [NELAC Standard 6.3.2.2.e]

7.1.15.10. Disagreements with matters concerning recognition can be addressed through the TNI Dispute Resolution Process, TNI SOP 5-100.
Scheduling the On-Site Program Evaluation

7.1.16. Once the evaluation team determines that the documentation is satisfactory and the application is accepted, the AB will be notified within 30 calendar days to schedule the on-site evaluation.   An on-site evaluation shall be conducted, at the mutual convenience of the evaluation team and the AB, normally within 60 days of completion of the application technical review. 
7.1.17. The LE, on behalf of the evaluation team, will send written confirmation to the AB of the logistics required to conduct the evaluation, and to all of the evaluation team members.  The written confirmation shall include, but is not limited to:

7.1.17.1. onsite evaluation date and agenda or schedule of activities,

7.1.17.2. copies of the standardized evaluation checklists,

7.1.17.3. the names, titles, affiliations, and on-site responsibilities of the NELAP evaluation team members and QAO, and

7.1.17.4. The names and titles of AB staff that need to be available during the on-site evaluation.

Conducting the On-Site AB Evaluation

7.1.18. The evaluation team shall conduct an opening meeting prior to the start of the evaluation. The opening meeting shall cover the topics noted in Appendix E
7.1.19. The evaluation team shall conduct a comprehensive evaluation of the AB’s accreditation program to determine the accuracy of information contained in the AB application and the AB’s conformance to the NELAC Standards.  The evaluation team will do this by: 

7.1.19.1. interviewing management and technical staff (AB lab assessors) and reviewing internal AB audits to determine if corrective actions were taken to address noted deficiencies; 

7.1.19.2. reviewing a minimum of three files from the list of NELAP accredited laboratories (more files should be reviewed if significant findings warrant); 

7.1.19.3. reviewing evaluation forms submitted by laboratories; 

7.1.19.4. reviewing records of resolution of complaints about laboratories, including disputes and appeals; 

7.1.19.5. reviewing records of resolution of complaints from laboratories about the accreditation body, including disputes and appeals; 

7.1.19.6. reviewing the training records and conduct interviews of AB staff designated as qualified assessors to evaluate their training, knowledge of assessment techniques and the NELAC Standard; and 

7.1.19.7. observing the AB during its on-site assessment of a laboratory.  The laboratory selected should hold sufficient fields of accreditation to allow the team to observe a comprehensive on-site assessment by the AB.   A second laboratory assessment observation may be necessary if a full service laboratory is not due for an AB assessment.  See Section 7.8.1 regarding purpose of observation.
7.1.19.8. reviewing the last NELAP evaluation report.
7.1.20. The evaluation team shall determine if the AB is in conformance to their internal SOPs.

7.1.21. When selecting laboratory files to review, the evaluation team will select those with varying fields of accreditation and different assessors.  The evaluation team will also include files from (i) a laboratory that has lodged a complaint, ii) a laboratory against whom a complaint was lodged , if applicable; and (iii) a laboratory that was cited for severe quality system deficiencies, if applicable.  At a minimum, the team will review the following information in each laboratory file:

· Application
· Conflict of interest verification
· NELAC Chapter 5 checklist
· Proficiency testing (PT) results for compliance with methodological and EPA program requirements
· Attendance sheets from opening and closing meetings
· Deficiency report(s)
· Corrective action report(s)
· Correspondence
· Final report
· Certificate if granted   
7.1.22. The team will conduct an exit debriefing to discuss all noted deficiencies. (see Appendix F for suggested topics to include.) 

7.2. Adaptations for On-site Evaluation of New (Prospective) ABs (as compared to renewal evaluations in section 7.6)
7.2.1. No modifications to opening meeting are required.
7.2.2. Comprehensive evaluation needs to take into account the lack of “active” program implementation.
7.2.2.1. Interviews:  The ET should interview assessors and managers to determine (a) their knowledge of the AB’s quality system and its associated procedures (as documented in its SOPs, forms, etc.,) and (b) their understanding of the current NELAC standards.

7.2.2.2. Review of records (7.6.2.2 through 7.6.2.6).  The emphasis of the records reviews should focus on records which have been listed in the application as being in place.  The ET may wish to include in its report a suggestion that the AB submit examples of assessment reports, follow-up reports, etc., to the LE.  These documents would provide the LE with information about the AB’s implementation of its new program.

7.2.2.3. Observation of the AB’s assessment of a laboratory:  It is suggested that the AB arrange to perform a “gap review” of a volunteering laboratory, possibly even the state’s own lab.  This would provide valuable experience to the assessors, technical assistance to the laboratory and useful information to the ET.  If this is not possible, a laboratory observation should be scheduled and performed during the first year of AB operations.
7.2.2.4. The report of the on-site visit may also request that the AB forward to the LE and/or the EPA Regional Office ET member (if the EPA region has participated in the NELAP evaluation) such documents as examples of assessment reports, internal assessments and associated corrective actions and completed feedback evaluations from laboratory assessments completed over the first year of operation.  These may help confirm implementation of a successful program and also provide affirmation to the EPA Regional Office that responsibilities of the AB to meet the Safe Drinking Water Act certification for labs are met.

Scheduling of the Observation of the Laboratory Assessment

7.2.3. In accordance with Section 6.4(d) of the NELAC 2003 Standards, at least one member of the NELAP evaluation team must observe the AB conducting an actual on-site laboratory assessment.  The purpose of the laboratory observation is to perform a management and technical systems review of the AB’s conformance to the NELAC standard in performing laboratory assessments. The QAO may also be present at the on-site laboratory assessment.  At the time the on-site evaluation is being scheduled, the LE should request from the AB a schedule of upcoming laboratory assessments.  The LE will use this schedule to select the lab assessment which will be observed during the on-site evaluation or other mutually agreed time.  (Note:  Although the observation can be conducted prior to the on-site AB evaluation, it probably should not take place until after the technical review issues have been resolved).
7.2.4. The LE may elect to send more than one member of the evaluation team to observe the assessment.  This decision should be based on: (1) the scope of the laboratory assessment and the number of AB assessors involved, and (2) the availability of members of the evaluation team. 
Conduct of the Laboratory Assessment Observation

7.2.5. During the observation of the laboratory assessment, the evaluation team member’s role is to observe the AB’s laboratory assessment team.  The evaluation team members are not active participants in the laboratory assessment.   The evaluation team member(s) should make every effort to observe as many aspects of the AB’s assessment as possible and should make sure to concentrate on areas where the technical review may have revealed weaknesses in the AB’s program.

7.2.6. A copy of the current version of the checklist, “NELAP Evaluation of AB Assessors”, shall be completed.

Documentation of Findings from the Laboratory Assessment Observation

7.2.7. Each member of the AB evaluation team that participates in the laboratory assessment observation must transmit his/her observations to the LE for inclusion in the on-site evaluation report.  These findings must be transmitted to the LE in a timely manner.  The exact due date shall be determined by consensus of the evaluation team members to make sure that no deadlines are missed. 

Documentation of Findings from the On-Site Program Evaluation

7.2.8. In accordance with Section 6.4.3 of the NELAC 2003 Standards, documentation of the findings shall be delineated in the final report, along with any critical findings from the observation of the accreditation body’s on-site assessment of a laboratory.  

7.2.9. The evaluation team has 30 days to prepare and send findings of the on-site evaluation to the AB by any method providing receipt confirmation. (Note - The AB evaluation is not considered complete until the on-site evaluation and laboratory assessment observation are complete.)

Response to the AB Corrective Action Report (CAR)

7.2.10. Each member of the evaluation team must review the AB’s response to the on-site evaluation report, including its proposed corrective actions, and transmit their review to the LE in a timely manner. The LE shall respond to the AB in writing, within 20 calendar days of receipt of the AB CAR.

7.2.11. If the AB CAR does not address all deficiencies, the LE shall notify the AB by any method providing receipt confirmation that it must submit another CAR for the remaining deficiencies not covered by Section 6.5 of the NELAC 2003 Standard within 20 calendar days of receipt of this notification.

7.2.12. If the AB corrects all the deficiencies, the LE shall recommend to the NELAP Board that the AB be granted NELAP recognition.
7.2.13. If the AB does not correct all deficiencies, the LE may recommend to the NELAP Board that the AB’s NELAP recognition be revoked.

7.2.14. The LE must consider the AB’s responses in preparing written recommendations to the NELAP Board (as discussed in Sec. 7.12).

Recommendations to the NELAP Board

7.2.15. All recommendations to the NELAP Board regarding NELAP recognition will be made in accordance with Section 6.6 of the NELAC 2003 Standards.  The LE shall be responsible for preparing the written recommendation with input from, and on behalf of, the entire evaluation team.  Appendix G provides a model recommendation letter. A copy of the team’s recommendation shall also be sent to the QAO.
7.2.16. If the NELAP Board disagrees with the recommendation of the evaluation team, it will notify the evaluation team prior to the notification of the AB. The NELAP Board will provide the evaluation team with the reason(s) for its disagreement and allow the team to respond to those reasons with additional details.
7.2.17. The renewal or dismissal letter and the certificate, if one is awarded, will then be issued and mailed by the NELAP Board.

Issuance of Certificate of Recognition to the AB

The issuance of Certificates of Recognition shall be the responsibility of the NELAP Board and shall be done in accordance with the requirements found in Section 6.7 of the NELAC 2003 Standards.  

Handling of Unexpected Circumstances

In the event that the team encounters an unexpected or unusual circumstance, the LE should seek guidance from the QAO and the NELAP Board.  This will help insure consistency in how such circumstances are handled.  For example, what should the team do if the AB has no on-site laboratory assessments scheduled during the review period? What if extensions to timeframes are needed?
8.0 Criteria, Checklists, Standards 

8.1. All evaluators must ensure that they are using the correct version of the NELAC 2003 standards and checklists.  

8.2. The complete 2003 NELAC Standard will be available with sections highlighted to identify language that were moved to policy and procedures

8.3. Current editions will be available on The NELAC Institute (TNI) website at:





 www.nelac-institute.org
9.0 Records Management 

9.1. Records associated with the evaluation of the ABs shall be handled in accordance with the requirements found in Section 6.9 of the NELAC 2003 Standards.  

9.2. The EC, under the direction of the LE, is responsible for submitting all final documents, letters, checklists, etc., in electronic format to the NELAP Board within 30 days of the team’s final recommendation.  

9.3. The LE, at his/her discretion, may retain a complete file of the AB evaluation. Evaluation team members should retain all working documents and evaluation notes for five years.
9.4. Final storage location for records will be in accordance with TNI POL-104.
10.0 Quality Control

10.1. This SOP will be reviewed annually by the NELAP evaluators.  

10.2. This review will be documented and any changes deemed necessary will be made with the NELAP Board’s approval.  

10.3. If the document is revised, the revisions will be distributed to the NELAP Assessors and the NELAP Board

11.0 References 

National Environmental Laboratory Accreditation Conference, Constitution, Bylaws and Standards, 2003.

TNI SOP- 5-100

TNI POL - 104

APPENDIX A - Evaluation Team and QAO Conflict of Interest Form

Name ____________________________________________________

Agency___________________________________________________

Date of NELAP Evaluator Training Course _______________________

Name of Accreditation Body Being Reviewed ___________________

I certify that I have no known relationship with the above Accreditation Body that would impair my objectivity in the performance of my responsibilities as described in the 2003 NELAC Standards.

Signature __________________________________

Date _______________________________

APPENDIX B - Application Review Tracking Checklist

AB Applicant______________________   Lead Evaluator ______________________

	Item
	NELAC Standard
	Days Allowed
	Date Completed

	Assignment of Evaluation Team
	
	
	

	Region proposes additional technical evaluators to NELAP Board, if desired
	
	
	

	Application Renewal Notification
	
	
	

	NELAP Board sends out renewal letter
	
	- - 
	

	AB returns complete application
	
	30
	

	NELAP Board notifies AB of late application
	
	20
	

	Conflict of Interest forms submitted to LE
	
	7
	

	LE informs NELAP Board of COI (Y/N)
	
	3
	

	Application Completeness Review
	
	 - - 
	

	Evaluation team conducts review
	
	20
	

	LE notifies AB of deficiencies
	
	
	

	AB response to deficiencies
	
	20
	

	Application Technical Review
	
	- - 
	

	Evaluation team conducts review
	
	30
	

	LE notifies AB of deficiencies
	
	
	

	AB response to deficiencies
	
	30
	

	Evaluation team reviews response
	
	
	

	LE 2nd notice of deficiencies to AB
	
	
	

	AB 2nd response to deficiencies
	
	20
	

	Evaluation team reviews 2nd response
	
	
	

	Schedule On-Site AB Evaluation
	
	- -
	

	LE notifies AB of on-site review logistics
	
	
	

	Conduct on-site review
	
	
	

	Conduct Observation of AB Lab Assessment
	
	
	

	Prepare Final Report
	
	
	

	Send Final Report to AB
	
	30 days from end of total on-site
	

	AB response to Final Report
	
	30 days from receipt of Rpt.
	

	Evaluation team reviews response
	
	20 days
	


APPENDIX C –Model letter for application completeness review deficiencies 

EXAMPLE

Dr. Xxxxx N. Yyyyyyy

Xxy State Dept. of Health

P.O. Box XXX

Xxxx, Xxxx 45690

Dear Dr. Yyyyyyy,

The National Environmental Laboratory Accreditation Program (NELAP) Evaluation Team (ET) assigned to the Xxxx Accreditation Body has completed its review of the renewal application dated November 21, 2003.  As you are aware, a completeness review is conducted by the ET in order to determine whether or not the information and supporting documentation required in subsection 6.3.1(b) of the NELAC Standards has been included in the application.  

The ET believes that the Xxxx application is incomplete because: 

[List deficiencies and reference NELAC Standard for each deficiency]

According to the NELAC Standards section 6.3.2.c (3), you have 20 days from receipt of this letter in which to provide the requested information.  Thank you for your prompt attention to this matter.  If you have any questions, please feel free to contact me at (xxx) yyy-zzzz.      

Sincerely, 

Yyyy Y. Zxxzz

NELAP Lead Evaluator

{organization and office)
cc:   NELAP Board

APPENDIX D – Model Letter for Technical Review Deficiencies

EXAMPLE

Dr. Xxxxx N. Yyyyyyy

Xxy State Dept. of Health

P.O. Box XXX

Xxxx, Xxxx 45690

Dear Dr. Yyyyyyy,

The National Environmental Laboratory Accreditation Program (NELAP) Evaluation Team (ET) assigned to the [insert state] Accreditation Body (AB) has completed its technical review of the renewal application dated November 21, 2003.  As you are aware, a technical review is conducted by the ET in order to determine whether or not the accreditation body’s environmental laboratory accreditation program requires its accredited laboratories to meet the standards set forth in the NELAC Standards.  The ET review is based on the 2003 National Environmental Laboratory Accreditation Conference (NELAC) Standards for Chapters 2, 3, 4, and 5.  The 2003 NELAC Standard for Chapter 6 was followed to conduct the review.    

The ET has identified a number of findings on Attachment 2, “Checklist to Determine Accreditation body Compliance.”  Items on the checklist which have been checked “No” are deficiencies.  Specific comments relative to each deficiency have been provided in the “Document Location/Comments” column.   In addition to the items which have been checked “No,” there are some items where we have included a “?” in either the Yes or No column.  In these instances the ET could not determine if the requirement had been met or not.  Addition information to clarify what has been provided is needed by the ET in order to make a final determination.  This additional clarifying information should be provided in your response to this report.  Please note that while some items have been checked “Yes,” the actual implementation of these requirements cannot be assessed until the actual on-site assessment of the XYX AB program takes place later this month.  

Per NELAC requirements, you have 30 days in which to provide a corrective action response to this technical report.  Please attach to your response any new or updated documents cited in your corrective action response.  

If you have any questions or require clarification regarding any of our findings, please feel free to contact me at (xxx) xxx-xxxx.

Sincerely, 

Yyyy Y. Zxxzz

NELAP Lead Evaluator

(organization and office)
Attachments 

cc:   NELAP Board

        [Insert Evaluation Team members]

APPENDIX  E
Recommended Discussion Topics for Opening Meetings

at On-Site Evaluations of ABs

1. Introductions of personnel on the team:

a. Lead evaluator

b. State & EPA team members

c. Observer:  Paul Ellingson, the NELAP Board’s QAO

2. Purpose:  To verify compliance with 2003 NELAC standards

a. Determine the accuracy of the documents submitted by the AB (i.e., the application for renewal, the QSM, the AB’s responses in the completeness & technical checklists)

3. Conflicts of Interest:  All team personnel have signed forms, and LE has copies on file.

4. Schedule/agenda:  

a. Confirm that previously requested documents will be available for on-site review, if appropriate

b. Determine if the AB’s implementation of the standards conforms with the NELAC standards and the material it has submitted?

c. Provide schedule of tasks for the on-site review, e.g., interviews, reviews of records, daily team meetings and expected team work sessions, brief update meetings with program management,  and closing meeting, and approximate times.

d. Present schedule for observation(s) of AB laboratory assessments

e. Briefly discuss next steps, i.e., closing meeting, evaluation report and lab’s response(s), and recommendation to NELAP Board of Directors.  (This may be done at the closing briefing if desired.)

5. Security IDs, restrictions:  Determine if AB has any restrictions on where team can go within the facility.

6. Workspace for team:  Identify a room where the team can meet to conduct interviews and to deliberate to prepare findings.

7. Questions:  Ask if AB’s program manager and/or laboratory accreditation personnel have any questions before beginning the evaluation.

APPENDIX  F

Recommended Discussion Topics for Closing  Meetings 
at On-Site Evaluations of ABs

1. Introductions (if needed.)

2. Make sure that all AB staff that are supposed attend are actually present.

3. Thank staff for their cooperation and assistance.

4. Presentation of findings and resolved issues.

a. Summarize findings from interviews, record reviews, etc.

b. Summarize questions which were unresolved prior to the on-site which have been satisfactorily answered during the on-site.

c. Summarize suggestions for improvement (observations of things which are not covered by the NELAC standards).

5. Discuss list of “next steps” with due dates.

a. If laboratory observation(s) has not yet been completed, set date(s) and location(s) and identify who will do them.

b. Set due date for LE to submit final report to AB – 30 days after on-site or lab observation, whichever occurs last.

c. State deadline for AB to submit corrective action report (CAR) to LE – 30 days after receipt of final report.

d. Evaluation team’s response to CAR – 20 days after receipt of CAR.

e. AB’s submittal of revised CAR (if necessary) – 20 days after ET’s response to original CAR.  Make sure AB knows that the revised CAR must be satisfactory.
f. ET’s recommendation to NELAP Board for recognition (renewal) or denial (revocation.)
g. NELAP Board’s issuance of certificate (or notification of denial.)
6. Make certain that ET and AB have all necessary contact information for each party and understand importance of keeping on schedule.

7. Adjourn.

APPENDIX G - Model Recommendation Letter to the TNI NELAP Board

EXAMPLE

Recommendation for Renewal of Recognition of XXXXX as a NELAP Accreditation Body 

[insert name and title of Chair person or designated alternate when the Chair’s AB is involved]

National Environmental Laboratory Accreditation Program Board (NELAP Board)

The National Environmental Laboratory Accreditation Program (NELAP) evaluation team assigned to the XXXXX has completed its evaluation of this Accreditation body.  In accordance with Chapter 6 of the 2003 National Environmental Laboratory Accreditation Conference (NELAC) Standards, the evaluation consisted of the following: 1) a technical review of the XXXXX application for renewal and its supporting documentation 2) an on-site evaluation of the XXXXX lab accreditation program, and 3) an observation of XXXXX conduct of an on-site laboratory assessment.   Each of these parts of the evaluation are discussed below.  

Team members (appointed by the NELAP Board):

    •
[insert Evaluation Team members]

Technical Review

The evaluation team completed its technical review and issued a report detailing findings on April 12, 2004.  In a response dated April 28, 2004 XXXXX provided a list of corrective actions taken to address the deficiencies noted. The team reviewed these corrective actions and determined that they adequately addressed the findings noted.   

On-Site Evaluation

The team conducted an on-site evaluation of the XXXXX laboratory accreditation program on April 19 - 21, 2004.  The team interviewed 19 XXXXX staff members, reviewed environmental laboratory accreditation program files, training files, complaint files, and PT records.  The team documented 11 instances in which XXXXX was determined to be in non-conformance with the 2003 NELAC standards.  A report was prepared and sent to XXXXX on May 27, 2004.  XXXXX provided a corrective action plan for the 11 findings on June 23, 2004.  The evaluation team has reviewed these corrective action responses and finds them to be acceptable.  

Observation

The Lead Evaluator (and/or team member) performed an observation of XXXXX’s on-site assessment of XYZ Laboratories (Edison, NJ) on May 18-20, 2004.  The conduct of this assessment was found to be in compliance with the NELAC standards.  No significant deviations were observed. 

Recommendation

The evaluation team recommends that NELAP recognition of XXXXX’s Accreditation Program be continued for all the fields of accreditation in the attached list.  

As required by NELAC 6.6(b)3, attached please find copies of the following documents: 

1) evaluation team’s technical report, 2) XXXXX technical report corrective action response, 3) evaluation team’s on-site evaluation report, and 4) XXXXX on-site evaluation corrective action plan.   

If you have any comments or questions, please contact me at (xzx) zzz-yyyy. 

Attachments

cc:
XXXXX, XXXXX




