## Table
NELAC PT for Accreditation
Fields of Proficiency Testing with PTRLs
Drinking Water
Effective October 1, 2007
|  |  |  | Blue = New Analyte | Magenta = Changes
Matrix | EPA | NELAC | Analyte | Conc Range | Acceptance Criteria1,2,3,4 |  |  |  | NELAC PTRL5
| Analyte | Analyte |  |  | a | b | c | d
| Code | Code
|  |  | Radiochemistry | pCi/L (except as noted) |  |  |  |  | pCi/L
Drinking Water | 0001 | 2830 | Gross Alpha | 7 to 75 | 0.8586 | 1.4802 | 0.161 | 1.1366 | 3
Drinking Water | 0002 | 2840 | Gross Beta | 8 to 75 | 0.8508 | 2.9725 | 0.0571 | 2.9372 | 3.0
Drinking Water | 0008 | 2875 | Iodine-131 | 3 to 30 | 0.9711 | 0.887 | 0.0624 | 0.6455 | 2.1
Drinking Water | 0012 | 2965 | Radium-226 | 1 to 20 | 0.9253 | 0.3175 | 0.0942 | 0.0988 | 0.86
Drinking Water | 0013 | 2970 | Radium-228 | 2 to 20 | 0.9243 | 0.2265 | 0.1105 | 0.37875 | 0.88
Drinking Water | 0014 | 3055 | Natural Uranium | 2 to 70 | 0.9568 | 0.0773 | 0.0668 | 0.2490 | 1.2
Drinking Water | 0014 | 3055 | Uranium (mass) | 3 to 104 ug/L | 0.9568 | 0.1153 | 0.0668 | 0.3716 | 1.8 ug/L
Drinking Water | 0009 | 2995 | Strontium-89 | 10 to 70 | 0.9648 | 0.1591 | 0.0379 | 2.6203 | 3.8
Drinking Water | 0010 | 3005 | Strontium-90 | 3 to 45 | 0.9369 | 0.2279 | 0.0902 | 0.539 | 1.4
Drinking Water | 0011 | 3030 | Tritium | 1000 to 24000 | 0.9883 | -46.4776 | 0.0532 | 38.8382 | 760
Gamma Emitters6
Drinking Water | 0007 | 2765 | Barium-133 | 10 to 100 | 0.9684 | -0.1424 | 0.0503 | 1.0737 | 6.4
Drinking Water | 0005 | 2800 | Cesium-1347 | 10 to 100 | 0.9369 | 0.0845 | 0.0482 | 0.9306 | 6.6
Drinking Water | 0006 | 2805 | Cesium-1377 | 20 to 240 | 1.0225 | 0.2624 | 0.0347 | 1.5185 | 16
Drinking Water | 0003 | 2815 | Cobalt-60 | 10 to 120 | 1.0257 | 0.3051 | 0.0335 | 1.3315 | 7.2
Drinking Water | 0004 | 3070 | Zinc-65 | 30 to 360 | 1.0495 | 0.1245 | 0.053 | 1.8271 | 25
1) Acceptance limits are set at the Mean ± 2 SD
(Mean = a*T + b; SD = c*T + d where T is the assigned value).
2) If the lower acceptance limit generated using the criteria contained in this table is less than (<) 10% of the assigned value, the lower acceptance limits are set
at 10% of the assigned value.
3) If the lower acceptance limit generated using the criteria contained in this table is greater than (>) 90% of the assigned value, the lower acceptance limits are set
at 90% of the assigned value.
4) If the upper acceptance limit generated using the criteria contained in this table is less than (<) 110% of the assigned value, the upper acceptance limits are set
at 110% of the assigned value.
5) NELAC Proficiency Testing Reporting Limits (PTRLs) are provided as guidance to laboratories analyzing NELAC PT samples. These levels are the lowest
acceptable results that could be obtained from the lowest spike level for each analyte. The laboratory should report any positive result down to the PTRL.
It is recognized that in some cases (especially for analytes that typically exhibit low recovery) the PTRL may be below the standard laboratory reporting
limit. However, the laboratory should use a method that is sensitive enough to generate results at the PTRL shown. NELAC PTRLs are also provided as
guidance to PT Providers. At a minimum for all analytes with an assigned value equal to "0", the PT Provider should verify that the sample does not contain
the analyte at a concentration greater than or equal to the PTRL.
6) Laboratories seeking or maintaining NELAP accreditation for Gamma (Photon) Emitters must meet NELAC PT requirements for all Gamma Emitter
analytes in the Fields of Proficiency Testing in a given PT study, by technology/method (Barium-133, Cesium-134, Cesium-137, Cobalt-60, Zinc-65).
7) Laboratories seeking or maintaining NELAP accreditation for Radioactive Cesium must meet NELAC PT requirements for both Radioactive Cesium
analytes in the Fields of Proficiency Testing in a given PT study, by technology/method (Cesium-134, Cesium-137).

## Change Log
Drinking Water (DW) - Radiochemistry - FoPT Table Change Log
Effective Date | Change
2007-10-01 | Formatting changes (color coding and logo) to standardize FoPT Tables (posted to website 10-15-2018)