## Comments
VOTING DRAFT STANDARD ELV3. MARCH 2016. RESPONSE TO COMMENTS
Vote Tally: Abstain 1; Affirmative 18; Affirmative with Comment 5; Negative with Comment 14.
Disclaimer: The NELAC Institute (TNI) accepts no liability for the content of any comment on a standard. Any views or opinions on a standard are solely those of the commenter and do not necessarily reflect those of TNI.
Commenter | Section | Vote Comment | Disposition | Change/Reasoning
Negative with Comment | General | The standard consistently identifies the PT providers. While it may be apprpriate in some instances, the standard is applied to one PTP provider at a time. Review the language of the international standards. The requirements language is applied to one entity at a time. For example: ISO/IEC 17025 the laboratory shall, under ISO Guide 34 the reference material producer shall, under ISO/IEC 17043 the proficiency test provider shall, and under ISO/IEC 17011 the accreditation shall. Possible Resolution: Review cases where "PT providers" is appropriate within the text and where the language is a clear requirement of each candidate PT provider or each PT provider identify these instances as "the PT provider". | Persuasive | The PT Provider references have been updated as applicable.
Negative with Comment | General | Other comments have made reference to redundancies with ISO 17011 which is a standard for Accreditation Bodies. TNI EL V3 is a standard for Proficiency Testing Providers and not accreditation bodies. While it is a legitimate comment that there are redundancies with ISO 17011 I would not expect the PTP to be familiar with ISO 17011 and thus don't really have a problem with some things that could be considered redundant to requirements for an AB. It might actually be beneficial for EL V3 to have these "redundant" requirements as they are for the PTP and not the AB and the PTP is clear what requirements are "pushed down" on them from the AB who has to meet ISO 17011. I guess these items don't really give me heartburn unless they cause me as an AB to be in conflict with ISO 17011 and my MRA obligations. I tried to address those pontential issues specifically in my comments above. | Non-Persuasive | The committee felt that the redundancies between ISO 17011 and TNI Vol 3 were appropriate as the PTP's are generally unware of the contents of ISO 17011.
Negative with Comment | 2 | References do not include ISO Guide 30:2015. This Guide is the appropriate reference for the definitons of lot, RM and CRM. Possible Resolution: Add Clause: 2.7 ISO Guide 30:2015 Reference materials - Selected terms and definitions, as a reference. | Persuasive | A reference to ISO Guide 30 has been added.
Negative with Comment | 3 | References do not include ISO Guide 30:2015. This Guide is the appropriate reference for the definitons of lot, RM and CRM. Possible Resolution: Possible language: For the purpose of this Standard, the relevant terms and definitions are conformant with ISO Guide 30:2015, ISO/IEC 17043:2010(E), ISO/IEC 17011:2004(E), Clause 3 and ISO/IEC 17025:2005(E), Clause 3. | Persuasive | The section has been updated to include ISO Guide 30.
Negative with Comment | 3 | Intro wording in section 3.0 is confusing, it seems that the definitions are meant to "conform" to the ISO definitions but sometimes they are the same, sometimes they are different, sometimes they are new and distinct terms from the ISO definitions. Also, some definitions are from ISO Guide 30/34 and should be referenced in the document. It just seems very confusing and an organization having to conform to all standards might be pulling their hair out with terms that mean different things in different standards. Also, it seems like the definitions are meant to be in alphabetical order but they get random (or it appears) after 3.13. There are also numbering errors where some numbers are duplicated. Possible Resolution: Use the ISO definitions when possible and appropriate and clearly reference the applicable ISO standard. Perhaps even separate the ISO definitions from the unique TNI definitions so it is really clear. If alphabetical order is intended you'll want to rearrange the definitions. Also, renumber the definitions so there are no duplications. | Persuasive | The committee agreed and smplified the definitions header section.
Negative with Comment | 3.16 | The appropriate reference for lot is ISO Guide 30:2015, not ISO/IEC 17043:2010(E). | Persuasive | The reference has been updated to include ISO Guide 30.
Negative with Comment | 3.16 | Partial definition from ISO Guide 30, the entire definition should be included in the standard for complete context. The complete definition is: production batch (lot) definite amount of material produced during a single manufacturing cycle, and intended to have uniform character and quality Note 1 to entry: The uniform conditions of manufacture or production of the batch or lot must be such as to ensure a homogeneous product. Note 2 to entry: In statistics, an entire batch may be considered a finite population (totality of items under consideration). Note 3 to entry: See also “lot” in ISO 3534-2:2006. Note 4 to entry: See also the IUPAC Compendium of Analytical Nomenclature. | Non-Persuasive | The committee felt that the definitions are sufficient and the notes do not add defintions. The references are also provided for clarification.
Negative with Comment | 3.16 | The reference provided was ISO/IEC 9001:2000, which was already reported above as incorrect | Persuasive | The reference has been updated to include ISO Guide 30.
Negative with Comment | 3.17 | The appropriate reference for RM is ISO Guide 30:2015, not ISO/IEC 17043:2010(E). | Persuasive | The reference has been updated to include ISO Guide 30.
Negative with Comment | 3.17 | Partial definition from ISO Guide 30, the entire definition should be included in the standard for complete context. The complete definition is: reference material RM material, sufficiently homogeneous and stable with respect to one or more specified properties, which has been established to be fit for its intended use in a measurement process Note 1 to entry: RM is a generic term. Note 2 to entry: Properties can be quantitative or qualitative, e.g. identity of substances or species. Note 3 to entry: Uses may include the calibration of a measurement system, assessment of a measurement procedure, assigning values to other materials, and quality control. Note 4 to entry: ISO/IEC Guide 99:2007[1] has an analogous definition (5.13), but restricts the term “measurement” to apply to quantitative values. Note 3 of ISO/IEC Guide 99:2007, 5.13 (VIM), specifically includes qualitative properties, called “nominal properties”. | Non-Persuasive | The committee felt that the definitions are sufficient and the notes do not add defintions. The references are also provided for clarification.
Negative with Comment | 3.17 | Change to inhibitory to inhibition. Per EPA 821-B-00-004, Method Guidance and Recommendations for Whole Effluent Toxicity (WET) Testing (40 CFR Part 136), IC indicates inhibition concentration. | Non-Persuasive | The term inhibiting is used.
Negative with Comment | 3.17 | IC25 only appears in definitions section of Non-NOEC , not text of standard. Either remove definition completely, or if it is to stay combine within Non-NOEC definition. Possible language: Non-NOEC – analytes that are not No Observable Effects Concentration, such as IC25, the inhibitory concentration where there is 25% reduction in growth or reproduction, or LD50 the lethal dose concentration where 50% of the organisms do not survive. | Non-Persuasive | Separate definitions have been retained.
Negative with Comment | 3.18 | The appropriate reference for CRM is ISO Guide 30:2015, not ISO/IEC 17043:2010(E). | Persuasive | The reference has been updated to include ISO Guide 30.
Negative with Comment | 3.18 | Partial definition from ISO Guide 30, the entire definition should be included in the standard for complete context. The complete definition is: certified reference material CRM reference material (RM) characterized by a metrologically valid procedure for one or more specified properties, accompanied by an RM certificate that provides the value of the specified property, its associated uncertainty, and a statement of metrological traceability Note 1 to entry: The concept of value includes a nominal property or a qualitative attribute such as identity or sequence. Uncertainties for such attributes may be expressed as probabilities or levels of confidence Note 2 to entry: Metrologically valid procedures for the production and certification of RMs are given in, among others, ISO Guides 34[2] and 35[3]. Note 3 to entry: ISO Guide 31[4] gives guidance on the contents of RM certificates. Note 4 to entry: ISO/IEC Guide 99:2007 has an analogous definition (5.14). | Non-Persuasive | The committee felt that the definitions are sufficient and the notes do not add defintions. The references are also provided for clarification.
Negative with Comment | 3.18 | LD50 only appears in definitions section of Non-NOEC , not text of standard. Either remove definition completely, or if it is to stay combine within Non-NOEC definition. Possible language: Non-NOEC – analytes that are not No Observable Effects Concentration, such as IC25, the inhibitory concentration where there is 25% reduction in growth or reproduction, or LD50 the lethal dose concentration where 50% of the organisms do not survive. | Non-Persuasive | A separate definition has been retained for each of these end points.
Affirmative with Comment | 4.1 | I would suggest to change 4.1 to the following to insure PT Providers are accredited to the most recent version of the ISO document: 4.1 The PT providers shall be accredited to the most recent version of ISO 17043 General Requirements for Proficiency There are other instances where ISO Standards are listed and the PT Provider is required to be accredited, it would be a good practice to use "Most recent version" as these Standards do change over time, some should be changing quite soon. | Non-Persuasive | The TNI standards reference a specific verison of the ISO documents as part of normal practice.
Negative with Comment | 4.5.2 | This violates the requirements documents of the ILAC AB, ISO/IEC 17011 and the contractual obligations of the PTP. By standard, requirements documents and contract all relevant aspects both documents and records of the PTP are subject to review by the PTPA. This sets precedent for the PTP to cherry pick what records are reviewed, a PTP can claim, a record has a client ID on it therefore cannot be reviewed. OF the most simple examples, how would an AB review conformance to the requirements relating to a final report? The employees and contracted assessors sign confidentiality agreements to the AB and reaffirm them regularly, as well as provide a signed agreements to the customer at the time of assessment. Aspects related to confidentiality are reviewed at both the opening and closing meetings as well. Additional Support Comment: ISO/IEC 17011 4.4 The accreditation body shall have adequate arrangements to safeguard the confidentiality of the information obtained in the process of its accreditation activities at all levels of the accreditation body, including committees and external bodies or individuals acting on its behalf. The accreditation body shall not disclose confidential information about a particular CAB outside the accreditation body without written consent of the CAB, except where the law requires such information to be disclosed without such consent. ISO/IEC 17011 7.6.1 The assessment team shall review all relevant documents and records supplied by the CAB (as described in 7.2.1 and 7.2.2) to evaluate its system, as documented, for conformity with the relevant standard(s) and other requirements for accreditation. SO/IEC 17011 8.1.1 c The CAB shall provide access to information, documents and records as necessary for the assessment and maintenance of the accreditation. The accreditation body shall have adequate arrangements to safeguard the confidentiality of the information obtained in the process of its accreditation activities at all levels of the accreditation body, including committees and external bodies or individuals acting on its behalf. The accreditation body shall not disclose confidential information about a particular CAB outside the accreditation body without written consent of the CAB, except where the law requires such information to be disclosed without such consent. Example of ANAB contract language: "The customer shall conform to the following: c. Take such actions as necessary to allow ANAB to perform the Accreditation Activities, including providing for the examination of documentation and the assessment of all areas, records, and personnel for the purposes of assessment, surveillance, reassessment, resolution of complaints, and access to relevant documents that provide insight into the level of independence and impartiality from any related body." Possible Resolution: Remove Clause. | Persuasive | Redundant to ISO 17043, not a violation of ISO 17011. The clause has been removed.
Negative with Comment | 4.5.2 | If this is to stay, include PT in front of the term provider for consistency. | N/A | No longer applicable; the clause has been removed as the result of another comment.
Negative with Comment | 4.5.2 | If this is to stay, this should be explicitly limited to the context of data submission. Noting that this still violates ISO/IEC 17011, AB requirements documents and contractual obligations. If this remains, change language. Possible language: The information within the data submission shall not identify any participant laboratory to the PTPA without the expressed written consent of the laboratory. | N/A | No longer applicable; the clause has been removed as the result of another comment.
Negative with Comment | 4.6 | This is redundant to requirements of the PTPA accreditation requirements documents relating to investigation of complaints and the contractual obligations of the PTP with the PTPA, so it should be removed. Additional Support Comment: ISO/IEC 17011 7.1.2 The accreditation body shall make publicly available, and update at adequate intervals, the following: a) detailed information about its assessment and accreditation processes, including arrangements for granting, maintaining, extending, reducing, suspending and withdrawing accreditation; b) a document or reference documents containing the requirements for accreditation, including technical requirements specific to each field of accreditation, where applicable; ... d) a description of the rights and obligations of CABs; ... and f) information on procedures for lodging and handling complaints and appeals; Example of ANAB contract language: "The customer shall conform to the following: b. Commit to meeting the requirements of ANAB’s Accreditation Criteria including adapting to changes in the requirements for accreditation. c. Take such actions as necessary to allow ANAB to perform the Accreditation Activities, including providing for the examination of documentation and the assessment of all areas, records, and personnel for the purposes of assessment, surveillance, reassessment, resolution of complaints, and access to relevant documents that provide insight into the level of independence and impartiality from any related body. d. Record and address complaints, report complaints to ANAB, and otherwise continuously comply with all relevant provisions of the Accreditation Criteria and claim accreditation only in respect of requirements and scope for which the customer has been granted accreditation (ANAB certificate and scope of accreditation do not cover subcontracted calibrations). Example of ANAB requirements document MA2001 ACCREDITATION MANUAL FOR LABORATORY-RELATED PROGRAMS 20.2. If the Vice President determines the complaint is valid, the cost of the investigation may be invoiced to the offending organization. If the complaint is determined to be unfounded, ANAB shall not invoice the organization for any cost of the investigation. Example of ANAB requirements document MA2001 ACCREDITATION MANUAL FOR LABORATORY-RELATED PROGRAMS 20.3. To prevent competitors of ANAB customers from initiating complaints inappropriately, ANAB may require a complainant that is a competitor of an ANAB customer and is lodging a complaint against that ANAB customer to agree to pay for the ANAB investigation in the event that the allegation cannot be substantiated. Possible Resolution: Remove Clause. | Non-Persuasive | This requirement has always been in the standard.
Negative with Comment | 4.7 | This is redundant to requirements of ISO/IEC 17011, the PTPA accreditation requirements documents rand the contractual obligations of the PTP with the PTPA, so it should be removed. Additional Support Comment: ISO/IEC 17011 7.1.2 The accreditation body shall make publicly available, and update at adequate intervals, the following: … f) information on procedures for lodging and handling complaints and appeals; ISO/IEC 17011 7.10.1 The accreditation body shall establish procedures to address appeals by CABs. Example of ANAB requirements document MA2001 ACCREDITATION MANUAL FOR LABORATORY-RELATED PROGRAMS 21.1. The customer may appeal any decision or action taken by ANAB. ...(This leads to a lengthy section outlining appeals processes.) Furthermore, under the Responsibilities and Obligations of the Customer (Contract Language) "Any dispute under this Application shall be resolved pursuant to the appeals procedure adopted by ANAB from time to time. In the event the customer makes any claim that a dispute is not subject to the appeals process or has not been adjudicated pursuant to the rules provided therein, the customer shall not have the right to bring any action with respect thereto before a court of law or equity, but shall only have the right to seek a determination from one arbitrator pursuant to the rules of the American Arbitration Association as to whether such dispute was subject to the appeals process or was adjudicated pursuant to the rules provided therein." Possible Resolution: Remove Clause. | Non-Persuasive | There is some redundancy, but it doesn't hurt to have it explicitly stated.
Negative with Comment | 4.7 | If this requirement remains in the standard, the word “conflicts” does not sound appropriate here. Consider: If aggrieved by a finding or accreditation decision of the PTPA, the PT Provider shall follow the PTPA’s appeals process. Noting that this creates redundancy. If this remains, change language. Possible language: If aggrieved by a finding or accreditation decision of the PTPA, the PT Provider shall follow the PTPA’s appeals process. | Persuasive | The clause has been updated with the proposed language.
Negative with Comment | 4.8 | This violates the requirements documents of the ILAC AB, ISO/IEC 17011 and the contractual obligations of the PTP. By standard, requirements documents and contract all relevant aspects the ILAC AB makes the decision on appeals. These cannot be unresolved. This also violates the impartiality requirements of ISO 17011. The PTEC cannot put undue pressure on the PTPA to change a decision. Additional Support Comment: ISO/IEC 17011 7.10.2 The accreditation body a) shall appoint a person, or group of persons, to investigate the appeal who are competent and independent of the subject of the appeal, b) shall decide on the validity of the appeal, c) shall advise the CAB of the final decision(s) of the accreditation body, d) shall take follow-up action where required, and e) shall keep records of all appeals, of final decisions, and of follow-up actions taken. 4.3.1 The accreditation body shall be organized and operated so as to safeguard the objectivity and impartiality of its activities. ISO/IEC 17011 , 7.10.1 The accreditation body shall establish procedures to address appeals by CABs. Example of ANAB requirements document MA2001 ACCREDITATION MANUAL FOR LABORATORY-RELATED PROGRAMS 21.1. The customer may appeal any decision or action taken by ANAB. ...(This leads to a lengthy section outlining appeals processes.) Furthermore, under the Responsibilities and Obligations of the Customer (Contract Language) "Any dispute under this Application shall be resolved pursuant to the appeals procedure adopted by ANAB from time to time. In the event the customer makes any claim that a dispute is not subject to the appeals process or has not been adjudicated pursuant to the rules provided therein, the customer shall not have the right to bring any action with respect thereto before a court of law or equity, but shall only have the right to seek a determination from one arbitrator pursuant to the rules of the American Arbitration Association as to whether such dispute was subject to the appeals process or was adjudicated pursuant to the rules provided therein." Possible Resolution: Remove Clause. | Persuasive | The clause has been removed.
Negative with Comment | 4.8 | I share similar concerns with ...., this wording could be interpreted that we could not review records for compliance during our audits. I don't think this is the intent, I think the intent is to be concious of their customers confidentiality during the accreditation process but it probably needs some wordsmithing. Possible Resolution: Remove requirement all together or reword to state something about ensuring that the confidentiality of their customer's information during the PTPA evaluation process. All PTPAs have to ensure that they maintain confidentiality per ISO 17011 so it should be a moot point so removing 4.5.2 all together might be the best approach. | Persuasive | The clause has been removed.
Negative with Comment | 4.8 | I share similar concerns with ..., A2LA is not going to accredit an organization (for example) in a scenario where we would potentially have our accreditation decision overturned by the PTP Executive Committee. As an AB, this process has to remain in our control. It is not clear if the intent is such that the PTPEC could overrule our accreditaiton decision but if so that is not acceptable. Possible Resolution: Remove this clause or reword to clarify the intent, currently it is not clear to me and appears it would cause us to be in violation with ISO 17011. | Persuasive | The clause has been removed.
Negative with Comment | 5.1.1 | I realize this language is present in EL-V3-2009 and you are just updating it. The minor issue I have is that the term “manufacturing system” is not used in the Guide 34 nor defined in any ISO normative document, that I am aware. My larger point is that none of the language in the quality systems requirements section addresses the use of ISO/IEC 17043:2010 Conformity assessment- General requirements for proficiency testing. Since this is a proficiency testing standard and not a reference material standard, a reference to 17043:2010 ought to be included and emphasized more than ISO Guide 34. After all, it is listed on our A2LA Certificate. I suggest the following language where we re-add the clause 5.1.1 from EL-V3-2009 and substitute ISO/IEC 17043:2010 where ISO 9001 appears. The PT provider’s quality management system shall meet the requirements of ISO/IEC 17043: 2010 for the design, production, testing and distribution of PT samples and the evaluation of PT results. | Persuasive | The clause has been updated with the proposed language.
Affirmative with Comment | 5.1.2 | An incorrect reference to the ISO/IEC Standard is presented. Recommended language after changes are made: 5.1.2 " … shall meet the requirements of ISO/IEC 17025:2005(E) General Requirements for the …" | Persuasive | The reference has been updated as specified.
Negative with Comment | 5.3 | Why does this only refer to recorded complaints? Shouldn't all complaints as well as their resolutions be recorded? Possible Resolution: If clause is not removed as Matt already requested, add a preceding subsection to state that PT providers shall ensure that all complaints, as well as their resolutions, are documented or recorded. | N/A | No longer applicable; the clause has been removed as the result of another comment.
Negative with Comment | 5.6 | Regarding "Dropped Section 7.3.4 'The PT provider shall use a stability verification procedure approved of by the PTPA' and Note on Appendix A": This will keep all PT providers on the same page concerning stability evaluations. Possible Resolution: Add statement back to standard | Non-Persuasive | Stability requirements have been updated based on other comments.
Affirmative with Comment | 5.8 | The section delineating 5.8.1 is not needed, since there is no clause 5.8.2. For clarity, please delete "5.8.1 Study Instructions" since the sentence can stand alone as the requirement under clause 5.8. | Persuasive | The numbering has been updated.
Negative with Comment | 5.3.1 | This is redundant to requirements of ISO/IEC 17011, the PTPA accreditation requirements documents and the contractual obligations of the PTP with the PTPA, so it should be removed. Additional Support Comment: ISO/IEC 17011 7.6.1 The assessment team shall review all relevant documents and records supplied by the CAB (as described in 7.2.1 and 7.2.2) to evaluate its system, as documented, for conformity with the relevant standard(s) and other requirements for accreditation. ISO/IEC 17011 8.1.1 c The CAB shall provide access to information, documents and records as necessary for the assessment and maintenance of the accreditation. Example of ANAB contract language: "The customer shall conform to the following: c. Take such actions as necessary to allow ANAB to perform the Accreditation Activities, including providing for the examination of documentation and the assessment of all areas, records, and personnel for the purposes of assessment, surveillance, reassessment, resolution of complaints, and access to relevant documents that provide insight into the level of independence and impartiality from any related body. d. Record and address complaints, report complaints to ANAB, and otherwise continuously comply with all relevant provisions of the Accreditation Criteria and claim accreditation only in respect of requirements and scope for which the customer has been granted accreditation (ANAB certificate and scope of accreditation do not cover subcontracted calibrations). | Persuasive | The clause has been removed.
Affirmative with Comment | 5.4.2 | The section delineating 5.4.2.1 is not needed, since there is no clause 5.4.2.2. For clarity, please delete "5.4.2.1" since the sentence can stand alone as the requirement under clause 5.4.2. | Persuasive | The numbering has been updated.
Affirmative with Comment | 5.4.3.1 | Subsection (a) does not appear to be a requirement (the auxiliary verb is "may"), and the subsection is grammatically nonequivalent to the subsequent subsections. Recommended correction: Delete subsection (a) and renumber (b) through (e) as (a) through (d). | N/A | No longer applicable; the clause has been re-worded as the result of another comment.
Negative with Comment | 5.4.3.1 | Supplemental PT samples may be from lots that have been previously used in a PT study. Editorial Comment: Seems a little disconnected between the “shall” in the main clause and the statement in a). I suggest the following editorial correction to a). Provide supplemental PT samples which may be from lots that have been previously used in a PT study. | Persuasive | This clause has been re-worded as the result of another comment.
Negative with Comment | 5.4.3.1 (a) | Wording doesn’t make sense "…PT Provider shall: a) Supplemental PT samples may be from.." Possible Resolution: Revise wording so it is a requirement or perhaps add it as a second sentence to 5.4.3.1 d) or 5.4.3.1 e) to clairfy that they can be used. | Persuasive | This clause has been re-worded as the result of another comment.
Negative with Comment | 5.4.3.1 (a) to (e) | Same comment as above that wording doesn’t make sense. Possible Resolution: Perhaps remove the "shall" in the leading clause so that 5.4.3.1 a) may be started with "may supply…," to read "For supplemental PT samples, the PT Provider may supply these samples from lots..." The succeeding clauses b) to e) can then start with "shall." Note that this was the same formatting (i.e., "shall"' as the leading word in each sub-clause) used in sections 5.7.2, 5.7.3, and 5.7.4. | Persuasive | This clause has been re-worded as the result of another comment.
Affirmative with Comment | 5.4.3.1(a), 5.4.3.2, 5.4.3.3, 5.4.3.4 | 5.4.3.1(a): Since it uses "may," this should be deleted as a standard and added as a Note. 5.4.3.2, 5.4.3.3, 5.4.3.4: These paragraphs contain laboratory requirements, which should be reworded to be PT Provider requirements (e.g., "If the laboratory informs the PT Provider...") and restated in V1M1, if needed. EL-V1M1-2009 section 6.1(a) is sufficient for the latter: "The laboratory shall notify the PTP that the PT sample will be used for corrective action purposes so the PTP may ensure that the PT sample supplied meets the requirements for supplemental PT as defined in Volume 3 of this standard." The current wording seems to imply this was the intent; otherwise the sentence structure is incorrect. | Persuasive | 5.4.3.1 has been re-worded and moved to 5.4.3.4. The other three clauses have been re-worded as PT Provider requirements and are now 5.4.3.1 - 5.4.3.3.
Negative with Comment | 5.4.3.2 | This is a laboratory requirement, not a PTP requirement and therefore placement in this standard is inappropriate. | Persuasive | The clause has been reworded as a PT Provider requirement.
Affirmative with Comment | 5.4.3.2, 5.4.3.3, and 5.4.3.4 | THIS IS MAJOR! We (TNI) cannot be putting requirements on laboratories into this Volume 3, which is the "general requirements for PT providers"! All requirements on accredited laboratories need to be in Volume 1. Since V1M1 Section 4.1.4 as reviewed had no text within it, INSERT THE PROPOSED TEXT BELOW INTO THAT SECTION. Also, revise Clauses 5.4.3.2 - 5.4.3.4 to read as follows: V1M1, Section 4.1.4 (currently blank): If the laboratory is requesting a supplemental PT sample, the laboratory shall inform the selected PT provider if the supplemental PT sample is being used for corrective action purposes for: (a) a specific quantitative analyte or analytes, (b) a specific qualitative (analyte identification) test, or (c) a specific qualitative analyte group (presence/absence and/or identification) test. Volume 3, Section 5.4.3.2: Quantitative Supplemental PT - When the laboratory shall informs the PT provider that a supplemental PT sample is being used … The sample shall does not have an assigned value of <PTRL for the laboratory-specified analyte(s). Volume 3, Section 5.4.3.3: Analyte Identification Supplemental PT - When the laboratory shall informs the PT provider that a supplemental PT sample is being used for corrective action purposes for a specific qualitative (analyte identification) test, the choice of whether the analyte of interest is spiked into the sample shall be randomly determined by the PT provider … Volume 3, Section 5.4.3.4: Analyte Group Supplemental PT - When the laboratory shall informs the PT provider that a supplemental PT sample is being used for corrective action purposes for a specific qualitative group (presence/absence and/or identification) test, the PT provider shall design the full group test shall be designed from the applicable FoPT table. | Persuasive | The clause has been reworded as a PT Provider requirement.
Negative with Comment | 5.4.3.3 | This is a laboratory requirement, not a PTP requirement and therefore placement in this standard is inappropriate. | Persuasive | The clause has been reworded as a PT Provider requirement.
Negative with Comment | 5.4.3.4 | This is a laboratory requirement, not a PTP requirement and therefore placement in this standard is inappropriate. | Persuasive | The clause has been reworded as a PT Provider requirement.
Negative with Comment | 5.4.3.5 and 5.4.3.6 | The clause 5.4.3.5 is redundant to the definition at 3.12.b which states: 3.12 PT Study Closing Date: Supplemental PT Study: The calendar date a laboratory submits the results for a PT sample to the PT Provider. Also, the clause at 5.4.3.6 could be added to the definition at 3.12.b so that it would read as: 3.12 PT Study Closing Date: Supplemental PT Study: The calendar date a laboratory submits the results for a PT sample to the PT Provider and not to exceed 45 days from the opening date of the study. With this, you can delete 5.4.3.5 and 5.4.3.6 since they are covered earlier in the definition at 3.12.b. | Non-Persuasive | The requirement is needed in the body of the standard to be enforceable.
Affirmative with Comment | 5.5.2 | No big deal, but I expected to hear about matrices other than soil in this section. For example, what are the other matrices represented by the program, and what is the surrogate matrix used in PT preparation for each. | Non-Persuasive | The matrices being addressed in the standard are reflective of the current matrices as provided in the TNI FoPT tables.
Affirmative with Comment | 5.5.3.3 | Some additional wording may be needed to make the requirements unambiguously clear. Recommended language after changes are made: For those multi-analyte categories designated in the TNI FoPT tables as not requiring all analytes to be spiked the PT Provider shall determine the number of analytes to be spiked based on the following: | Persuasive | The proposed language has been added.
Negative with Comment | 5.6.1 | Clauses 5.6.1.2 through 5.6.1.6 are redundant to the earlier reference of ISO 17025:2009(E) Clause 5.1.2 states that: 5.1.2 The testing facilities used to support the verification, homogeneity and stability testing required in the Standard shall meet the requirements of ISO 17025:2009(E)- (General Requirements for the Competency of Testing and Calibration Laboratories) Specifically, ISO 17025 sections 5.4 and 5.6 address these clauses. Also, the added requirements in EL-V3-2015, clauses 5.6.1.3 and 5.6.1.4 to use ISO Guide 34 materials has not been adequately demonstrated as necessary for purpose. Likewise, Guide 34 materials may not be available for certain analytes and perhaps not available for emerging analytes of interest in the future. Some Guide 34 materials may be prohibitively expensive and unable to offer much more confidence to assay value compared to the highest non Guide 34 grade materials that are currently available. I realize the committee is attempting to raise the bar for assigned value verification by requiring ISO Guide 34 materials, but I think the language in ISO 17025 covers the selection of appropriate calibrants, reference materials, and method validations. If my comment is otherwise nonpersuasive, at least consider encouraging the use of ISO Guide 34 materials rather than requiring them by using a terms such as “where necessary” or “where applicable”. | Persuasive | The comments in ISO 17025 are not detailed enough to allow the fleixbility for proficiency testing provider calibrations. The words "where available" have been added to 5.6.1.3 at the end of the first sentence to clarify the requirement.
Negative with Comment | 5.6.1.1, 5.6.1.8, and 5.7.3 | 5.6.1.1 PT Providers shall analytically verify the assigned value of all analytes in all PT samples prior to use in a PT study. And 5.6.1.8 For solid matrix, and microbiology, and protozoan analytes, the assigned value of an analyte is verified if the mean of the providers verification analytes is within one-half of the laboratory acceptance limits (C) , as calculated per Section 5.9.2, of either:…… And 5.7.3 Assigned values for quantitative microbiology and protozoan analytes: 5.7.3 a) shall be equal to the study calculated mean as specified in sections 5.9.2.5 or 5.9.2.8 as appropriate Comment: In the section 5.7.3, the assigned value for quantitative microbiology shall be equal to the study calculated mean. Since the assigned value is the study mean and the study mean is not known at the time of pre-shipment verification analyses, the assigned values for microbiology and protozoans cannot be verified until after the close of the study when the study mean is calculated. This conflicts with clause 5.6.1.1. The 2009 standard at clause 6.4.3 stated that the assigned value for quantitative microbiology analytes shall be equal to the mean of the assigned value verification and/or homogeneity testing conducted per section 7.1 and 7.2 and, I think the conundrum is solved by reverting 5.7.3.a to the 2009 clause at 6.4.3. | Non-Persuasive | The providers’ VHS mean has no relation with the evaluation of the laboratories as it is not used in the calculation of the acceptance limits for the evaluation of laboratories. Therefore, it is inappropriate for use as the assigned value. The statement at the end of 5.6.1.8 states "For analytes that are based on the study mean and study standard deviation, the PT Provider shall establish criteria approved by the PTPA that demonstrate verification of the assigned value." provides sufficient evidence that the microbiology, protozoan and other standards are verified.
Affirmative with Comment | 5.6.1.10 | Some additional wording may be needed to make the requirements unambiguously clear. Recommended language after changes are made: Any PT sample that fails to meet the requirements of this Section for each analyte therein shall not be used in a PT study. | Persuasive | The committee has added the proposed language to 5.6.1.10 (now 5.6.1.11 in IS)
Affirmative with Comment | 5.6.1.4 | What are "ISO Guide 34 materials"? Recommended language to the last sentence of the clause after changes are made: The calibration and calibration verification standards shall consist of CRM, and/or RM, and/or ISO Guide 34 materials, as applicable, from different lots. | Persuasive | ISO Guide 34 materials have been clarified with a new definition.
Negative with Comment | 5.6.1.5 | There should be verification of criteria used. Possible Resolution: Add similar language as that in the last paragraph of sections 5.6.1.7 and 5.6.1.8 that the PT Provider shall establish criteria approved by their PTPA. | Non-Persuasive | The standard had not changed from 2009 and does not need further edits.
Negative with Comment | 5.6.1.5 | Regarding "Analytical method used by the PT provider for assigned value verification shall have a repeatability relative standard deviation of not more than 1/6 of the acceptance limits for the participant laboratories.": Dropping this requirement disconnects the required precision of the verification method selected by PT providers for the products final intended use. Additional Comment: PT providers have been meeting this standard for years. Removing it serves no purpose other than to give more "wiggle" room to the verification process performed by the PT providers. It can introduce additional variability and adds no value to the accrediting athorities or participants. Possible Resolution: Add statement back to standard | Non-Persuasive | The committee felt that the current criteria as noted in the the standard of < 1 standard deviation was stringent enough to warrant removal of the requirement.
Negative with Comment | 5.6.1.7 | 5.6.1.7 For aqueous chemistry analytes, the assigned value of an analyte is verified if the mean of the provider’s verification analyses is within one-third of the laboratory acceptance limits, as calculated per Section 5.9.2, not to exceed a maximum of 10% Comment: I realize that a subcommittee had convened on this issue of “the 10% rule” and concluded that is it relevant. However, I dissented at the time and continue to do so. This rule is not supported internationally as there is no statistical basis for it. It is not generally applicable to the majority validation methods employed by the PT Providers. To say that it provides added confidence to participants is misleading. | Persuasive | The committee felt that the 10% maximum rule was not effective and the remaining criteria for tassigned value verification was stringent enough to warrant removal of the requirement.
Negative with Comment | 5.6.1.7 | Can we be clearer what are aqueous chemistry analytes? Possible Resolution: Perhaps cite an example or add definition in section 3 | Non-Persuasive | No further definition is required - as definined in the TNI FoPT tables.
Negative with Comment | 5.6.1.7 | This is the first occurrence of the use of "C;" the second occurrence was in section 5.9.2.1, where it was explained further. Possible Resolution: Perhaps, add the same explanation used in section 5.9.2.1 to state that C denotes acceptance interval. | Persuasive | "C" has been removed from 5.6.1.7 and 5.6.18 to avoid confuision. Instead just the term "acceptance interval" is used.
Negative with Comment | 5.6.1.8 | Regarding "Dropped. 'The standard deviation of the verification analyses shall be less than one standard deviation as calculated for the participant laboratories.'": Dropping this requirement disconnects the required precision of the verification method selected by PT providers for the products final intended use. Additional Comment: PT providers have been meeting this standard for years. Removing it serves no purpose other than to give more "wiggle" room to the verification process performed by the PT providers. It can introduce additional variability across providers and adds no value to the accrediting athorities or participants. Possible Resolution: Add statement back to standard | Persuasive | The clause has been added back into the standard.
Affirmative with Comment | 5.6.2.1 | This whole section on homogeneity seems to be pretty empty compared to the assigned value verification and stability sections, particularly with no criteria spelled out here for acceptance. Add an additional sentence to Clause 5.6.2.1, to read as follows: The PT provider shall document acceptance criteria for homogeneity (e.g., homogeneity of the base PT sample matrix, and/or homogeneity of the analytes spiked within this matrix) in its quality system. | Non-Persuasive | This is a requirement in ISO 17043 and as such would be a duplication in adding it to the standard.
Negative with Comment | 5.6.2.2 | Regarding "Dropped. Section on homogeneity as described in Appendix A": Dropping specificity of homogeneity criteria described in Appendix A and allowing PT providers to follow general requirements under ISO guide 17043 which will likely result in different schemes of homogeneity evaluations and differing levels of homogeneity. This does not meet the defined scope of this standard, 1.2c, The preparation of PT samples which pose equivalent difficulty and challenge regardless of the manner in which the PT samples are designed and manufactured by the PT providers. Additional Comment: PT providers have been meeting this standard for years. Removing it serves no purpose other than to give more "wiggle" room to the verification process performed by the PT providers. It can introduce additional variability across providers and adds no value to the accrediting athorities or participants. Possible Resolution: Add statement back to standard | Non-Persuasive | It was noted that Appendix A was a guidance document and was never enforced as requirements and changing this requirement did not really impact the actual situation of what was occurring with the PT providers today. Each PT provider could have and may have different ways to demonstrate homogeneity.
Negative with Comment | 5.6.3.1 | Regarding "Dropped. Section on stability testing, 'after the closing date of the PT study but prior to the issuance of final reports,'": Section must specify timing of stability event. If testing is not performed within this window of defined time, validity of sample stability cannot be confirmed and any unacceptable results by participants should be questioned. Additional Comment: PT providers have been meeting this standard for years. Removing it serves no purpose other than to give more "wiggle" room to the verification process performed by the PT providers. It can introduce additional variability across providers and adds no value to the accrediting athorities or participants. Possible Resolution: Add statement back to standard | Non-Persuasive | The committee discussed that the comment was to specifically call out that the stability testing had to be completed after the close of the study and before the issuance of final reports. The committee reviewed ISO 17043 and did not find a specific requirement to complete the stability analysis prior to the issuing of final reports. Section 5.6.3.6 (now 5.6.3.5 in IS) does imply that the stability testing shall occur after the study close date and before the issuing of final reports.
Negative with Comment | 5.6.3.3 | Regarding "Dropped. 'The difference between the two means cannot be shown to affect an evaluation, then the analyte can be considered stable for the study period.'": Without this statement the intent of stability testing is lost and the requirement of the PT provider to prove that the sample was appropriately stable is questionable. Additional Comment: PT providers have been meeting this standard for years. Removing it serves no purpose other than to give more "wiggle" room to the verification process performed by the PT providers. It can introduce additional variability across providers and adds no value to the accrediting athorities or participants. Possible Resolution: Add statement back to standard | Persuasive | The committee has re-incorporated this dropped statement into the 5.6.3.3 and renumbered the requirements for this section.
Negative with Comment | 5.6.3.4 | Regarding "5.6.3.4 The stability of an analyte is verified if either: a) the difference between the mean of the providers verification analyses and the mean of the providers stability analyses is within one-fifth of the laboratory acceptance limits as calculated per Section 5.9.2 or b) the mean of the providers stability analyses meet the requirements for verification as defined in Section 5.6.1.7 or 5.6.1.8 depending on the study matrix ": Section a) is trying to duplicate the 0.2C criteria in the previous standard without using Appendix A, since they have decided to drop it. The previous standard was more precise on the requirement. b) is completely inappropriate. For example: PCBs in Oil is considered a Solid Matrix and requires extraction prior to verification...thus per section 5.6.1.8, needs to be within one-half of the laboratory acceptance limits, this would mean that the AR1254 in Oil at 16.2 mg/kg would have a final study acceptance interval of 1.62-26.8, per current FoPT's. The one-half interval for PT verification acceptance would be 8.10-24.3. Per b) the provider could get an initial verification result of 24.3 and the product would meet verification criteria. The stability analysis could generate a result of 8.10 (3 fold difference) and would still be considered "stable" per this standard. Additional Comment: PT providers have been meeting this standard for years. Removing it serves no purpose other than to give more "wiggle" room to the verification process performed by the PT providers. It can introduce additional variability and adds no value to the accrediting athorities or participants. Possible Resolution: Drop entire section and add previous statements back to the standard and add back the appendix A. | Persuasive | The committee incorporated the following language into the standard: 5.6.3.3 Stability testing shall be conducted after the study close date. The stability of an analyte is verified if either: a) the difference between the mean of the provider’s verification analyses and the mean of the provider’s stability analyses is within one-fifth of the laboratory acceptance limits as calculated per Section 5.9.2; or b) it can be demonstrated that the difference between the provider’s verification mean and the mean of the provider’s stability analyses does not affect laboratory evaluations.
Affirmative with Comment | 5.6.3.4 (b) | Some additional wording may be needed to make the requirements unambiguously clear. Recommended language after changes are made: (b) the mean of the provider's stability analyses meet the requirements for assigned value verification as defined in Section 5.6.1.7 or 5.6.1.8, depending on the study matrix. | N/A | No longer applicable; the clause has been changed and replaced with an alternate requirement.
Affirmative with Comment | 5.6.3.6 | Some additional wording may be needed to make the requirements unambiguously clear. Recommended language after changes are made: PT samples or analytes which fail to meet the criteria of this Section shall be invalidated in the PT study (scheduled or supplemental) and described in the study discussion report. | Non-Persuasive | This section describes stablility testing and the need to invalidate PT samples or analytes in the event that stability requirements are not met. Section 5.4.3.1 b indicates that stability requirements also apply to supplemental studies. Supplemental PT samples are a subgroup of PT samples in general, therefore the stability requirements would be applicable to both types of studies, without specifically stating such. No other section includes the parenthetical information. To include it here would be inconsistent with the remainder of the document.
Negative with Comment | 5.6.4.2 | Redundant with clause 4.5 of this standard. Possible Resolution: Combine requirements in 4.5. Possible Language: 4.5 PT providers shall submit data on the assigned value verification, homogeneity, and stability testing for all PT samples/analytes included in each of their TNI EL V3 PTPAaccredited PT studies to the PTPA for review to determine compliance with this Standard. | Non-Persuasive | Each section references a different purpose for reporting.
Affirmative with Comment | 5.7.3 | The whole section is not clear as to what the contingencies are and the requirements for each case. Recommended language after changes are made: 5.7.3 Assigned values for quantitative microbiology and protozoan analytes: (a) shall be equal to the study calculated mean as specified in Sections 5.9.2.5 or 5.9.2.8,. as appropriate, and either: (b) shall be presented as a whole number with no more than three (3) significant figures for quantitative methods utilizing microbial colony counting techniques; (for example, membrane filtration methods (MF) and pour plate methods), or (c) shall be set to three (3) significant figures for quantitative methods utilizing statistical probability techniques; (for example, most probable number (MPN) methods). | Non-Persuasive | The committee reviewed the comment and found that the standard is currently consistent as written.
Affirmative with Comment | 5.7.4 | There are two subsection (b)s in this clause, and overall the clause needs to be reorganized for clarity. I recommend moving the first instance of (b) to after the second one and then making this first "(b)" part of the main clause instead of a subsection. Recommended language after changes are made: 5.7.4 Assigned values for solid and chemical matrix analytes: (a) shall be equal to the natural (background) concentration … (b) shall be presented as three (3) significant figures. If the analyte assigned value is determined by the PT provider's measurement, then the assigned value shall be set to the mean of the PT provider's verification analyses., | Persuasive | The proposed editorial changes have been made.
Affirmative with Comment | 5.9.2.8 | The section delineating 5.9.2.8.1 is not needed, since there is no clause 5.9.2.8.2. For clarity, please delete "5.9.2.8.1" and place this sentence as the second sentence in the main clause for 5.9.2.8. | Persuasive | The proposed change has been made.
Negative with Comment | 5.9.2.8.1 | Why is this limited to the accredited laboratories? The evaluation of the PT results will be the same whether or not the laboratory is TNI accredited. Possible Resolution: Remove the term "accredited." | Persuasive | The term accredited has been removed. PT providers would not have the means to know which participants were accredited.
Affirmative with Comment | 5.9.3.1.1 | Subsection (a) is not needed, since there is no corresponding subsection (b). The two sentence parts should be combined. Recommended language for Clause 5.9.3.1.1 after changes are made: The result shall be scored "Acceptable" if the numeric value reported is within or equal to the established acceptance limits. | Persuasive | The subsection (a) has been removed and sentence parts combined as proposed.
Affirmative with Comment | 5.9.3.1.2 | Up to now, it seemed clear that, without a clear conjunction, the subsections (a), (b), (c), etc. in the various clauses of this volume are connected by "and." In this clause, it is not clear at all and, in fact, any one case presented could and should cause the reported PT result to be scored "Not Acceptable." Recommended change: Insert the word "or" after Subsection (b) of this Clause. | Persuasive | Added "if one of the following are true" so the sentence reads: The result shall be scored “Not Acceptable” if one of the following are true: And, an "or" has been added after clause (b). Also, the word "evaluated" has been replaced with "score" for consistency.
Negative with Comment | 5.6.3.1.2 (c) | Regarding "The result will be scored not acceptable if: the numeric value is reported with a > sign": The current design range listed on the NPW FoPT for Total, Fecal & E. coli is 20-2400 CFU or MPN/100mL. Several of the commonly used MPN methods have dynamic ranges that have a undiluted upper capacities of 1600 (9221, 15 tube, 1x:10x:100x) and 2420 (IDEXX QT). The 95% confidence intervals associated with each of these methods are 700-infinity and 1440-infinity respectively. Given such a high level of overlap between the TNI manufacturing range and the confidence levels associated with these methods, to evaluate >results as unacceptable would be technically inconsistent. It this standard was put in place all labs using QT2000 would need to run every WP study at a 50% dilution | Non-Persuasive | Laboratories should be making dilutions based on the information at hand and within the known ranges, as with real samples.
Negative with Comment | 5.9.3.2 | 5.9.3.2 Assigned Value less than (<) the PTRL 5.9.3.2.1 - The result shall be scored “Acceptable” if: a) the numeric value reported is less than the PTRL or b) the numeric value is reported with a less than (<) sign. The use of the term “or” at the end of clause a) segregates it from clause b) which means the clauses must be treated independently. If the committee had used the term “and” at the end of clause a) I would have agreed that in its entirety section 5.9.3.2.1 would have been correct and not in conflict with the New York regulation for PT scoring. If you change the “or” to “and” I will change my vote to “Yes”. As a PT provider for the New York State Environmental Laboratory Approval Program, I am required to score analytes with assigned value less than (<) the PTRL in accordance with the New York Code of Rules and Regulations Title 10, Subpart 55-2.8. The regulation states; (c) Performance in examining an individual chemical or physical analyte shall be evaluated as follows, for a synthetic blank test sample: (1) Satisfactory performance shall be a result reported with the term “less than,” and having a value less than or equal to the detection limit specified by the department, or, if no detection limit is specified, the method detection limit. (2) Unsatisfactory performance shall be a result reported with or without the term “less than,” and having a value greater than the detection limit specified by the department, or, if no detection limit is specified, the method detection limit. The detection limit we specify is the PTRL. The TNI V3-VDS-2015 clause 5.9.3.2.1 is in conflict with NYCRR 55-2.8. | Non-Persuasive | In NY reg#2 it says for a result to be deemed unsatisfactory, the reported value must be > the detection limit specified by the state and they specify the PTRL. A reported result below the PTRL would not be unsatisfactory, though it doesn't fit with the satisfactory definition.
Affirmative with Comment | 5.9.3.2.2 | As in the previous clause 5.9.3.1.2 above, any one of the subsections in this clause should cause the reported PT result to be scored "Not Acceptable." Recommended change: Insert the word "or" after Subsection (b) of this Clause. | Persuasive | Added "if one of the following are true" so the sentence reads: The result shall be evaluated “Not Acceptable” if one of the following are true: And, an "or" has been added after clause (a).
Affirmative with Comment | 5.9.3.3 | In the second paragraph the acronym PTP appears without any clear definition of what this stands for. Also, a comma needs to be inserted for clarity to separate the dependent clause from the independent clause. Recommended language for the second paragraph of Clause 5.9.3.3 after changes are made: If an analyte in the PT sample is invalidated, the reported value shall be scored "No evaluation" and the PT provider PTP shall provide an explanation of the cause for invalidation in the final evaluation report … | Persuasive | The committee has accepted the proposed language. It is a matter of clarity and esthetics.
Negative with Comment | 5.10.1.3 | Section header 11.2 (Final Evaluation Report) was crossed-out in the VDS. It should be restored for clarity, since the preceding section header (Schedule) is still present, and the sections subsequent to 5.10.1.2 do not involve scheduling. Possible Resolution: Restore section 11.2 (Final Evaluation Report) and renumber as 5.10.2. Renumber subsequent sections 5.10.1.3, 5.10.1.4, and 5.10.1.5 to section numbers 5.10.2.1, 5.10.2.2, and 5.10.2.3, respectively. Renumber Section 5.11 (Study Failure Rate Report) to 5.10.3, and the subsequent section to 5.10.3.1. | Persuasive | Renumbering to separate and define this section will clarify the standard. The correction has been made.
Affirmative with Comment | 5.10.1.3 (g) | I was not aware that EPA accredits laboratories or assigns an accreditation number. It is not clear if EPA is assigning any numbers at all to brand-new laboratories. Recommended change: Change Subsection (g) to read: "EPA laboratory ID accreditation number, if known;" | Persuasive | The committee has accepted the proposed language. It is a matter of clarity and esthetics.
Affirmative with Comment | 5.10.1.4 (e ) | The phrase appears to contain an extra word that is not needed. Recommended change: Change Subsection (e) to read: "assigned value, as described in this is standard;" | Persuasive | The word "is" has been removed.
Affirmative with Comment | 5.10.1.3 | I would like to suggest analyst be added to the list. Having the analyst name/initials provides traceability to the samples analysis records for the PTs. | Non-Persuasive | There is no requirement in V1M1 at this point. The requirement would have to be added to V1M1 as well to be enforcable.
Negative with Comment | 5.10.4 (requested) | V4 adds requirements (Sections 5.4.3 and 5.4.4) for the PTPA to ensure the PTP is able to (and does) provide data upload to TNI per PTPEC request. There needs to be a corresponding requirement in V3 to require the PTPs to provide this data. Possible Resolution: Add Section 5.10.4 (after renumbering per my preceding comment), "PT Study Data Submission", and Section 5.10.4.1: "Upon request of the PTPEC, the PT Provider shall make available, via electronic upload to TNI, such PT Study data as PTPEC may require. The format and specifications of this electronic upload shall comply with requirements defined by PTPEC." | Persuasive | The requirement is too open ended and there is a requirement to report data to the PTPA. The PTPA proposed new language for the PTEC. The new language was accepteable and has been added to the standard.