## Comments
VOTING DRAFT STANDARD ELV4. MARCH 2016. RESPONSE TO COMMENTS
Vote Tally: Abstain 6; Affirmative 25; Affirmative with Comment 2; Negative with Comment 5.
Disclaimer: The NELAC Institute (TNI) accepts no liability for the content of any comment on a standard. Any views or opinions on a standard are solely those of the commenter and do not necessarily reflect those of TNI.
Vote | Section | Vote Comment | Disposition | Change/Reasoning
Negative with Comment | General | The standard consistently identifies the PTPA(s). While it may be appropriate in some instances, the standard is applied to one PTPA at a time. Review the language of the international standards. The requirements language is applied to one entity at a time. For example: ISO/IEC 17025 the laboratory shall, under ISO Guide 34 the reference material producer shall, under ISO/IEC 17043 the proficiency test provider shall, and under ISO/IEC 17011 the accreditation shall. Possible Resolution: Review cases where "PTPA(s)" is appropriate within the text and where the language is a clear requirement of each candidate PTPA or each PTPA identify these instances as "the PTPA". | Persuasive | The PTPA references have been updated as applicable.
Negative with Comment | General | There are a number of redundancies with ISO 17011 and I think that .... did a good job of pointing those out in his comments and I'm not going to duplicate those comments. My understanding was that EL V4 was going to remove those redundancies and I’d like to see that done to simplify the document. Possible Resolution: Remove redundancies with 17011. | Non-Persuasive | Notes another commentor's comments.
Negative with Comment | 1.3.1 | A single person cannot be this function. This is due to the impartiality requirements of ISO/IEC 17011. 4.3.5 The accreditation body shall ensure that each decision on accreditation is taken by competent person(s) or committee(s) different from those who carried out the assessment. Possible Resolution: This Volume is applicable to any organization seeking to function as a TNI approved PTPA. | Persuasive | Referecences to a person as a PTPA have been removed.
Negative with Comment | 3 | Intro wording in section 3.0 is confusing, it seems that the definitions are meant to "conform" to the ISO definitions but sometimes they are the same, sometimes they are different, sometimes they are new and distinct terms from the ISO definitions. Also, some definitions are from ISO Guide 30/34 and should be referenced in the document. It just seems very confusing and an organization having to conform to all standards might be pulling their hair out with terms that mean different things in different standards. Possible Resolution: Use the ISO definitions when possible and appropriate and clearly reference the applicable ISO standard. Perhaps even separate the ISO definitions from the unique TNI definitions so it is really clear. | Persuasive | " For the purpose of this Standard, the relevant terms are defined below."
Affirmative with Comment | 3.1 | Consider adding PTRL to the list, such as "...composition, spike concentrations, PTRL and spike concentration ranges...". | Non-Persuasive | The committee is unable to change the definition at this time.
Negative with Comment | 4 | These are not PTPA requirements but requirements for the PTPEC they should live in another document that is publically available. Maybe not a EL V5, but some TNI document that everyone could access and it was clear what the requirements for the PTPEC are and could affect the PTPs or PTPAs. Possible Resolution: Remove all PTPEC requirements and put them in another document for the PTPEC. A standard for PTPAs should not include requirements for the PTPEC. | Persuasive | Clause 4.0 has been removed and "per PTPEC requirements document" has been added to the end of clause 1.2 d). However, as there is currently no existing PTPEC requirements document, the remaining sections in 4.0 were retained to retain this relevant information.
Negative with Comment | 4 | These are not requirements for the PTPA. This entire section 4.0, 4.1 and 4.2 should be removed. ISO/IEC 171011 does not make statements such as "APLAC shall" related to the evaluation process of ABs . These organizations maintain documents which specify requirements, for example and the TC008 and TC009 of APLAC. To maintain mutual recognition, the ABs follow the requirements. Possible Resolution: The PTPEC should create a requirements document for PTPAs citing the applicable criteria within this section. The next round of contracts between the PTPA and TNI should include that the PTPA will follow all application criteria set forth in ISO/IEC 17011, this Volume and the requirements document. This criteria includes review of documents and records related to the management system of the PTPA and technical requirements for accreditation of TNI PTPs. There is an added advantage that criteria documents can change relatively quickly compared to consensus standards development. | Persuasive | Clause 4.0 has been removed and "per PTPEC requirements document" has been added to the end of clause 1.2 d). However, as there is currently no existing PTPEC requirements document, the remaining sections in 4.0 were retained to retain this relevant information.
Affirmative with Comment | 4.1 (a) | Should start with "Ensure" instead of "Assure" | Persuasive | The editorial change as proposed was made.
Negative with Comment | 4.1 (b) | While this should be removed as stated above, it is worthy to note the PTPEC does not approve all policies and procedures used by the PTPA for the purposes of accreditation and monitoring of PT Providers. The PTPEC evaluates conformance of the documented procedures of the PTPA to the requirements set forth in this Volume. The PTPEC then approves the PTPA based on conformity to the specified requirements. Possible Resolution: A requirements document should state: "The PTPEC evaluates conformance of the documented procedures of the PTPA to the requirements set forth in this Volume and the relevant requirements of ISO/IEC 17011." | Persuasive | The change has been made to the standard using the suggested wording.
Negative with Comment | 4.1 (b) | While this should be removed as stated above, it is worthy to note the PTPEC does not approve all policies and procedures used by the PTPA for the purposes of accreditation and monitoring of PT Providers. The PTPEC evaluates conformance of the documented procedures of the PTPA to the requirements set forth in this Volume and the relevant requirements of ISO/IEC 17011. The PTPEC then approves the PTPA based on conformity to the specified requirements. Possible Resolution: A requirements document should state: "The PTPEC evaluates conformance of the documented procedures of the PTPA to the requirements set forth in this Volume and the relevant requirements of ISO/IEC 17011." | Persuasive | The change has been made to the standard using the suggested wording.
Negative with Comment | 4.1 (c ) | While this should be removed as stated above, Possible Resolution: A requirements document should state: "The PTPEC evaluates the PTPA at a minimum of every four (4) years. | Non-Persuasive | The committee felt that until the PTPEC has ample time to develop a requirements document this requirement should remain in the standard.
Negative with Comment | 4.2 | This should be removed as stated above. Possible Resolution: Criteria can be placed in a requirements document. | Non-Persuasive | The committee felt that until the PTPEC has ample time to develop a requirements document this requirement should remain in the standard.
Affirmative with Comment | 5 | The use of the auxiliary verb "can" in the sentence negates the intention for the requirements to be followed, as opposed to being permitted. Remove the word "can" from the sentence. Please note the revised meaning: "The requirements in this Section can serve as guidance for PTPEC procedures for those functions, or as requirements that the PTPA shall meet in order to be approved." | N/A | This clause has been removed as the result of another comment.
Negative with Comment | 5 | The indent is not consistent with items of same emphasis. | N/A | The clause has been removed as the result of another comment.
Negative with Comment | 5 | Remove clause. The PTPEC reference is not applicable to the PTPA. Without the PTPEC reference, this statement provides no further information from that of the heading REQUIREMENTS FOR A PROFICIENCY TESTING PROVIDER ACCREDITOR. Possible Resolution: Applicable criteria can be place in a requirements document. | Persuasive | The 1st half of sentence is not applicable to this section and the 2nd half is redundant with section heading.
Negative with Comment | 5.1.1 | If this statement remains, remove PTPEC reference. Possible Resolution: The PTPA shall have the technical expertise, administrative capacity, and financial resources sufficient to implement and operate a national program of PT Provider accreditation. | Persuasive | The clause has been updated to read " The PTPA shall demonstrate to the PTPEC…"
Negative with Comment | 5.1.2 (b) | Redundant language. Under ISO/IEC 17011 ABs are evaluated to the personnel requirements of ISO/IEC 17011 including: 6.1.1 which states "The accreditation body shall have a sufficient number of competent personnel (internal, external, temporary, or permanent, full time or part time) having the education, training, technical knowledge, skills and experience necessary for handling the type, range and volume of work performed." The current wording of the requirement implies technical knowledge. Additional Support Comment: Redundant language. Under ISO/IEC 17011 ABs are evaluated to the personnel requirements of ISO/IEC 17011 including: 6.1.2 The accreditation body shall have access to a sufficient number of assessors, including lead assessors, and experts to cover all of its activities. Redundant language. Under ISO/IEC 17011 ABs are evaluated that resources are reviewed. ISO/IEC 17011 states in 7.3.1 that, "The accreditation body shall review its ability to carry out the assessment of the applicant CAB, in terms of its own policy, its competence and the availability of suitable assessors and experts." Example of ANAB requirements document MA2001 ACCREDITATION MANUAL FOR LABORATORY-RELATED PROGRAMS 3.2 states, "The accreditation process begins when ANAB receives the completed application form and non-refundable application fee. ANAB reviews the application to make sure it has all required information, and the Director of Accreditation or Accreditation Manager ensures that ANAB has the required expertise to conduct the accreditation." Possible Resolution: Remove Clause. | Persuasive | The clause has been removed.
Negative with Comment | 5.1.2 (c ) | Redundant language. Under ISO/IEC 17011 ABs are evaluated to the personnel requirements of ISO/IEC 17011 including: 6.1.1 which states "The accreditation body shall have a sufficient number of competent personnel (internal, external, temporary, or permanent, full time or part time) having the education, training, technical knowledge, skills and experience necessary for handling the type, range and volume of work performed." The current wording of the requirement implies technical knowledge. Additional Support Comment: Redundant language. Under ISO/IEC 17011 ABs are evaluated to the personnel requirements of ISO/IEC 17011 including: 6.1.2 The accreditation body shall have access to a sufficient number of assessors, including lead assessors, and experts to cover all of its activities. Redundant language. Under ISO/IEC 17011 ABs are evaluated that resources are reviewed. ISO/IEC 17011 states in 7.3.1 that, "The accreditation body shall review its ability to carry out the assessment of the applicant CAB, in terms of its own policy, its competence and the availability of suitable assessors and experts." Example of ANAB requirements document MA2001 ACCREDITATION MANUAL FOR LABORATORY-RELATED PROGRAMS 3.2 states, "The accreditation process begins when ANAB receives the completed application form and non-refundable application fee. ANAB reviews the application to make sure it has all required information, and the Director of Accreditation or Accreditation Manager ensures that ANAB has the required expertise to conduct the accreditation." | Non-Persuasive | This requirement is in addition to ISO 17011. There have been PTPAs that don't have this and issue certs and perform VHS studies that are not statistically valid.
Negative with Comment | 5.2.1 (f) | There is no technical review of an initial application. There is a completeness review and resource review. The technical review occurs during document review and during the assessment. Additional Support Comment: ISO/IEC 17011 7.2.3 related to applications states, "The accreditation body shall review for adequacy the information supplied by the CAB." ISO/IEC 17011 7.6.1 The assessment team shall review all relevant documents and records supplied by the CAB (as described in 7.2.1 and 7.2.2) to evaluate its system, as documented, for conformity with the relevant standard(s) and other requirements for accreditation. Example of ANAB requirements document MA2001 ACCREDITATION MANUAL FOR LABORATORY-RELATED PROGRAMS 3.2 states, "The accreditation process begins when ANAB receives the completed application form and non-refundable application fee. ANAB reviews the application to make sure it has all required information, and the Director of Accreditation or Accreditation Manager ensures that ANAB has the required expertise to conduct the accreditation." Possible Resolution: Remove Clause. Redundant to requirements of ISO/IEC 17011 7.2.3 application review and ISO/IEC 17011 7.6.1 Document and record review, as well as AB requirements documents. | Persuasive | The clause has been removed.
Negative with Comment | 5.3.1 | This is redundant language of an ABs recognition through MRAs. For example, from the APLAC website: Obligations of APLAC MRA signatories include: Recognition, within its own scope of recognition the accreditation of a laboratory, inspection body, RMP or PTP by other signatories as being equivalent to an accreditation by its own organization. Acceptance, for its own purposes, endorsed calibration, test or inspection reports, reference materials certificates or proficiency testing reports issued by laboratories, inspection bodies, reference material producers or proficiency testing providers accredited by other signatories on the same basis as it accepts endorsed calibration, test or inspection reports issued by its own accredited laboratories and/or inspection bodies. Recommending and promoting the acceptance by users in its economy of endorsed test, calibration, and inspection reports, reference material certificates or proficiency testing reports issued by organizations accredited by other signatories. | Non-Persuasive | Comment was considered in Chicagoand it was agreed to remove this clause however after consideration of Maria's comment it has been retained and Volume 3 has been updated to match what is in Volume 4.
Negative with Comment | 5.3.1 | This does not appear to address the section heading: Development of Standard Operating Procedures and Forms. Additional Support Comment: This seems to be about transfer of accreditation. All ABs have extensive transfer policies which cite the terms of transfer from one AB to another. ANAB's is found in MA2001 Section 25. Where: 25.2.6. The transfer review shall cover the following: 25.2.6.1. Confirmation that the organization’s accreditation falls within the activities of ANAB. 25.2.6.2. Verification that the organization holds a valid (ILAC MRA signatory) certificate and scope of accreditation, in terms of authenticity, duration, and activities covered, with respect to the site or sites for which transfer is sought. 25.2.6.3. The state in the current accreditation cycle. If transfer occurs at the end of the current accreditation cycle, then a full assessment shall occur (i.e., the organization will be treated as a new customer). 25.2.6.4. Review of the last assessment/reassessment reports, subsequent surveillance reports, and any outstanding NCs arising from the reports to ensure the entire scope of accreditation and all elements of the appropriate standard were assessed by the transferring accreditation body. 25.2.6.5. An ANAB surveillance visit to the site or sites may be required if questions remain after the review of the organization’s submitted documentation. 25.2.6.6. The transfer review process does not begin until all previous reports of the transferring accreditation body have been reviewed and evidence suggests the organization met the requirements for accreditation to the applicable standard by the transferring accreditation body. 25.2.6.7. The organization shall request transfer by submitting to ANAB the appropriate application and the application fee and the information required for transfer review. | Non-Persuasive | Comment was considered in Chicagoand it was agreed to remove this clause however after consideration of Maria's comment it has been retained and Volume 3 has been updated to match what is in Volume 4.
Negative with Comment | 5.3.1 | This seems to be in conflict with V3 section 5.1.3, which states, "If the PT provider holds specific accreditations related to any of the requirements in Sections 5.1.1 through 5.1.2, this shall not limit the PTPA's ability to assess and make determinations related to the PT Provider's conformance to these requirements." V3 sections 5.1.1 and 5.1.2 refer to the requirements of ISO Guide 34 and ISO 17025, respectively. Possible Resolution: I do not have suggested language. Matt requests that V4 section 5.3.1 be removed. | Persuasive | Volume 3 has been updated to match what is in Volume 4.
Negative with Comment | 5.3.2 | This is a statement, not a requirement of the PTPA, remove the clause. | Persuasive | The clause has been removed.
Negative with Comment | 5.3.2 | How can this be done if 5.3.1 applies? Possible Resolution: Note that Matt requests that this section be removed. | Persuasive | The clause has been removed.
Negative with Comment | 5.3.3 | This requirement should be reworded to indicate EL V3. ABs already use checklists for other standards. Additional Support Comment: Example of ANAB requirements document MA2001 ACCREDITATION MANUAL FOR LABORATORY-RELATED PROGRAMS 9.6. During the assessment, ANAB assessors use the appropriate assessment checklist to document how each requirement is met while in the areas being assessed, and they use the OPIEF form to document witnessing. Assessor notes are kept on the assessment checklist and OPIEF form and become part of the accreditation records. Possible Language: A PTPA shall develop a standard, concise and unambiguous checklist(s) to be used based on the requirements set forth in TNI EL V3 during all assessments of PT Providers. | Persuasive | The phrase "used by the PTPA" has been added after "checklists".
Negative with Comment | 5.4.3 | Needs corresponding requirement in V3 for PTPs to provide data to TNI Possible Resolution: See V3 comments | N/A | No longer applicable; this was addressed as the result of another comment.
Affirmative with Comment | 5.4.3 and 5.4.4 | In both sentences the acronym PTP appears without any clear definition of what this stands for. In both cases change "PTPs" to "PT Providers". | Persuasive | PTPs has been changed to PT Providers in both sections.
Negative with Comment | 5.4.4 | This is not about the PTPA PT data management system. There is no equivalent requirement on the PTP in EL V3. Either remove the requirement from this volume or add it to EL V3. The "data" is not defined. Remove language or add similar language to EL V3. | Persuasive | The requirement has been deleted and new language added to Vol 3 for the PTPs to collect and provide data driectly to TNI. The language was supplied by the PTPEC via meetings with the PTPs and the PTPAs.
Negative with Comment | 5.5 | Redundant language of a ISO/IEC 17011 requirement. 8.2.1 The accreditation body shall make publicly available information about the current status of the accreditations that it has granted to CABs. This information shall be updated regularly. The information shall include the following: a) name and address of each accredited CAB; b) dates of granting accreditation and expiry dates, as applicable; c) scopes of accreditation, condensed and/or in full. If only condensed scopes are provided, information shall be given on how to obtain full scopes. Possible Resolution: Remove Clause. | Persuasive | The clause has been edited to reflect the following language: The PTPA shall maintain a list of its accredited PT Providers and each FoPT for which they are accredited.
Negative with Comment | 5.5 | If this statement remains, add its between "of" and "accredited". Possible Resolution: The PTPA shall maintain a list of its accredited PT Providers and the FoPTs for which they are accredited. | Persuasive | The clause has been edited to reflect the following language: The PTPA shall maintain a list of its accredited PT Providers and each FoPT for which they are accredited.
Negative with Comment | 6 | Regarding "PTPAs shall upon request (by PTPEC) conduct a presentation at the PTPEC meeting during one of TNI's semiannual forums.": This requirement seems to be misplaced. What does it have to do with REQUIREMENTS FOR ACCREDITATION OF PT PROVIDERS, the header? | Persuasive | Section 5.0 has been renamed as "REQUIREMENTS FOR A PROFICIENCY TESTING PROVIDER ACCREDITOR" and this requirement along with the entire 6.0 has been moved to section 5.0.
Negative with Comment | 6 | Title and the verbiage are confusing. These are really requirements for the PTPA's assessment and accreditation of the PTPs. The title makes it sound like they are PTP requirements. Also, is the requirement for the accreditaiton process to be repeated at a minimum of every 4 years meant to be the assessment of the PTPA or the PTP (see also EL V4 Section 4.1 c)? EL V3 requires biennial onsite assessments in section 4.4. I think requirements for the PTP and PTPA are being blended/confused in this section. In the current version the requirements are directed to the assessment of the PTP, in the revised version it appears the revisions are meant to be directed to the PTPA. It is very confusing. Possible Resolution: Clarify the title and the wording to relate only to requirements for the PTPA. | Persuasive | Section 5.0 has been renamed as "REQUIREMENTS FOR A PROFICIENCY TESTING PROVIDER ACCREDITOR" and this requirement along with the entire 6.0 has been moved to section 5.0.
Negative with Comment | 6 | Should be in Section 5 (Requirements for a PTPA), not in Section 6 (Requirements for Accreditation of PTPs) Possible Resolution: Move this requirement to the end of Section 5. | Persuasive | Section 5.0 has been renamed as "REQUIREMENTS FOR A PROFICIENCY TESTING PROVIDER ACCREDITOR" and this requirement along with the entire 6.0 has been moved to section 5.0.
Negative with Comment | 6 | Clarify minimum content for the presentation. Possible Resolution: Add as second sentence or as clause a): "The presentation, at a minimum, shall include: 1) Changes related to PT Providers - additions, withdrawals, revised scope 2) Number of complaints received - status (still open, closed, in progress), complaint type or category (e.g., deliverables, TAT, responsiveness, etc.) 3) Summary of pass/fail rates for PT studies - A list of PTs that have historical (past 2-3 years) pass rates of <90%" | Persuasive | The suggested language has been incoproprated as a new section 5.6
Negative with Comment | 6 | Add statement to state the presentations shall be submitted to PTPEC upon request. Possible Resolution: Add as clause b) "Also upon request (by PTPEC) such presentation shall be submitted to PTPEC." | Persuasive | The suggested language is now in Section 5.6
Negative with Comment | 6.1 (d) | Regarding "…This review shall include: d) shall have procedures used to validate that new PT sample formulations are fit for their intended purpose within the specified ranges per the approved TNI FoPT tables for the relevant technologies, prior to use of such material in a PT scheme": Wording doesn't make sense, need to reword. Possible Resolution: remove "shall have" and replace with "that the PTP has" or something simliar. | Persuasive | The proposed language has been accepted: "procedures used to validate that new PT sample formulations are fit for their intended purpose, and are manufactured within the specified ranges per the approved TNI FoPT tables, prior to use in a PT scheme;".
Negative with Comment | 6.1 and 6.2 | These sections confuse activities that occur during document review and assessment to an application review. As defined in ISO/IEC 17011 3.7, assessment is the process undertaken by an accreditation body to assess the competence of a CAB, based on particular standard(s) and/or other normative documents and for a defined scope of accreditation. NOTE Assessing the competence of a CAB involves assessing the competence of the entire operations of the CAB, including the competence of the personnel, the validity of the conformity assessment methodology and the validity of the conformity assessment results. Furthermore, each AB has an understanding of the principles of conformity assessment as outlined in ISO/IEC 17000:2004 Conformity assessment — Vocabulary and general principles. In this case, TNI EL V3 standard is the set of requirements. There is no need to reiterate in this standard what an AB needs to assess, as ABs understand that their organization must assess the competence of the entire operations of the CAB. ABs have procedures to review the system during the document review and the assessment. Additional Support Comment: Any ILAC AB reviews far more than implied in requirements 6.1 and 6.2 of this volume. Remove these sections, there are already clear requirements in ISO/IEC 17011 related to applications, document reviews, and assessments. The requirements of 6.1 and 6.2 do not provide any additional information to an AB for interpretation. Example of ANAB requirements document MA2001 ACCREDITATION MANUAL FOR LABORATORY-RELATED PROGRAMS 3.2 states, "The accreditation process begins when ANAB receives the completed application form and non-refundable application fee. ANAB reviews the application to make sure it has all required information, and the Director of Accreditation or Accreditation Manager ensures that ANAB has the required expertise to conduct the accreditation." Redundant to ISO/IEC 17011 language. 7.6 Document and record review 7.6.1 The assessment team shall review all relevant documents and records supplied by the CAB (as described in 7.2.1 and 7.2.2) to evaluate its system, as documented, for conformity with the relevant standard(s) and other requirements for accreditation. 7.6.2 The accreditation body may decide not to proceed with an on-site assessment based on the nonconformities found during document and record review. In such cases, the nonconformities shall be reported in writing to the CAB. Redundant to ISO/IEC 17011 language. Objective evidence for many of the listed items EL V4 6.1 would need to be sampled during the assessment, not during the document review. 7.7.2 The assessment team shall conduct the assessment of the conformity assessment services of the CAB at the premises of the CAB from which one or more key activities are performed and, where relevant, shall perform witnessing at other selected locations where the CAB operates, to gather objective evidence that the applicable scope the CAB is competent and conforms to the relevant standard(s) and other requirements for accreditation. Possible Resolution: Remove Clause. | Persuasive | These sections of Vol 4. have been reviewed and rewritten. As part of the rewriting of sections 6.1 and 6.2, minimum TNI requirements specfic to Vol 3 have been included, in addition to requirements found in ISO 17043.
Negative with Comment | 6.1 and 6.2 | The sections are mixing conformity assessment activities that should really be done onsite. The application process should really just be gathering up the appropriate documentation which can be reviewed for appropriatness but implemenation and actual conformance will be confirmed during the onsite assessment. Also, ISO 17011 addresses the application and onsite assessment process and ISO 17043, TNI EL V3, ISO G34, ISO 17025 really contain the requirements that we will be assessing them against. Possible Resolution: I do not have suggested language. Matt requests that V4 section 5.3.1 be removed. | Persuasive | Committee re-wrote the requirements to reflect what is to be done in application review or during document review or onsite
Negative with Comment | 6.2 | As the onsite assessment is performed in conjunction with the requirements of ISO/IEC 17043, there is no minimum to an assessment. As the PTPAs are required to be recognized by an international cooperation of accreditation bodies for conformance with ISO/IEC 17011:2004(E), the PTPAs are bound to review of the standard being reviewed. Is there a misunderstanding on this committee as what is meant by sampling during an assessment? This is not related to the number of requirements reviewed. As required in ISO/IEC 17011 7.5.6 The accreditation body shall establish procedures for sampling (if applicable) where the scope of the CAB covers a variety of specific conformity assessment services. The procedures shall ensure that the assessment team witness a representative number of examples to ensure proper evaluation of the competence of the CAB. In other words, if assessing a laboratory which performs several methods by the same technology, the AB must review at least few of those methods, but not necessarily all methods of the same technology. Redundant per ISO/IEC 17011 3.7. | Persuasive | These sections of Vol 4. have been reviewed and rewritten. As part of the rewriting of sections 6.1 and 6.2, minimum TNI requirements specfic to Vol 3 have been included, in addition to requirements found in ISO 17043.
Affirmative with Comment | 6.3.1 | Use start with "ensure" instead of "assure". Also remove the word "this", so it reads "...defined in Volume 3" | Persuasive | The editorial change as proposed have been made.
Negative with Comment | 6.3.1 (c ) | The AB does not approve changes, the AB reviews that have been done in conformance to the relevant standard requirements. ANAB does this during assessments, both reaccreditation assessments and surveillance assessments. Possible Resolution: Remove this redundant to ISO/IEC 17011 3.7. | Non-Persuasive (but Persuasive to clarify) | Non-Persuasive - the PTPA is assessing the appropriateness of the documentation and the validity of the change to the initial assigned value to the TNI Vol 3 standard, just as it applies to assessing the appropriateness of homogeneity and stability testing as TNI specific requirements. Persuasive - To clarify the requirement the requirement will be edited to “verification of appropriate documentation and technical reasoning applied to adjustments to initial assigned values. “
Negative with Comment | 6.3.5 | Redundant to ISO/IEC 17011 and AB requirements documents. ISO/IEC 17011 8.1.2, "The accreditation body shall require that it is informed by the accredited CAB, without delay, of significant changes relevant to its accreditation, in any aspect of its status or operation relating to a) its legal, commercial, ownership or organizational status, b) the organization, top management and key personnel, c) main policies, d) resources and premises, e) scope of accreditation, and f) other such matters that may affect the ability of the CAB to fulfill requirements for accreditation." Additional Support Comment: Example of ANAB requirements document MA2006 ISO/IEC 17043 PROFICIENCY TEST PROVIDER ACCREDITATION REQUIREMENTS language on the topic: 8.7.4. ANAB reviews the critical operational parameters of the provider, such as changes in ownership or senior management and the evidence of internal assessment and management review. Unscheduled on-site assessments of the provider may be conducted for exceptional circumstances, such as persistent complaints from participants, failure to adequately respond to inquiries from ANAB, or other evidence of persistent nonconforming activity. The causes and resolution of exceptional visits are fully documented. Any possible problems indicated by the monitoring shall be discussed with the provider. Complete records shall be maintained of all contacts and responses from the provider. Possible Resolution: Remove Clause. | Persuasive | Clause 6.3.5 has been deleted as redundant to ISO 17011 section 8.1.2.
Negative with Comment | 6.3.6 | Redundant to ISO/IEC 17011 and AB requirements documents. ISO/IEC 17011 7.11.7 The accreditation body may conduct extraordinary assessments as a result of complaints or changes (see 8.1.2), etc. The accreditation body shall advise CABs of this possibility. Additional Support Comment: Example of ANAB requirements document MA2006 ISO/IEC 17043 PROFICIENCY TEST PROVIDER ACCREDITATION REQUIREMENTS language on the topic: "8.6.3. The provider shall be subject to biennial onsite assessments conducted by ANAB. ANAB may also conduct unannounced onsite assessments for cause. After the initial year of accreditation, each provider shall undergo, at a minimum, a one-day surveillance assessment. The purpose of the surveillance is to ensure that the provider’s management system is maintained and remains effective." Possible Resolution: Remove Clause. | Persuasive | Full clause was not deleted. The requirement to document extraordinary on-site assessments will be retained with the following language accepted, "The causes and resolution of extraordinary on-site assessments fo the PT Provider shall be fully documneted."