## Comments
INTERIM STANDARD. ELV3, JULY 2016. RESPONSE TO COMMENTS
Vote Tally: Affirmative, 27; Affirmative with Comment, 6; Negative with Comment, 4; Abstain, 1
Disclaimer: The NELAC Institute (TNI) accepts no liability for the content of any comment on a standard. Any views or opinions on a standard are solely those of the commenter and do not necessarily reflect those of TNI.
Vote | Section | Comment | Disposition | Change/Reasoning
Affirmative with comment | 1.1 | Clerical correction - remove the plural designation from Providers since the article "a" is now being used. | Persuasive | Editorial
Affirmative with comment | 3.2.2 | Missing "IEC" in title of the standard, per definition in 2.3. | Persuasive | Editorial
Affirmative with comment | 3.22; 5.6.1.4 | The term defined in this section does not add anything that is not already covered in 3.20 other than "manufactured by PT Provider", which is not excluded in the definition of RM in 3.20. Suggest dropping term and definition. If removed, reference to ISO Guide 34 materials should also be dropped from 5.6.1.4 | Persuasive | During the discussion for this comment, the chair provided the historical reason for adding this definition. It was added to clarify the ability of PT Providers to create their own reference materials. The commenter said PT Providers can make their own reference materials and Guide 30 provides that reference, as such the Guide 34 definition is not required. Other PT Providers on the call agreed with the commenter and the committee voted to find the comment persuasive.
Affirmative with comment | 5.4.3.4 | An issue has arisen in the NELAP Accreditation Council regarding PCBs in supplemental PT samples. Currently, if the laboratory mis-identifies the Aroclor and quantitates the wrong PCB, the laboratory would pass 5 “non-detect” Aroclors and fail the other 2 Aroclors (the one that was not correctly identified and the one that was quantitated in error). As the Standards are worded now, the supplemental PT would have to contain the 2 failed PCBs in non-zero Assigned Values. While the quantitative effort is accommodated, the identification portion of the PT study effort is not imposed on the laboratory. Thus, one NELAP Accreditation Body is proposing that if a laboratory fails one of the 7 Aroclors in the PCB analyte group, the laboratory must participate in a supplemental PT for ALL SEVEN PCBs in that analyte group. The supplemental PT must contain only one randomly-selected PCB at a randomly-selected Assigned Value, and the laboratory will report and receive a PT grade for all 7 PCBs. The NELAP AB is proposing that >80% of the PCBs must be scored acceptable, for two out of three study attempts, for the laboratory to be accredited for all PCBs by the matrix and technology. The description for Analyte Group Supplemental PT in clause 5.4.3.3 does not seem to address this situation for the PCB analyte group. Does the PT Expert Committee have any comments on this proposal? Is this within the purview of the Consensus Standard Development process? Or is this issue better addressed by the PT Program Executive Committee with the FoPT Tables (i.e., the FoPT is based on the PCB analyte group instead of each Aroclor as an individual FoPT?)? | Non-persuasive | The comment arose from an issue raised by NJ - DEP to the Accreditation Council. The committee discussed this with NJ - DEP during a committee call and NJ - DEP has decided to work with the PTPEC to resolve the issue.
Affirmative with comment | 5.5.1 | Do both subclauses (a) and (b) need to be met, or is either (a) or (b) okay? My opinion: Add the word “and” to the end on subclause (a), and add a period to the end of subclause (b). | Non-persuasive. | This would be editorial. Both subclauses do need to be met, however, an "and" is not necessary as this is the general format throughout TNI standards.
Negative with comment (Identical comment made by 3 voters) | 5.6.1.6 | In addressing the VDS comments , the committee concluded that the current criteria as noted in the standard of < 1 standard deviation was stringent enough to warrant removal of the requirement. One item the committee may have overlooked was that the 1/6 repeatability and the <1 SD requirements are not related in a way which supports that conclusion as stated. They are independent evaluations of separate parts of the process . The 1/6 repeatability is a demonstration that the method you have selected to use for verification is fit for intended purpose for all possible analytes that could be included. The 1sd criteria is in place to evaluate each specific analytical verification event, for only the analytes included in that event, to make sure that the method was performing adequately for the analytes included in the design. However, if the standard being verified does not contain all analytes of interest in a given event, a <1 SD requirement has no bearing on those unspiked analytes. To support sect 5.6.1.10 (1/2 PTRL)the evaluation criteria of a method’s fitness for use needs to be in place and appropriate for all analytes at multiple levels across the design range including at ½ the PTRL. ISO 13528-Annex B recognizes that both method repeatability and standard deviation for proficiency assessment are separate, yet related components (under homogeneity check). And when combined, provides an internationally recognized criteria component that is consistent with the “1/6 rule”. Perhaps the committee can investigate this approach? | Non-persuasive | The committee reviewed the comment and concluded that the current criteria in the interim standard is appropriate.
Negative with comment (Identical comment made by 3 voters) | 5.6.1.7 | Analytical verification of many of these products typically involves the back to back direct injection of solvent based analytical standards which should reasonably meet the 10% rule in the absence of significant manufacturing errors, poorly performing instrumentation or inadequate validation methodology . The limits obtained through reliance on the 1/3 criteria alone would allow for verification limits that would be questionable to applicable stakeholders. Removal of the "not to exceed a maximum of 10%"… clause (albeit a clause with no foundation in ISO Standards or statistical vetting) allows PT providers to generate and accept a verification analysis which yields a verification mean that is arguably not sufficient for intended use. Some examples demonstrating this are included on the next page. | Non-persuasive | The committee reviewed the comment along with further data presented to the committee. The committee concluded that the current criteria in the interim standard is appropriate.
Negative with comment (Identical comment made by 3 voters) | 5.6.2 | We still have concerns about what remains of the Homogeneity Testing section of this standard. To cite another previous commenter on the issue, “ The whole section on homogeneity seems to be pretty empty…” We understand that not all PT providers utilize the same model (and criteria) to assess homogeneity, but with the absence of at least some specified criteria in the standard, the burden of consistent interpretation, application and enforcement falls to the PTPA’s—and from a “fitness for use” perspective, what does that look like? Homogeneity testing criteria is particularly relevant in study schemas like TNI’s, whereby the participant acceptance criteria are prescribed vs. consensus-based acceptance criteria. Again, ISO 13528 does an adequate job of describing homogeneity testing and defining what criteria may or may not be appropriate. Even though it is only a “guidance” document, it does contain some recognized and defensible content that we should at least assess for potential incorporation into the standard? | Persuasive | As discussed by the committee, a new Clause 5.6.2.3 was proposed and added as follows: “Homogeneity testing shall be compliant to ISO 13528:2015 (E), Annex B, Section B1 through B3."
Affirmative with comment | 5.9.1.2 | The sentence as presented is awkward. It would be more clear to me if an extra “if” were inserted as follows: “If a multi-modal distribution is found related to analytical method and if acceptance criteria are calculated using robust statistical analysis of participant data, results shall be evaluated on a method-specific basis.” | Non-persuasive. | This would be editorial.
Affirmative with comment | 5.9.2.8.1 | It is unclear why numbering was removed. The paragraph next to this number seems to belong as a subsection of 5.9.2.8. Suggest merging this paragraph with the preceding paragraph under 5.9.2.8, for clarity. | Persuasive | Editorial. Second paragraph (previously numbered 5.9.2.8.1) moved up to become the second sentence of 5.9.2.8.
Negative with comment | 5.9.3.2.1 | This section of the TNI NELAP PT Interim Standard is in conflict with NYS Rules and Regulations, specifically, Title 10, Subpart 55-2.8. We will not be able to implement it. The use of the term 'or' at the end of clause a) is in conflict with our regulation. If an 'and' is used, then it will be meet NYS Rules and Regulations for proficiency testing. | Non-persuasive | A similar comment had been submitted on the Voting Draft Standard and had been ruled Non-Persuasive. On discussion, Committee Members remained un-swayed to rule the comment Persuasive. It was added that changing this would raise a conflict with Volumes 1 and 2. Upon further discussion, NY DOH has decided to vote Affirmative for the standard and continue to provide both NYS and TNI compliant scoring for laboratories.
Affirmative with comment | 5.9.3.2.1 and 5.9.3.2.2 | So, if the Assigned Value for a PT is <0.5 ug/L and the laboratory reports <5%, the result is scored acceptable? To correct for this possible problem, I would word clause 5.9.3.2.2(a) as follows: “the numeric value reported is greater than or equal to the PTRL, whether or not a less than (<) sign is included; or”. | Non-persuasive | The commenter has a concern that a laboratory could report with a completely unrealistic reporting limit, pass a PT and be accredited. The committee realizes that the AB's do review the laboratory's reporting limits during the onsite assessment. The review is sufficient to ward off this type of reporting.
Affirmative with comment | 5.10.4.3 | Several possible correction may be needed in this clause: - Make sure the section number is “5.10.4.3” - Not make the “technology ID” optional if the PT Program Executive Committee really wants to have method-specific FoPTs. - Add “Test method number” to the bulleted list (again, if the PT Program Executive Committee really wants to have method-specific FoPTs). - Add “sample preparation method ID or technology, if applicable and if available” (if the PT Program Executive Committee is really serious about FoPTs based on more than matrix-analyte, then the most disparities in PT results would show up in different sample preparation techniques rather than in analytical technologies). | Non-persuasive | PTPEC queried and they declined to add the fields per their previous decision.
Affirmative with comment | 5.10.4.3 | Typographical error. 5.10.4.3 is listed as a.10.4.3 | Persuasive | Editorial
Negative with comment | 5.10.4.3 | This section does not cover cases where more specific information may be required by a subcommittee's charter. Example; request of necessary additional subdivision of NELAC codes on an FoPT to aid in assessing potential method bias. For a FoPT (or other) subcommittee to evaluate this bias, data would need to be evaluated based on specific methods reported and associated results. It's likely this information would only be needed under specific circumstances, so it should not be part of the "normal request". | Persuasive | The following note was added : "NOTE: The information delineated in Section 5.10.4.3 is considered sufficient for the PTPEC's routine or normal course of proceedings to update FoPT Tables. However, in certain cases that affect the further continual improvement of FoPTs and the TNI PT Program as a whole, the PTPEC may request additional information, not specified in section 5.10.4.3, to be included in a summary report."
Affirmative with comment | General | My comment is directional in nature. Several International Standards Organization (ISO) documents are referenced in Volume 3. ISO requires that Normative standards refer to the most recent version, unless a specific dated version is required. To follow is the general ISO statement that precludes each Normative section in ISO Standards: "The following documents, in whole or in part, are normatively referenced in this document and are indispensable for its application. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments) applies." Since ISO consistently applies the use of the ‘most recent version’, I strongly encourage the same be adopted by TNI. Whenever an ISO Standard is referenced in the TNI volume it should contain the ISO standard number, undated, for reference. Adding a statement at the beginning of the volume to indicate only the most recent version of the ISO standard is acceptable would better serve TNI/ISO users. PT providers and laboratories that use ISO standards must use the most recent version. They are not allowed to use multiple or outdated versions of ISO standards. TNI would do well, and better serve laboratories, to universally adopt the ISO practice of using only referencing the most recent version of ISO standards as references. | Non-persuasive | The committee agrees it would be desirable to cite the most recent ISO version, but that is not feasible within the TNI standards. In all cases, specific ISO standards have to be cited for the following reasons. First, V1M2, includes ISO 17025:2005 verbatim, with additional TNI clauses to supplement the ISO standard. V2M1 has a similar structure for ISO 17011. Adoption by TNI of any updated ISO standard would require the modules to be re-written, including the supplementary clauses that might now be different. Second, some Accreditation Bodies have to cite specific standards in their regulations and would not be permitted to just cite the most recent version.
Affirmative with comment | General | Please note that issues for the evaluation of radiochemistry samples should be added to issues to be addressed in the next revision. |  | Radiochemistry issues will be added to the backlog of items for the next standard revision.