## R2C-Asbestos
Response to Comments - ELV1M3 Quality System for Asbestos Testing
Disclaimer: The NELAC Institute (TNI) accepts no liability for the content of any comment on a standard.
Any views or opinions on a standard are solely those of the commenter and do not necessarily reflect those of TNI.
Step 1 | Notice of Intent
| Date of CSDEC Proposal/Approval |  |  | Date of Website Posting |  |  | Comment Closure Date |  |  | Date of PINS & ANSI announcement in Standards Action
| 9/8/17 & 9/27/17 |  |  | 9/28/17 |  |  | 10/28/17 |  |  | 9/27/17 & 10/2/17
Comment number | Vote (Persua-sive /non-) | Justifi-cation | Edito-rial (Y/N) | Section/ clause | Comment | Committee action | Date addressed | Committee comment | Submitter | Submitter contact info | Date Submitted | Date & Method of Submitter Notification
No comments received upon publication of NOI and/or ANSI announcement
Step 2 | Summary and Outline of Proposed Changes
|  |  |  | Date of Website Posting |  |  | Comment Closure Date
|  |  |  | 2019-07-30 |  |  | 2019-08-30
No comments received upon publication of Summary and Outline of Proposed Changes
Step 3 | Presentation of Proposed Draft Standard for TNI Comment; Forum on Environmental Accreditation, Newport Beach, CA, Thursday 2/6/2020
Comment number | Vote (Persua-sive /non-) | Justification | Edito-rial (Y/N) | Section/ clause | Comment | Committee action | Date addressed | Committee comment | Date Submitted | Date & Method of Submitter Notification
1 | Non-persuasive |  | No | 3.1 | Add definition of "equivalent" | None | 2020-04-15 | Committee felt definition not necessary beyond common understanding and text of language provided with standard materials | 2020-02-06 | 5/21/20 by e-mail from R. Wyeth
2 | Non-persuasive | Term familiar to field of asbestos resting | No | 3.1 | clarification of terms "Molecular % and Optical Properties" | None | 2020-04-15 | Terms clearly understood in asbestos testing industry and is appropriated referenced in the module | 2020-02-06 | 5/21/20 by e-mail from R. Wyeth
3 | Persuasive | issue covered in SOP 4-104 | Yes | NA | SOP 1-104 will be added to module as will a section on related documents and a module history | Revise draft ELV1M3 | 2020-05-20 | Committee on 4/15/20 believed comment non-persuasive but reflection determine need to add related document section and a history to the draft Module prior to vote | 2020-02-06 | 5/21/20 by e-mail from R. Wyeth
4 | Non-Persuasive | Refernce is correct | No | 7.2.1.4 | Was reference citation in this section correct? | None | 2020-04-15 | Citation was verified as correct | 2020-02-06 | 5/21/20 by e-mail to all meeting participants
5 | Persuasive | Reference is correct but will be expanded | No | 7.2.3.4 | Was reference citation in this section correct? | Expand section in draft ELV1M3 | 2020-04-15 | Citation was verified as correct but committee for completeness added an additional reference [EPA 600/R-93/116(1993)] | 2020-02-06 | 5/21/20 by e-mail to all meeting participants
6 | Persuasive | As certificates are required is reference necessary | No | 7.4.7.c | Questioned applicability of citing ANSI N42.22-1995. | Citation was removed here and in 7.2.4.3.c | 2020-05-20 | Committee agreed citation not required as certificates must be retained by laboratory | 2020-02-06 | 5/21/20 by e-mail to all meeting participants
Step 4 | Summary of Changes and Justification; Publication of DS and opening of Comment Period (TNI and Non TNI members
|  | Date of Website Posting |  |  | Comment Clousure Date |  |  | ANSI submission of BSR-8 & announcement in Standards Action |  |  | ANSI comment period closure Date
Comment number | Vote (Persua-sive /non-) | Justifi-cation | Edito-rial (Y/N) | Section/ clause | Comment | Committee action | Date addressed | Committee comment | Submitter | Submitter contact info | Date Submitted | Date & Method of Submitter Notification
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30