## Unresolved Detail
2003 NELAC CHAPTER 6 |  |  | 17011 |  |  | TNI Volume 2, Module 1 |  |  | What to do | What to do
Sec. No. | Sec. Title | Text | Sec. No. | Sec. Title | Text | Sec. No. | Sec. Title | Text | Covered by Vol 2 | Policy | SOP | Not Required
6.2(f) |  | If the NELAP insignia is used on general literature such as brochures, letterheads and business cards, a NELAP-recognized accrediting authority shall accompany the display of the NELAP insignia with at least the phrase "NELAP-recognized." | 4.3.7 | Impartiality | refers only to non-NELAC logos | 4.3.7 | Impartiality | refers only to non-NELAC logos |  | x |  |  | Policy recommended by the Committee
6.2(g)(3) |  | a mechanism for publishing interpretations and recommendations made by these committees. | Not covered |  |  |  | Not covered |  |  | x |  |  | Guidance document?
6.2(i) |  | Time lines stated in Chapter 6 can only be extended by official permission from the NELAP Director upon receipt of written justification. The record of any such extension shall detail the rationale for the extension and is to be maintained as part of the NELAP official record. | Not covered |  |  |  | Not covered |  |  |  | x |  | Committee recommends policy or SOP
6.2(j) |  | Extension of NELAP Recognition of a NELAP Accrediting Authority can be granted by the NELAP Director with written justification. The record of any such extension is to detail the rationale for the extension and is to be maintained as part of the NELAP official record. | Not covered |  |  |  | Not covered |  |  |  | x |  | NELAP Board issue
6.2.1 | Recognition
6.2.1(a) |  | a) Except for NELAP-recognized federal accrediting authorities (see 6.2.1 (h) and (i) below), NELAP-recognized secondary accrediting authorities shall grant accreditation to laboratories accredited by any other NELAP-recognized primary accrediting authority. Such reciprocal NELAP accreditation shall be granted on a laboratory-by-laboratory basis. The NELAP recognized secondary accrediting authority shall consider only the current certificate of accreditation issued by the NELAP-recognized primary accrediting authority. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(b) |  | b) When granting reciprocal accreditation to a laboratory, the NELAP-recognized secondary accrediting authority shall: | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(b)(1) |  | 1) grant reciprocal accreditation for only the fields of accreditation, methods and analytes for which the laboratory holds current primary NELAP accreditation, and | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(b)(2) |  | 2) grant reciprocal accreditation and issue certificates, as required in NELAC, Chapter 4, to an applicant laboratory within 30 calendar days of receipt of the laboratory's application. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(c) |  | c) All fees shall be paid by laboratories as required by the NELAP-recognized secondary accrediting authority. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(d) |  | d) Laboratories seeking NELAP accreditation by a NELAP-recognized secondary accrediting authority shall not be required to meet any additional proficiency testing, quality assurance, or onsite assessment requirements for the fields of accreditation for which the laboratory holds primary NELAP accreditation. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(e) |  | e) If a NELAP-recognized secondary accrediting authority notes any potential nonconformance with the NELAC standards by a laboratory during the initial application process for reciprocal accreditation, or for a laboratory that already has been granted NELAP accreditation through reciprocity, the NELAP-recognized secondary accrediting authority shall immediately notify, in writing, the applicable NELAP-recognized primary accrediting authority and the laboratory. However, the laboratory is to be notified only in situations where no administrative or judicial prosecution is contemplated. The notification must cite the applicable sections within the NELAC standards for which nonconformance by the laboratory has been noted. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(e)(1) |  | 1) If the alleged nonconformance is noted during the initial application process for reciprocal NELAP accreditation, final action on the application for reciprocal NELAP accreditation shall not be taken until the alleged nonconformance issue has been resolved, or | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(e)(2) |  | 2) If the alleged nonconformance is noted after reciprocal NELAP accreditation has been granted, the laboratory shall maintain its current NELAP accreditation status until the alleged nonconformance issue has been resolved. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(f) |  | f) Upon receipt of the subsection 6.2.1 (e) notification, the NELAP-recognized primary accrediting authority shall: | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(f)(1) |  | 1) review and investigate the alleged nonconformance, | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(f)(2) |  | 2) take appropriate action on the laboratory as set forth by the NELAC standards, including the addition of any change of accreditation status in the National Environmental Laboratory Accreditation Database. All such actions shall be taken in accordance with the laboratory’s right to due process as set forth in the NELAC standards, Chapter 4, Accreditation Process, | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(f)(3) |  | 3) respond to the NELAP-recognized secondary accrediting authority, in writing, with a copy to the NELAP Director, within 20 calendar days of receipt of the subsection 6.2.1 (e) notification providing: | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(f)(3)(i) |  | i) an initial report of the findings; | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(f)(3)(ii) |  | ii) a description of the actions to be taken; and, | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(f)(3)(iii) |  | iii) a schedule for implementation of further action on the alleged nonconformance, if necessary. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(g) |  | g) If, in the opinion of the secondary accrediting authority, the primary accrediting authority does not take timely and appropriate action on the complaint, the secondary accrediting authority should notify the NELAP Director of the dispute between the two accrediting authorities regarding proper disposition of the complaint. Within 20 calendar days of receipt of such notification, the NELAP Director shall review the alleged nonconformance and take appropriate action according to the standards set forth in this chapter. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(h) |  | h) Federal accrediting authorities shall serve as the accrediting authority only for governmental laboratories. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.1(i) |  | i) County, municipal, and non-governmental laboratories shall not claim either primary or secondary accreditation by a federal agency, even if the laboratory is performing analyses under contract to that agency. | 5.2.1 | Management system | details not spelled out | 5.2.1 | Management system |  |  |  | X |  | Mutual recognition
6.2.2 | Where to Apply for NELAP Accreditation |  | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(a) |  | a) All county, municipal and non-governmental laboratories seeking NELAP accreditation or renewal of NELAP accreditation must apply for such accreditation through their home state (the state in which the laboratory facility is located) accrediting authority. | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(b) |  | b) Laboratories located in a territory or state that is not NELAP-recognized may seek NELAP accreditation through any NELAP-recognized state or territorial accrediting authority. | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(c) |  | c) Except as noted in subsection 6.2.2 (g) below, state governmental laboratories seeking NELAP accreditation or renewal of NELAP accreditation may apply for such accreditation through their home state, home territory or through a NELAP-recognized federal accrediting authority. | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(d) |  | d) Except as noted in subsection 6.2.2 (g) below, federal governmental laboratories located in a department or agency that is a NELAP-recognized federal accrediting authority shall follow that department or agency’s policy regarding NELAP accreditation or renewal of NELAP accreditation. | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(e) |  | e) Federal governmental laboratories located in a federal department or agency that is not a NELAP-recognized accrediting authority may seek NELAP accreditation through any NELAPrecognized federal or state accrediting authority, except where the relationship poses a conflict of interest. | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(f) |  | f) Laboratories that are NELAP accredited by a state accrediting authority that has lost NELAP recognition may seek renewal of NELAP accreditation through any NELAP-recognized state accrediting authority. The laboratory’s NELAP accreditation from an accrediting authority that has lost NELAP recognition shall remain valid throughout its current certificate of accreditation. | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(g) |  | g) NELAP accredited laboratories whose home state becomes a recognized NELAP accrediting authority may retain their primary accreditation through the state that holds their current accreditation. The laboratory may retain their existing certificate of accreditation through to the date on the certificate, or until such time that they choose to renew. Depending on the regulations of their home state, the laboratory may still be required to apply for secondary accreditation from their home state until time for renewal for their primary accreditation. At the time of renewal, they must apply for their primary accreditation through their home state accrediting authority as applicable based on requested FOTs. | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(h) |  | h) Governmental laboratories that are organizational units of the same department or agency in which the accrediting authority is located or have other institutional conflicts of interest shall: | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(h)(1) |  | 1) demonstrate by organizational structure that the laboratory’s Technical Director and the environmental laboratory accreditation program manager do not report within the same chainof- command; and | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(h)(2) |  | 2) demonstrate by policies and procedures that conflicts-of-interest do not exist; or | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(h)(3) |  | 3) apply for NELAP accreditation through any other NELAP-recognized accrediting authority. | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.2(h)(3)(i) |  | i) In order that all laboratory applications for NELAP accreditation are treated equally, accrediting authorities shall initiate processing applications for NELAP accreditation in the chronological order that the applications are received. | 7.2 | Application for accreditation | Specifics are not covered | 7.2 | Application for Accreditation | Since coming from ISO17011, specifics are not covered |  | X |  |  | NELAP Board
6.2.3 | Documentation Maintained by Accrediting Authorities
6.2.3(a)(2) |  | The document or documents shall be reviewed annually. A written record of this review must be available for inspection by the NELAP evaluation team. | Not covered |  |  |  | Not covered |  |  |  | x
6.3 | APPLICATION FOR NELAP RECOGNITION | This section describes the process by which accrediting authorities may apply for NELAP recognition and the procedures that NELAP shall use to review the applications. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1 | Written Application for NELAP Recognition | [9 empty] | X
6.3.1a) |  | Each accrediting authority requesting initial NELAP recognition shall complete an application and supply all supporting documentation. Applications can be obtained from the Office of the NELAP Director, USEPA. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b) |  | The application shall request information that is essential for the NELAP to evaluate an accrediting authority’s environmental laboratory accreditation program. When documentation is required, copies of the applicable statutes, rules, regulations, policy statements, standard operating procedures, guidance documents, etc. must be submitted along with a clear citation of where the required information is found in the documents. The application shall request the following information and documentation from the accrediting authority: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)1) |  | the name, mailing address, telephone number, electronic mail address and facsimile number of the accrediting authority; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)2) |  | the statutes and regulations establishing and governing the accrediting authority’s environmental laboratory accreditation program as required in subsection 6.3.3.1 (b) and (c); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)3) |  | the policies, guidance documents, promulgating instructions and standard operating procedures governing the operation of the accrediting authority’s environmental laboratory accreditation program as set forth in subsection 6.3.3.1; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)5) |  | the requirements governing how the accrediting authority restricts the use of its accreditation by accredited laboratories as required in Section 6.8; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)6) |  | the fields of accreditation for which the accrediting authority is requesting NELAP recognition; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)7) |  | the name and title of the primary person responsible for the day-to-day management of the accrediting authority’s environmental laboratory accreditation program as required in subsection 6.3.3.1 (h); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)8) |  | the names, areas of responsibility, education and experience levels of the accrediting authority’s environmental laboratory accreditation program’s management and technical staff as required in subsection 6.3.3.1 (f), (g) and (h); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)9) |  | the names and contractual agreements for any external assessment bodies used by the accrediting authority as required in subsection 6.3.3.1.2 and 6.3.3.1.3 (b)(3); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)10) |  | the names, areas of responsibility, education and experience levels of all technical and assessment employees of any external evaluation bodies used by the accrediting authority as required in subsection 6.3.3.1.2 and 6.3.3.1.3 (b)(3); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)12) |  | a description of the accrediting authority’s environmental laboratory accreditation program quality systems (e.g., a quality systems manual or a quality assurance plan) as required in subsection 6.3.3.1.3; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)13) |  | the procedures for the selecting, training, contracting and appointing of the accrediting authority’s laboratory assessors as required in subsection 6.3.3.1 (f) and (g); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)14) |  | a description of the accrediting authority’s conflict-of-interest disclosure program as required in subsection 6.3.3.1 (i); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)15) |  | a tabular listing of all laboratories applying for accreditation in the two-year period immediately preceding the date of the application. The table shall set forth the date on which the laboratory’s application for accreditation was received by the accrediting authority and the date on which final action on the application was taken. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)16) |  | the policies and procedures used by the accrediting authority for establishing and maintaining records on each accredited laboratory and procedures for record access and retention as required in subsection 6.3.3.1.1; | [8 empty] | X
6.3.1b)17) |  | the accrediting authority’s findings, reports and corrective actions from internal audits conducted in the last two years as required in subsection 6.3.3.1 (j) and 6.3.3.1.3 (b)(4); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)18) |  | a certification that the accrediting authority meets the provisions of Section 6.2 of this chapter; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)19) |  | the name and job title of the individual or individuals authorized to sign accreditation certificates; and | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)20) |  | the standardized checklist required by subsection 6.3.2 (c)(1) is to be completed by the applicant accrediting authority citing the location in the application or supporting documents where the checklist information is provided. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X |  | The renewal checklist should be significantly smaller than the initial checklist, and the initial checklist should be significantly reworked before it is used again.
6.3.1c) |  | The application must be signed and dated by the highest ranking individual within the department or agency responsible for laboratory accreditation activities for which NELAP recognition is being sought. By signature on the application, this individual must attest to the validity of the information contained within the application and its supporting documents. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1d) |  | The accrediting authority shall submit a renewal application to the NELAP every three years to maintain NELAP recognition. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  | X
6.3.1d)1) |  | The NELAP shall send by certified mail or some other verifiable means to the accrediting authority, no later than 270 calendar days prior to the expiration of the accrediting authority’s then-current NELAP recognition an application for renewal of NELAP recognition to the accrediting authority. This notification of renewal shall indicate whether an on-site evaluation is due as set forth in subsection 6.4 (a). | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1d)2) |  | The accrediting authority must address each requirement of subsection 6.3.1 (b); however, it must submit information and documentation only of changes from the accrediting authority’s most recent NELAP-recognized environmental laboratory accreditation program. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1d)3) |  | The accrediting authority must submit the completed renewal application and supporting documents to the NELAP within 30 calendar days of receiving the renewal notification. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2 | Application Completeness and Technical Review by NELAP |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X |  | Timelines should be revisited and changed to something that will actually be done. Major milestones are more significate that prescriptive time goals.
6.3.2b) |  | If the NELAP does not receive a completed renewal application as specified in subsection 6.3.1 (d)(3), the accrediting authority shall be notified in writing. If the accrediting authority does not submit the completed application within 20 calendar days of receipt of this notification from the NELAP, the accrediting authority’s NELAP recognition shall not be renewed upon expiration of its current NELAP recognition. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c) |  | Following receipt of an initial or a renewal application, the NELAP must complete a review of the application and supporting documents to determine that information and supporting documentation required in subsection 6.3.1 (b) is included with the submittal. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)1) |  | The completeness review of the application and supporting documents shall be conducted using a standardized checklist provided by the NELAP as part of the application. The checklist shall be designed to assist the applicant in gathering all the information needed to complete the application and include a place to note the date the completeness review was completed. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)2) |  | The NELAP must notify the accrediting authority in writing within 20 calendar days of receiving the application of any additional information needed to complete the application. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X |  | Timelines should be revisited and changed to something that will actually be done.
6.3.2c)3) |  | The accrediting authority must provide any additional information or clarification requested in writing within 20 calendar days of receipt of the 6.3.2(c)(2) notification. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)3)i) |  | The NELAP may grant extensions to the 20-day time period for up to an additional 20 calendar days if the accrediting authority requests the extension in writing. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)3)ii) |  | The NELAP shall notify the accrediting authority in writing when an extension is granted. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)4) |  | Within seven (7) calendar days after the application package has been accepted as complete and the technical review has been performed, NELAP shall furnish written notification to the Accrediting Authority. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2d) |  | Within 30 calendar days of the determination that the application is complete, the NELAP evaluation team as established in subsection 6.9.1 shall perform a technical review of the application and its supporting documents and respond in writing to the accrediting authority. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2d)1) |  | The review shall be conducted in accordance with the NELAP standard operating procedures for application review; and | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2d)2) |  | The review shall be performed by the same NELAP evaluation team assigned to conduct the on-site evaluation. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2e) |  | The NELAP evaluation team shall review the application and supporting documents to evaluate whether the accrediting authority’s environmental laboratory accreditation program requires its accredited laboratories to meet the standards set forth by the NELAC standards, Chapter 2, Proficiency Testing, Chapter 3, On-site Assessment, Chapter 4, Accreditation Process and Chapter 5, Quality Systems. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2f) |  | Should the NELAP evaluation team have questions or need additional application information to determine the accrediting authority’s compliance with this chapter, the NELAP evaluation team must seek additional application information and documentation from the accrediting authority. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.1 | Required Technical Elements of a NELAP-Recognized Accrediting Authority’s Program
6.3.2.1a) |  | The NELAP evaluation team shall review the application and supporting documentation to ensure that the accrediting authority’s environmental laboratory accreditation program meets the requirements of subsection (b) through (m). | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 1 Module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X |  | SOP should include review of required elements
|  |  | 4.2.3 | Structure | The accreditation body shall have a description of its legal status, including the names of its owners if applicable, and, if different, the names of the persons who control it. | [5 empty] | X
|  | Upon mutual agreement, another NELAP-recognized accrediting authority may perform laboratory accreditation functions on behalf of a NELAP-recognized primary accrediting authority. Such an arrangement does not require approval by the NELAP Director. | 5.2.1 | Management System | NOTE: Those accreditation bodies that are signatories to a mutual recognition arrangement may refer to the obligations of the mutual recognition arrangement in their policies. |  |  |  |  | X
6.3.2.2 | Application Technical Review Report
6.3.2.2a) |  | The NELAP evaluation team shall accept an initial application and its supporting documentation for continued processing that contains sufficient information to determine that an accrediting authority meets the requirements of the NELAC standards for designation as a NELAP-recognized accrediting authority. When the NELAP evaluation team completes its review of an initial application and notes no deficiencies, the NELAP evaluation team shall schedule the on-site evaluation as set forth in subsection 6.4.1. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2b) |  | The NELAP evaluation team shall accept a renewal application and its supporting documentation for continued processing that contains sufficient information to determine that an accrediting authority meets the requirements of the NELAC standards for designation as a NELAP-recognized accrediting authority. When the NELAP evaluation team completes its review of a renewal application and denotes no deficiencies, the NELAP evaluation team shall recommend to the NELAP Director that NELAP recognition be maintained. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2c) |  | Except as noted in Section 6.5, the NELAP evaluation team shall not accept the application for continued processing if it notes deficiencies. The NELAP evaluation team will send by certified mail an application technical review report to the accrediting authority. The report: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2c)1) |  | shall identify any specific deficiencies noted during the application technical review, | [8 empty] | X
6.3.2.2c)2) |  | shall include references to the specific NELAC standards, and | [8 empty] | X
6.3.2.2c)3) |  | may provide suggested corrective action. | [8 empty] | X
6.3.2.2d) |  | To proceed with the review process, the accrediting authority shall respond with written corrective actions within 30 calendar days of receipt of the NELAP evaluation team's subsection 6.3.2.2(c) notification. The NELAP evaluation team shall review the corrective actions within 30 calendar days of receipt of the accrediting authority’s response. Alternately, the accrediting authority has the option to withdraw all or part of its NELAP recognition request. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2d)1) |  | If the corrective actions submitted by the accrediting authority do not meet the requirements of this chapter, the NELAP evaluation team shall notify the accrediting authority that it must submit additional corrective actions within 20 calendar days of receipt of the NELAP evaluation team’s response. The NELAP evaluation team shall review the accrediting authority’s second corrective action response within 20 calendar days of receipt. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2d)2) |  | If the second corrective action response submitted by the accrediting authority does not address satisfactorily all of the application deficiencies, the NELAP evaluation team shall make no further suggestions to the accrediting authority for correction of application deficiencies. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2d)3) |  | If application deficiencies still remain after the evaluation team’s second attempt to resolve those deficiencies, the NELAP evaluation team shall document those deficiencies which are not resolved and recommend to the NELAP Director that: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2d)3)i) |  | the accrediting authority’s application for initial NELAP recognition be denied; or | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  | X
6.3.2.2d)3)ii) |  | the accrediting authority’s NELAP recognition be revoked. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  | X
6.3.2.2e) |  | If the initial application as submitted contained no deficiencies or if deficiencies were corrected as provided in subsection 6.3.2.2(d), except those deficiencies requiring legislative or rulemaking action as set forth in Section 6.5, the NELAP evaluation team shall schedule the on-site evaluation as set forth in subsection 6.4.1 below. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2f) |  | If an accrediting authority elects to appeal denial or revocation of NELAP recognition resulting from the Section 6.3.2 application technical review process, an accrediting authority must follow the procedure set forth in Section 6.10 of this chapter. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2g) |  | After review of the renewal NELAP-recognition application and supporting documents, the NELAP evaluation team shall schedule, when required, an on-site evaluation of the accrediting authority’s environmental laboratory accreditation program as set forth in Section 6.4 (a) and subsection 6.4.1 (a) below. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.4 | Notification of Changes to An Accrediting Authority’s Program
6.3.4a) | Notification of Changes to An Accrediting Authority’s Program | For all changes in the accrediting authority’s environmental laboratory accreditation program listed below, the NELAP Director shall be notified of changes to: | ISO 17011 requries ABs to maintain certain information but does not address notifying an external organization |  |  | Volume 1, module 2 requries ABs to maintain certain information but does not address notifying an external organization |  |  |  |  | X
6.4 b) |  | arrangement of on-site evaluations by NELAP evaluation team | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4 c) |  | empowers NELAP evaluation team to make subsequent on-site evaluations as deemed necessary | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4 d) |  | NELAP evaluator observing an on-site assessment by AA | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.1 | Scheduling on-site evaluations
6.4.1 a) |  | Establishes time frame for NELAP evaluation team to contact AA to schedule on-site | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.1 b) 1-4 |  | Details regarding written confirmation of NELAP team to conduct on-site | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.2 | Conducting the On-Site Evaluation
6.4.2 a) 1-2 |  | Details regarding the purpose of the on-site evaluation | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.2 b) 1-6 |  | Details regarding which elements of the AA's accreditation program will be reviewed and evaluated. | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.2 c) |  | Specifies which records the NELAP evaluation team has authority to review | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.2 d) |  | Discusses special clearance for Federal agencies | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.2 e) 1-2 |  | Specifies whom the NELAP evaluation team is authorized to interview privately | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.2 f) 1-3 |  | Details the evaluation schedule including opening meeting, comprehensive on-site evaluation and exit interview | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.2 g) |  | All evaluations must be conducted in accordance with NELAP SOPs for conducting on-site evaluations | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.3 | On-Site Evaluation Reports
6.4.3 a) 1-4 |  | Details regarding the NELAP evaluation team report | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.3 b) |  | Recommendation to NELAC Director that AA be granted or maintain NELAP recognition if no deficiencies found | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.3 c) 1-3 |  | Report contents if deficiencies found | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.3 d) 1-3 |  | Details regarding contents of corrective action plan submitted by AA if deficiencies revealed | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.3 e) |  | Recommendation to NELAC Director of revocation or denial of NELAP recognition if plan of corrective action ot submitted within 30 days. | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.3 f)1-2 |  | Response of NELAP evaluation team to AA's plan of corrective action | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.4.3 g) 1-4 |  | Response of NELAP evaluation team to AA's second plan of corrective action | ISO 17011 does not address |  |  | Volume 1, module 2 does not address . |  |  |  |  | X
6.5 |  | ACCREDITING AUTHORITY’S REQUEST FOR EXTENSION OF TIME TO COMPLY WITH THE NELAC STANDARDS
6.5 a) |  | Upon written request to the NELAP Director, through the NELAP evaluation team, an extension of time, not to exceed two years, to correct deficiencies noted in the accrediting authority’s application and/or deficiencies noted during the on-site evaluation shall be granted only: NELAC | [7 empty] | X | X |  | This accomodation to new NELAP Board recognised AB's was considered important to bring in new AB's.
6.5 a) 1 |  | when an applicant accrediting authority has an operating environmental laboratory accreditation program for the fields of accreditation for which it is seeking or renewing NELAP recognition, and | [7 empty] | X | X |  | This accomodation to new NELAP Board recognised AB's was considered important to bring in new AB's.
6.5 a) 2 |  | when, as set forth in Section 6.4.3(g)(3), implementation of corrective actions to correct application and/or evaluation deficiencies requires the accrediting authority to promulgate new or revised regulations, or | [7 empty] | X | X |  | This accomodation to new NELAP Board recognised AB's was considered important to bring in new AB's.
6.5 a) 3 |  | when, as set forth in Section 6.4.3(g)(3) implementation of corrective actions to correct application and/or evaluation deficiencies requires the accrediting authority to seek new or revised legislation. | [7 empty] | X | X |  | This accomodation to new NELAP Board recognised AB's was considered important to bring in new AB's.
6.5 b) |  | If the deficiencies continue to exist after two years from the date the original extension was granted, the accrediting authority shall reapply to the NELAP Director, through the NELAP evaluation team, for an additional extension time. The additional extension time shall be subject to the following conditions: | [7 empty] | X | X |  | This accomodation to new NELAP Board recognised AB's was considered important to bring in new AB's.
6.5 b) 1 |  | it shall not exceed two years, unless the Accrediting Authority Review Board recommends to the NELAP Director an additional length of time, and | [7 empty] | X | X |  | This accomodation to new NELAP Board recognised AB's was considered important to bring in new AB's.
6.5 b) |  | the accrediting authority shall meet the conditions given in Section 6.5(a)(1), (2), and (3), and | [7 empty] | X | X |  | This accomodation to new NELAP Board recognised AB's was considered important to bring in new AB's.
6.5 b) |  | the accrediting authority shall provide documentation to demonstrate that it has made significant progress towards completing its regulatory or legislative process. | [7 empty] | X | X |  | This accomodation to new NELAP Board recognised AB's was considered important to bring in new AB's.
6.5 c) |  | The accrediting authority shall include in its request for an extension of time to comply with the NELAC standards a projected time table for correction of the application and/or evaluation deficiencies. | [7 empty] | X | X |  | This accomodation to new NELAP Board recognised AB's was considered important to bring in new AB's.
6.6 |  | NELAP EVALUATION TEAM RECOMMENDATIONS TO THE NELAP DIRECTOR
6.6 a) |  | All recommendations required by this chapter from the NELAP evaluation team to the NELAP Director must be made in writing. | [7 empty] | X | X |  | The NELAP Board will need inforamtion from the evaluation team inoder to recognise AB's .
6.6 b) |  | All NELAP evaluation team recommendations to the NELAP Director shall include the following documentation when applicable: | [7 empty] | X | X |  | The NELAP Board will need inforamtion from the evaluation team inoder to recognise AB's .
6.6 b) 1 |  | a recommendation to grant, maintain or revoke NELAP recognition in full or in part; | [7 empty] | X | X |  | The NELAP Board will need inforamtion from the evaluation team inoder to recognise AB's .
6.6 b) 2 |  | a summary of the reasons supporting the recommendation; | [7 empty] | X | X |  | The NELAP Board will need inforamtion from the evaluation team inoder to recognise AB's .
6.6 b) 3 |  | a copy of all application review letters sent to the accrediting authority and all corrective action response letters submitted by the accrediting authority to the NELAP evaluation team; | [7 empty] | X | X |  | The NELAP Board will need inforamtion from the evaluation team inoder to recognise AB's .
6.6 b) 4 |  | a copy of all on-site evaluation review letters sent to the accrediting authority and all corrective action response letters submitted by the accrediting authority; and | [7 empty] | X | X |  | The NELAP Board will need inforamtion from the evaluation team inoder to recognise AB's .
6.6 b) 5 |  | a copy of the accrediting authority’s requests for extension of time to implement corrective actions if legislative or additional rulemaking is required pursuant to Section 6.5. | [7 empty] | X | X |  | The NELAP Board will need inforamtion from the evaluation team inoder to recognise AB's .
6.6 c) |  | A copy of any NELAP evaluation team’s recommendation with all supporting documentation to the NELAP Director also shall be furnished to the accrediting authority. | [7 empty] | X | X |  | The NELAP Board will need inforamtion from the evaluation team inoder to recognise AB's .
6.6 d) |  | Within 30 calendar days of receipt of the NELAP evaluation team’s recommendation, the NELAP Director shall provide written notification to the accrediting authority of acceptance or rejection of the NELAP evaluation team’s recommendation. | [7 empty] | X | X |  | The NELAP Board will need inforamtion from the evaluation team inoder to recognise AB's .
6.6 e) |  | The accrediting authority has the option to appeal a revocation or denial decision regarding NELAP recognition by the NELAP Director as set forth in Section 6.10 of this chapter. | [7 empty] | X | X |  | The AB needs an appeal available to adverse decisions from an unreasonable NELAP Board .
6.7 |  | CERTIFICATE OF RECOGNITION TO THE ACCREDITING AUTHORITY
6.7 a) |  | The NELAP Director shall issue a certificate of NELAP recognition dated the day on which NELAP recognition is granted. | [7 empty] | X |  |  | The NELAP Board needs to formalize its decisions to recognizes Abs.
6.7 b) |  | The certificate of NELAP recognition shall include the following items: | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 1 |  | the name and address of the accrediting authority, | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 2 |  | the fields of accreditation for which the accrediting authority is NELAP-recognized, | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 3 |  | the date of the accrediting authority's most recent on-site evaluation, | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 4 |  | the expiration date of the accrediting authority’s NELAP recognition which shall not be more than three (3) years from the date of the most recent date granting NELAP recognition, | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 5 |  | the signature of the NELAP Director, | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 6 |  | a statement that the accrediting authority is in compliance with the NELAC standards, | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 7 |  | a statement that the accrediting authority has been granted the authority to accredit environmental laboratories for the fields of accreditation for which the accrediting authority is NELAP-recognized, | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 8 |  | a statement that continued NELAP recognition depends on compliance with the NELAC standards; | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 9 |  | a seal incorporating the NELAP insignia; and | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.7 b) 10 |  | a unique designator, such as date of issuance and a serial or certificate number. | [7 empty] | X |  |  | These are reasonable data to record on the certificate.
6.9 | REQUIREMENTS OF THE NELAP |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9a) |  | The NELAP evaluation team shall submit all documents, letters, evaluation notes, checklists, etc. to the NELAP headquarters office within: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9a)1) |  | 30 calendar days of the final decision on the application by the NELAP Director, or | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9a)2) |  | 30 calendar days after the final recommendation by the Accrediting Authority Review Board (AARB) as set forth in Section 6.10 of this chapter. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9b) |  | The NELAP Director shall maintain complete and accurate records of all documents relating to the application and on-site evaluation processes for each accrediting authority for a minimum of ten years or a longer period of time if required by contractual obligations or pertinent federal laws and regulations. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9c) |  | The NELAP Director shall maintain an electronic directory to display the status of all NELAP-recognized accrediting authorities, pending applications for NELAP recognition and currently scheduled announced on-site evaluations. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1 | NELAP Evaluation Team |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1a) |  | The NELAP Director shall appoint NELAP evaluation team members as set forth in Section 6.3.3 (a)(4) and delegate the responsibilities required by this chapter to evaluation teams. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1b) |  | The NELAP evaluation team shall consist of at least one member who is an employee of the USEPA and at least one member who is an employee of a NELAP-recognized accrediting authority. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1c) |  | Prior to conducting the on-site evaluation of an accrediting authority's program, at least one member of the NELAP evaluation team shall complete the NELAP Accrediting Authority Evaluator Training Course. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d) |  | The NELAP evaluation team shall: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)1) |  | have at least one member of the NELAP evaluation team who meets the education, experience and training requirements for laboratory assessors specified in the NELAC standards, Chapter 3, On-site Assessment; and | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2) |  | have at least another member with experience that includes at least one of the following: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2)i) |  | certification as a management systems lead assessor (quality or environmental) from an internationally recognized auditor certification body; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2)ii) |  | one year of experience implementing federal or state laboratory accreditation rulemaking; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2)iii) |  | laboratory accreditation management; or | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2)iv) |  | one year experience developing or participating in laboratory accreditation programs. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)3) |  | Have documentation that verifies freedom from any conflict of interest that would compromise acting in impartial nondiscriminatory manners. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)4) |  | All experience required by this subsection must have been acquired within the five year period immediately preceding appointment as a NELAP evaluation team member. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.10 | APPEALING FINDINGS BASED UPON DIFFERENCES IN STANDARDS INTERPRETATIONS |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.10a) |  | Though standards are written as clearly and succinctly as possible, conflicts regarding interpretation of standards may arise between the NELAP evaluation team and an accrediting authority, a laboratory and the accrediting authority or between two or more accrediting authorities. Appendix A of this chapter outlines the procedures that must be followed in these instances. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.10b) |  | The outcome of the procedure outlined in Appendix A is a final consensus interpretation of a standard. This interpretation must be communicated to the relevant standing committees. The decision shall be posted on the NELAC Website and be accessible to all accrediting authorities and laboratories within 14 days. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.10c) |  | The consensus interpretation must be recognized by the NELAP Director, the NELAP evaluation teams, all accrediting authorities and laboratories until such a time as the standard is changed or another consensus interpretation has been issued. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11 | APPEALING DECISIONS TO DENY OR REVOKE NELAP RECOGNITION |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11a) |  | Within 20 calendar days of official notification of the NELAP action on an accrediting authority’s application for NELAP recognition, the accrediting authority shall notify the NELAP Director if the accrediting authority chooses to appeal the NELAP action. If the accrediting authority does not receive satisfactory resolution, the accrediting authority may request a review by the AARB. This request shall be made within 20 calendar days of the Director’s decision. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11b) |  | If any AARB member is not free of financial connection to the appealing accrediting authority, or is not free of any other relationship that would bias their review of the case, that AARB member shall be excluded from participating in deliberations on that appeal. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11c) |  | The AARB shall carry out an independent review of all relevant parts of the record. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11d) |  | The AARB shall conduct interviews with the accrediting authority and the NELAP Director. The AARB also may conduct interviews with the NELAP evaluation team member(s) or other individuals deemed appropriate by the AARB. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11e) |  | If the accrediting authority so desires, an opportunity for both the NELAP and the accrediting authority to meet jointly with the AARB shall be granted. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11f) |  | The AARB shall complete its review and render a final decision to the NELAP Director within 90 calendar days following receipt of the notice of appeal. This time frame may be extended by mutual agreement of all parties up to a maximum of 60 additional calendar days. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11g) |  | The ultimate decision to grant, maintain, deny or revoke NELAP recognition remains with the NELAP Director. The NELAP Director shall notify the appealing accrediting authority of his/her the final AARB decision within 20 calendar days of receipt of the recommendation from the AARB. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11h) |  | Accrediting authorities shall be limited to one appeal for each application cycle. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11i) |  | Upon filing an appeal, the status existing prior to the decision shall remain in effect pending resolution of the appeal. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
Appendix A | QUESTIONS OF UNIFORMITY PROCEDURE
A.1 | PURPOSE | In the event where two or more parties cannot resolve an issue of interpretation of a standard, the following procedure shall be followed. This procedure may be initiated by any involved party and is to be used when the appeal procedure provided by the Accrediting Authority has been exhausted or is not appropriate. | 5.9 | Complaints | The accreditation body shall establish procedures for dealing with complaints. The accreditation body a) shall decide on the validity of the complaint, b) shall, where appropriate, ensure that a complaint concerning an accredited CAB is first addressed by the CAB, c) shall take appropriate actions and assess their effectiveness, d) shall record all complaints and actions taken, and e) shall respond to the complainant. Note: ISO 17011 defines complaints to include expressions of dissatisfaction re CABs, where a response is expected. |  |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2 | PROCEDURE FOR INITIATION OF RESOLUTION BY AFFECTED PARTIES |  | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.1 | Initial Decision/Interpretation Procedure |  | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be.
A.2.1a) |  | The affected party shall contact the involved Accrediting Authority(s) (AA)(s) in writing with a copy to the NELAP Director. The request shall include the reference for the affected standard and a statement of the variances in interpretation made by the AA(s) as well as a summary explaining the affected party’s position. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.1b) |  | The parties shall discuss the difference in interpretation within 7 days of notification of the issue. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.1c) |  | If the affected parties reach an agreement on interpretation the NELAP Director is informed in writing of their decision. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.1d) |  | If the affected parties cannot reach an agreement the request is forwarded in writing to the NELAP Director within 14 days by the affected party(s) | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2 | Decision/Interpretation Procedure When Affected Parties Cannot Reach an Agreement |  | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2a) |  | Within 7 days after receiving the request from the affected parties, the NELAP Director shall forward the request to the author of the applicable standard or AA workgroup for an interpretation/decision. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2b) |  | The author of the applicable standard or AA workgroup shall have 45 days to inform the director of their interpretation/decision | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2c) |  | The director shall inform the affected parties of the interpretation within 7 days. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2d) |  | The effective parties shall notify the director of accepting or appeal the interpretation/decision within 7 days of being informed of the interpretation/decision. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.3 | APPEAL PROCEDURE | If the affected parties disagree with the decision/interpretation, the issue is appealed in writing to the NELAP Board of Directors for final resolution by being placed on the agenda of the next scheduled meeting for review and a decision. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.4 | POSTING OF DECISION | Once the issue has been resolved, the NELAP Director shall post the question and resolution within 14 days on the NELAC web site. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.

## Unresolved Topics
| Policy | SOP
Recognition | X | X
Where to Apply for NELAP Accreditation | X
Documentation Maintained by Accrediting Authorities |  | X
Written Application for NELAP Recognition |  | X
Required Technical Elements of a NELAP-Recognized Accrediting Authority’s Program |  | X
Application Technical Review Report |  | X
Notification of Changes to An Accrediting Authority’s Program |  | X
Scheduling on-site evaluations |  | X
Conducting the On-Site Evaluation |  | X
On-Site Evaluation Reports |  | X
ACCREDITING AUTHORITY’S REQUEST FOR EXTENSION OF TIME TO COMPLY WITH THE NELAC STANDARDS | X | X
CERTIFICATE OF RECOGNITION TO THE ACCREDITING AUTHORITY | X
REQUIREMENTS OF THE NELAP |  | X
NELAP Evaluation Team |  | X
APPEALING FINDINGS BASED UPON DIFFERENCES IN STANDARDS INTERPRETATIONS |  | X
APPEALING DECISIONS TO DENY OR REVOKE NELAP RECOGNITION |  | X
QUESTIONS OF UNIFORMITY PROCEDURE | X | X