## Sheet1
2003 NELAC CHAPTER 6 |  |  | 17011 |  |  | TNI Volume 2, Module 1 |  |  | What to do
Sec. No. | Sec. Title | Text | Sec. No. | Sec. Title | Text | Sec. No. | Sec. Title | Text | Covered by Vol 2 | Policy | SOP | Not Required
6.3 | APPLICATION FOR NELAP RECOGNITION | This section describes the process by which accrediting authorities may apply for NELAP recognition and the procedures that NELAP shall use to review the applications. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1 | Written Application for NELAP Recognition | [9 empty] | X
6.3.1a) |  | Each accrediting authority requesting initial NELAP recognition shall complete an application and supply all supporting documentation. Applications can be obtained from the Office of the NELAP Director, USEPA. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b) |  | The application shall request information that is essential for the NELAP to evaluate an accrediting authority’s environmental laboratory accreditation program. When documentation is required, copies of the applicable statutes, rules, regulations, policy statements, standard operating procedures, guidance documents, etc. must be submitted along with a clear citation of where the required information is found in the documents. The application shall request the following information and documentation from the accrediting authority: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)1) |  | the name, mailing address, telephone number, electronic mail address and facsimile number of the accrediting authority; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)2) |  | the statutes and regulations establishing and governing the accrediting authority’s environmental laboratory accreditation program as required in subsection 6.3.3.1 (b) and (c); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)3) |  | the policies, guidance documents, promulgating instructions and standard operating procedures governing the operation of the accrediting authority’s environmental laboratory accreditation program as set forth in subsection 6.3.3.1; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)4) |  | the accrediting authority’s arrangements for liability insurance and workman’s compensation insurance coverage as required in subsection 6.3.3.1 (d); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. | [5 empty] | X | Governmental agencies will do what they are going to do, according to their respective state laws.
6.3.1b)5) |  | the requirements governing how the accrediting authority restricts the use of its accreditation by accredited laboratories as required in Section 6.8; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)6) |  | the fields of accreditation for which the accrediting authority is requesting NELAP recognition; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)7) |  | the name and title of the primary person responsible for the day-to-day management of the accrediting authority’s environmental laboratory accreditation program as required in subsection 6.3.3.1 (h); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)8) |  | the names, areas of responsibility, education and experience levels of the accrediting authority’s environmental laboratory accreditation program’s management and technical staff as required in subsection 6.3.3.1 (f), (g) and (h); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)9) |  | the names and contractual agreements for any external assessment bodies used by the accrediting authority as required in subsection 6.3.3.1.2 and 6.3.3.1.3 (b)(3); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)10) |  | the names, areas of responsibility, education and experience levels of all technical and assessment employees of any external evaluation bodies used by the accrediting authority as required in subsection 6.3.3.1.2 and 6.3.3.1.3 (b)(3); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)11) |  | RESERVED | [8 empty] | X
6.3.1b)12) |  | a description of the accrediting authority’s environmental laboratory accreditation program quality systems (e.g., a quality systems manual or a quality assurance plan) as required in subsection 6.3.3.1.3; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)13) |  | the procedures for the selecting, training, contracting and appointing of the accrediting authority’s laboratory assessors as required in subsection 6.3.3.1 (f) and (g); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)14) |  | a description of the accrediting authority’s conflict-of-interest disclosure program as required in subsection 6.3.3.1 (i); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)15) |  | a tabular listing of all laboratories applying for accreditation in the two-year period immediately preceding the date of the application. The table shall set forth the date on which the laboratory’s application for accreditation was received by the accrediting authority and the date on which final action on the application was taken. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)16) |  | the policies and procedures used by the accrediting authority for establishing and maintaining records on each accredited laboratory and procedures for record access and retention as required in subsection 6.3.3.1.1; | [8 empty] | X
6.3.1b)17) |  | the accrediting authority’s findings, reports and corrective actions from internal audits conducted in the last two years as required in subsection 6.3.3.1 (j) and 6.3.3.1.3 (b)(4); | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)18) |  | a certification that the accrediting authority meets the provisions of Section 6.2 of this chapter; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)19) |  | the name and job title of the individual or individuals authorized to sign accreditation certificates; and | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1b)20) |  | the standardized checklist required by subsection 6.3.2 (c)(1) is to be completed by the applicant accrediting authority citing the location in the application or supporting documents where the checklist information is provided. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X |  | The renewal checklist should be significantly smaller than the initial checklist, and the initial checklist should be significantly reworked before it is used again.
6.3.1c) |  | The application must be signed and dated by the highest ranking individual within the department or agency responsible for laboratory accreditation activities for which NELAP recognition is being sought. By signature on the application, this individual must attest to the validity of the information contained within the application and its supporting documents. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1d) |  | The accrediting authority shall submit a renewal application to the NELAP every three years to maintain NELAP recognition. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  | X
6.3.1d)1) |  | The NELAP shall send by certified mail or some other verifiable means to the accrediting authority, no later than 270 calendar days prior to the expiration of the accrediting authority’s then-current NELAP recognition an application for renewal of NELAP recognition to the accrediting authority. This notification of renewal shall indicate whether an on-site evaluation is due as set forth in subsection 6.4 (a). | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1d)2) |  | The accrediting authority must address each requirement of subsection 6.3.1 (b); however, it must submit information and documentation only of changes from the accrediting authority’s most recent NELAP-recognized environmental laboratory accreditation program. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.1d)3) |  | The accrediting authority must submit the completed renewal application and supporting documents to the NELAP within 30 calendar days of receiving the renewal notification. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2 | Application Completeness and Technical Review by NELAP |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X |  | Timelines should be revisited and changed to something that will actually be done. Major milestones are more significate that prescriptive time goals.
6.3.2a) |  | The NELAP is required to provide notices required by this chapter only to those accrediting authorities who have submitted an initial application for NELAP recognition or who hold NELAP recognition. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. | [5 empty] | X | States the obvious
6.3.2b) |  | If the NELAP does not receive a completed renewal application as specified in subsection 6.3.1 (d)(3), the accrediting authority shall be notified in writing. If the accrediting authority does not submit the completed application within 20 calendar days of receipt of this notification from the NELAP, the accrediting authority’s NELAP recognition shall not be renewed upon expiration of its current NELAP recognition. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c) |  | Following receipt of an initial or a renewal application, the NELAP must complete a review of the application and supporting documents to determine that information and supporting documentation required in subsection 6.3.1 (b) is included with the submittal. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)1) |  | The completeness review of the application and supporting documents shall be conducted using a standardized checklist provided by the NELAP as part of the application. The checklist shall be designed to assist the applicant in gathering all the information needed to complete the application and include a place to note the date the completeness review was completed. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)2) |  | The NELAP must notify the accrediting authority in writing within 20 calendar days of receiving the application of any additional information needed to complete the application. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X |  | Timelines should be revisited and changed to something that will actually be done.
6.3.2c)3) |  | The accrediting authority must provide any additional information or clarification requested in writing within 20 calendar days of receipt of the 6.3.2(c)(2) notification. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)3)i) |  | The NELAP may grant extensions to the 20-day time period for up to an additional 20 calendar days if the accrediting authority requests the extension in writing. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)3)ii) |  | The NELAP shall notify the accrediting authority in writing when an extension is granted. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2c)4) |  | Within seven (7) calendar days after the application package has been accepted as complete and the technical review has been performed, NELAP shall furnish written notification to the Accrediting Authority. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2d) |  | Within 30 calendar days of the determination that the application is complete, the NELAP evaluation team as established in subsection 6.9.1 shall perform a technical review of the application and its supporting documents and respond in writing to the accrediting authority. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2d)1) |  | The review shall be conducted in accordance with the NELAP standard operating procedures for application review; and | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2d)2) |  | The review shall be performed by the same NELAP evaluation team assigned to conduct the on-site evaluation. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2e) |  | The NELAP evaluation team shall review the application and supporting documents to evaluate whether the accrediting authority’s environmental laboratory accreditation program requires its accredited laboratories to meet the standards set forth by the NELAC standards, Chapter 2, Proficiency Testing, Chapter 3, On-site Assessment, Chapter 4, Accreditation Process and Chapter 5, Quality Systems. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2f) |  | Should the NELAP evaluation team have questions or need additional application information to determine the accrediting authority’s compliance with this chapter, the NELAP evaluation team must seek additional application information and documentation from the accrediting authority. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 2, Module 1 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.1 | Required Technical Elements of a NELAP-Recognized Accrediting Authority’s Program
6.3.2.1a) |  | The NELAP evaluation team shall review the application and supporting documentation to ensure that the accrediting authority’s environmental laboratory accreditation program meets the requirements of subsection (b) through (m). | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Vol 1 Module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X |  | SOP should include review of required elements
However, this section of chapter 6 also sets requirements for ABs as well as elements the evaluation team must review.
6.3.2.1b) | Legal Responsibility | The accrediting authority shall be a legally identifiable governmental entity; | 4.1 | Legal Responsibility | The accreditation body shall be a registered legal entity. | 4.2 | Structure | NOTE 1: In all cases, accreditation bodies are governmental organizations at the territory, state or federal levels. NOTE 2: A territorial, state or federal entity may designate the appropriate agencies or departments as its designated accreditation body for the fields of accreditation for which recognition is being sought. | X
|  |  | 4.2.3 | Structure | The accreditation body shall have a description of its legal status, including the names of its owners if applicable, and, if different, the names of the persons who control it. | [5 empty] | X
6.3.2.1c) | Structure | The accrediting authority shall have the authority, rights and responsibilities necessary to carry out an environmental laboratory accreditation program; | 4.2.2 | Structure | The accreditation body shall have authority and shall be responsible for its decisions relating to accreditation, including the granting, maintaining, extending, reducing, suspending and withdrawing of accreditation. | 4.2.2.1 | Structure | An accreditation body shall not delegate authority for granting, maintaining, suspending or revoking a CAB’s accreditation to an outside person or body. Portions of the accreditation process may be contracted out; however, the authority to grant, maintain, suspend or revoke accreditation shall remain with the accreditation body. | X
6.3.2.1d) |  | The accrediting authority shall have the same arrangements to cover liabilities and workman’s compensation claims arising from its operations and activities as all other programs, units, divisions, bureaus, etc. in the department or agency in which the accrediting authority is located; | 4.5.1 | Liability and Financing | The accreditation body shall have arrangements to cover liabilities arising from its activities. |  |  |  | X
6.3.2.1e) |  | The accrediting authority shall have financial stability and the physical and human resources required for the operation of an accrediting authority’s laboratory accreditation program. The accrediting authority shall have and make available on request a description of the means by which it receives its financial support. As a benchmark, the accrediting authority shall have the resources necessary to complete action on a laboratory’s application within nine months from the time a completed application is first received from the laboratory. This time period applies as long as all turn-around times for responses to application review, proficiency testing and on-site assessment issues are carried out within the required time limits set forth in the NELAC standards. | 4.5.2 | Liability and Financing | The accreditation body shall have the financial resources, demonstrated by records and/or documents, required for the operation of its activities. The accreditation body shall have a description of its source(s) of income. |  |  |  | X
|  |  | 6.1.1 | Personnel Associated with the Accreditation Body | The accreditation body shall have a sufficient number of competent personnel (internal, external,temporary, or permanent, full time or part time) having the education, training, technical knowledge, skills and experience necessary for handling the type, range and volume of work performed. |  |  |  | X
|  |  | 6.1.2 | Personnel Associated with the Accreditation Body | The accreditation body shall have access to a sufficient number of assessors, including lead assessors, and experts to cover all of its activities. |  |  |  | X
6.3.2.1f) |  | The accrediting authority shall appoint and maintain records on assessors, including contractual evaluators, who meet the education, experience and training requirements set forth in the NELAC standards, Chapter 3, On-site Assessment. Such records shall include: | 6.4.2 | Personnel Records | The accreditation body shall maintain up-to-date records on assessors and experts consisting of at least the following: |  |  |  | X
6.3.2.1f)1) |  | name and address; | 6.4.2a) | Personnel Records | name and address; |  |  |  | X
6.3.2.1f)2) |  | organization affiliation and position held; | 6.4.2b) | Personnel Records | position held and for external assessors and experts, the position held in their own organization; |  |  |  | X
6.3.2.1f)3) |  | educational qualification and professional status; | 6.4.2c) | Personnel Records | educational qualifications and professional status; |  |  |  | X
6.3.2.1f)4) |  | work experience; | 6.4.2d) | Personnel Records | work experience; |  |  |  | X
6.3.2.1f)5) |  | training applicable to laboratory accreditation; | 6.4.2e) | Personnel Records | training in management systems, assessment and conformity assessment activities; |  |  |  | X
6.3.2.1f)6) |  | experience in laboratory assessment, together with field of competence; and | 6.4.2f) | Personnel Records | competence for specific assessment tasks |  |  |  | X
|  |  | 6.4.2g) | Personnel Records | experience in assessment and results of their regular monitoring. |  |  |  | X
6.3.2.1f)7) |  | date of most recent updating of record. | 6.4.1 | Personnel Records | The accreditation body shall maintain records of relevant qualifications, training, experience and competence of each person involved in the accreditation process. Records of training, experience and monitoring shall be kept up to date |  |  |  | X
6.3.2.1g) |  | The accrediting authority shall have a system in place to evaluate assessor performance that is consistent with the organizational employee evaluation program and demonstrates compliance with the NELAC standards, Chapter 3, On-site Assessment. | 6.3 | Monitoring | The accreditation body shall ensure the satisfactory performance of the assessment and the accreditation decision-making process by establishing procedures for monitoring the performance and competence of the personnel involved. In particular, the accreditation body shall review the performance and competence of its personnel in order to identify training needs. |  |  |  | X
|  |  | 6.3 | Monitoring | The accreditation body shall conduct monitoring (e.g. by on-site observations, or by using other techniques such as review of assessment reports, feedback from CABs and peer monitoring of assessors) to evaluate an assessor’s performance and to recommend appropriate follow-up actions to improve performance. Each assessor shall be observed on-site regularly, normally every three years, unless there is sufficient supporting evidence that the assessor is continuing to perform competently. |  |  |  | X
6.3.2.1h) |  | The accrediting authority shall identify one individual responsible for day-to-day management of the accrediting authority’s environmental laboratory accreditation program. This individual must: | 4.2.5 | Structure | The accreditation body shall identify the top management having overall authority and responsibility for each of the following: | 4.2.5 | Structure | NOTE: In the case of an accreditation body within a government department or entity, top management refers to the management of the organizational unit (and not the department or entity) having authority and responsibility for the accreditation program. | X
6.3.2.1h)1) |  | be an employee of the accrediting authority, and | not addressed by ISO 17011 as far as I could find | [8 empty] | X
6.3.2.1h)2) |  | have the technical expertise necessary to: | 6.1.1 | Personnel Associated with the Accreditation Body | The accreditation body shall have a sufficient number of competent personnel (internal, external, temporary, or permanent, full time or part time) having the education, training, technical knowledge, skills and experience necessary for handling the type, range and volume of work performed. |  |  |  | X
6.3.2.1h)2)i) |  | plan and manage the laboratory accreditation program, | 4.2.5 | Structure | The accreditation body shall identify the top management having overall authority and responsibility for each of the following: a) development of policies relating to the operation of the accreditation body; b) supervision of the implementation of the policies and procedures; d) decisions on accreditation;e) contractual arrangements |  |  |  | X
6.3.2.1h)2)ii) |  | coordinate various facets of the laboratory accreditation program with other territory, state and federal accrediting authorities, | 4.2.5 | Structure | The accreditation body shall identify the top management having overall authority and responsibility for each of the following: a) development of policies relating to the operation of the accreditation body; b) supervision of the implementation of the policies and procedures; d) decisions on accreditation;e) contractual arrangements |  |  |  | X
6.3.2.1h)2)iii) |  | coordinate development of environmental laboratory accreditation regulations, and | 4.2.5 | Structure | The accreditation body shall identify the top management having overall authority and responsibility for each of the following: a) development of policies relating to the operation of the accreditation body; b) supervision of the implementation of the policies and procedures; d) decisions on accreditation;e) contractual arrangements |  |  |  | X
6.3.2.1h)2)iv) |  | evaluate the technical competence and performance of contractors or employees. | 4.2.5 | Structure | The accreditation body shall identify the top management having overall authority and responsibility for each of the following: a) development of policies relating to the operation of the accreditation body; b) supervision of the implementation of the policies and procedures; d) decisions on accreditation;e) contractual arrangements |  |  |  | X
6.3.2.1i) |  | The accrediting authority shall have arrangements to ensure that the accrediting authority’s management and technical staff are free of any commercial, financial or other pressures that influence the results of the accreditation process and are subject to the same conflict of interest disclosure requirements designed to identify and eliminate potential conflict-of- interest problems as all other programs, units, divisions, bureaus etc. in the department or agency in which the accrediting authority is located; | 6.1.4 | Personnel Associated with the Accreditation Body | The accreditation body shall require all personnel to commit themselves formally by a signature or equivalent to comply with the rules defined by the accreditation body. The commitment shall consider aspects relating to confidentiality and to independence from commercial and other interests, and any existing or prior association with CABs to be assessed. |  |  |  | X
6.3.2.1j) |  | The accrediting authority shall have a documented procedure in place to conduct systematic internal audits annually of the accrediting authority’s environmental laboratory accreditation program to verify compliance with the NELAC standards. One element of the annual internal audit shall be to review the effectiveness of the quality systems required in subsection 6.3.3.1.3. When applicable, the accrediting authority shall use the same policies and procedures for internal audits as used by all other programs, units, divisions, bureaus etc. in the department or agency in which the accrediting authority is located; | 5.7.1 | Internal Audits | The accreditation body shall establish procedures for internal audits to verify that they conform to the requirements of this International Standard and that the management system is implemented and maintained. NOTE: As an indication, ISO 19011 provides guidelines for conducting internal audits. |  |  |  | X
6.3.2.1k) |  | The accrediting authority shall designate the individual specified in subsection 6.3.2.1 (h) or an individual who reports directly to the individual responsible for day-to-day management of the accrediting authority’s environmental laboratory accreditation program to take responsibility for the quality system and maintenance of the quality documentation required in subsection 6.3.2.1.3; | 7.2.3a) | Internal Audits | The accreditation body shall ensure thatinternal audits are conducted by qualified personnel knowledgeable in accreditation, auditing and the requirements of this International Standard, |  |  |  | X
|  |  | 7.2.3b) | Internal Audits | internal audits are conducted by personnel different from those who perform the activity to be audited, |  |  |  | X
6.3.2.1l) |  | The accrediting authority shall have established standard operating procedures for dealing with appeals, complaints and disputes arising from denial, suspension or revocation of laboratory accreditation, or from users of the services about the NELAP accredited laboratories or any other matters; | 5.9 | Complaints | The accreditation body shall establish procedures for dealing with complaints. | 7.6.2 | Appeals | NOTE: An independent person, or group of persons, may consist of another group within the accreditation body organization whose responsibility is to handle investigations and appeals. Alternatively, the matter can be addressed by an external group of peers called together for this purpose, and following a documented policy and procedure consistent with this standard and agreed upon by all participants. | X
|  |  | 3.9 | Definitions: Complaint | Expression of dissatisfaction, other than appeal, by any person or organization, to an accreditation body, relating to the activities of that accreditation body or of an accredited CAB, where a response is expected. |  |  |  | X
6.3.2.1m) |  | The accrediting authority shall require NELAP-accredited laboratories to participate in a proficiency testing program meeting the requirements of the NELAC standards, Chapter 2, Proficiency Testing, Appendix A; and | 7.15.3 | Proficiency Testing and Other Comparisons for CABs | The accreditation body shall ensure that its accredited laboratories participate in proficiency testing or other comparison programs, where available and appropriate, and that corrective actions are carried out when necessary. The minimum amount of proficiency testing and the frequency of participation shall be specified in cooperation with interested parties and shall be appropriate in relation to other surveillance activities | 7.11.3 | Proficiency Testing and Other Comparisons for CABs | NOTE: Proficiency testing can occur and be administered by assessors during an on-site assessment of a CAB. | X
6.3.2.1n) |  | The accrediting authority or its contractors shall not offer consultancy or other services which may compromise the objectivity or impartiality of its accreditation process and decisions. | 4.3.6 | Impartiality | The accreditation body shall not offer or provide any service that affects its impartiality, such as a) those conformity assessment services that CABs perform, or b) consultancy. The accreditation body’s activities shall not be presented as linked with consultancy. Nothing shall be said or implied that would suggest that accreditation would be simpler, easier, faster or less expensive if any specified person(s) or consultancy were used. | 3.11 | Consultancy | NOTE: Consultancy refers to the position or practice of a qualified person paid for advice and services and does not include information and assistance provide by governmental agencies. | X
6.3.2.1o) |  | The accrediting authority shall have a documented procedure to address 6.2.2(g). (NELAP accredited laboratories whose home state becomes a recognized NELAP accrediting authority…) | not addressed by ISO 17011 as far as I could find | [6 empty] | X
6.3.2.1.1 |  | Records | 7.14 | Records on CAB’s |  | 7.10 | Records on CABs
6.3.2.1.1a) |  | The accrediting authority shall have arrangements to establish and maintain records for each accredited laboratory with respect to all aspects of the laboratory’s accreditation process. | 7.14.1 | Records on CAB’s | The accreditation body shall maintain records on CABs to demonstrate that requirements for accreditation, including competence, have been effectively fulfilled. |  |  |  | X
6.3.2.1.1b) |  | The accrediting authority shall have a policy and procedure for retaining NELAP accreditation records for a minimum of ten years or a longer period of time if required by contractual obligations or pertinent territorial, state or federal laws and regulations. | ISO 17011 5.4.2 requires ABs to establish retention periods consistent with contractual and legal obligations but does not require a minimum of 10 years |  |  | 7.10.4 | Records on CABs | The accreditation body shall have a policy and procedure for retaining accreditation records for a minimum length of time as required by contractual obligations or pertinent territorial, state or federal laws and regulations. | X | X |  |  | No time peirode is refecned ,need to state time retintion peirod in Policy.
6.3.2.1.1c) |  | The accrediting authority shall have a policy and procedures concerning access to records as prescribed by the territorial, state or federal entity in which the accrediting authority resides. | 7.14.3 | Records on CAB’s | The accreditation body shall keep the records on CABs secure to ensure confidentiality. The records on CABs shall be managed appropriately in a manner as described in 5.4. | 7.10.2 | Records on CABs | NOTE: The confidentiality of documents and records may be challenged in specific instances by public information requests under state or federal laws. | X
6.3.2.1.1d) |  | The accrediting authority shall have a policy and procedure for updating the NELAP national database with the NELAP-required information specific to the laboratories for which that accrediting authority is the primary or secondary accrediting authority. These updates must occur no less frequently than every two weeks. The schedule for the updates would include submitting a report even if there were no changes to the database. | ISO 17011 8.2.1 requires info re CABs to be made publically available but does not address an external information source | [8 empty] | X | Delete and revisit when something exists
6.3.2.1.2 | Use of Contractors by an Accrediting Authority
6.3.2.1.2a) |  | The accrediting authority shall have arrangements to ensure and require by signed contract or other similar type of binding document that all laboratory accreditation functions performed by a contractor on behalf of the accrediting authority are carried out in compliance with the NELAC standards. | 7.4.1 | Subcontracting the Assessment | The accreditation body shall normally undertake the assessment on which accreditation is based. The accreditation body shall not subcontract the decision-making. If the accreditation body subcontracts assessments, it shall have a policy describing the conditions under which subcontracting may take place. A properly documented agreement covering the arrangements, including confidentiality and conflict of interest, shall be drawn up. NOTE: Contracting of external individual assessors and experts is not to be considered as subcontracting. |  |  |  | X
6.3.2.1.2b) |  | When laboratory accreditation functions are contracted out, the accrediting authority shall: | 7.4.2 | Subcontracting the Assessment | The accreditation body: |  |  |  | X
6.3.2.1.2b)1) |  | take full responsibility for such contracted work, | 7.4.2a) | Subcontracting the Assessment | shall take full responsibility for all subcontracted assessments and shall itself have competence in the decision-making, |  |  |  | X
6.3.2.1.2b)2) |  | ensure that the contractor and their employees are competent and comply with the applicable provisions of the NELAC standards, | 7.4.2c) | Subcontracting the Assessment | shall ensure that the body and its personnel involved in the assessment process, to which assessment has been subcontracted, are competent and comply with the applicable requirements of this International Standard and any provisions and guidelines given by the subcontracting accreditation body, |  |  |  | X
|  |  | 7.4.3 | Subcontracting the Assessment | The accreditation body shall list the subcontractors it uses for assessments and shall have means for assessing and monitoring their competence and for recording the results. |  |  |  | X
6.3.2.1.2b)3) |  | ensure that the contractor and their employees comply with the confidentiality requirements of the accrediting authority and NELAC, and, | 7.4.2c) | Subcontracting the Assessment | shall ensure that the body and its personnel involved in the assessment process, to which assessment has been subcontracted, are competent and comply with the applicable requirements of this International Standard and any provisions and guidelines given by the subcontracting accreditation body, |  |  |  | X
|  |  | 7.4.3 | Subcontracting the Assessment | The accreditation body shall list the subcontractors it uses for assessments and shall have means for assessing and monitoring their competence and for recording the results. |  |  |  | X
6.3.2.1.2b)4) |  | ensure that the contractor and their employees are not directly involved with:
6.3.2.1.2b)4)i) |  | the laboratory seeking NELAP accreditation from the accrediting authority employing the contractor; or | 7.4.3 | Subcontracting the Assessment | The accreditation body shall list the subcontractors it uses for assessments and shall have means for assessing and monitoring their competence and for recording the results. |  |  |  | X
6.3.2.1.2b)4)ii) |  | any other affiliation which would compromise impartiality in the NELAP laboratory accreditation process. | 7.4.3 | Subcontracting the Assessment | The accreditation body shall list the subcontractors it uses for assessments and shall have means for assessing and monitoring their competence and for recording the results. |  |  |  | X
|  | Note: I could not find in chapter 6 |  | Subcontracting the Assessment | The accreditation body: e) shall obtain the written consent of the CAB to use a particular subcontractor. | 7.4.2.1 | Accreditation Process | The CAB shall have the right to exclude a third party assessor if there is a conflict of interest. | X
6.3.2.1.3 | Accrediting Authority’s Quality System
6.3.2.1.3a) |  | The accrediting authority shall have a quality system appropriate to the type, range and volume of work performed by the accrediting authority. | 5.2.2 | Management System | The accreditation body shall operate a management system appropriate to the type, range and volume of work performed. All applicable requirements of this International Standard shall be addressed either in a manual or in associated documents. The accreditation body shall ensure that the manual and relevant associated documents are accessible to its personnel and shall ensure effective implementation of the system’s procedures. |  |  |  | X
|  |  | 5.2.1 | Management System | The accreditation body’s top management shall define and document policies and objectives, including a quality policy, for its activities, and it shall provide evidence of commitment to quality and to compliance with the requirements of this International Standard. The management shall ensure effective communication of the needs of interested parties. The management shall also ensure that the policies are understood, implemented and maintained at all levels of the accreditation body. The objectives should be measurable and shall be consistent with the accreditation body’s policies.
6.3.2.1.3b) |  | The quality system shall be documented in a quality manual and associated written quality procedures and shall be made available for use by the staff. The quality manual shall include at least the following: | 5.1.2 | Management: General | Where this International Standard requires the accreditation body to have or establish procedures, this means that they shall be documented, implemented and maintained, and shall be based on formulated policies wherever suitable. | 5.1.1 | General | Note - the draft standard appears to reproduce ISO 17011 5.1.2, but labels it as 5.1.1: Where this International Standard requires the accreditation body to have or establish procedures, this means that they shall be documented, implemented and maintained, and shall be based on formulated policies wherever suitable. | X
|  |  | 5.3 | Document Control | The accreditation body shall establish procedures to control all documents (internal and external) that relate to its accreditation activities. The procedures shall define the controls needed: d) to ensure that relevant versions of applicable documents are available to personnel, Subcontractors, assessors and experts of the accreditation body and CABs at points of use, |  |  |  | X
6.3.2.1.3b)1) |  | 1) the quality policy statement, including objectives and commitments, signed by the manager responsible for day-to-day management of the accrediting authority’s environmental laboratory accreditation program; | 5.2.1 | Management System | The accreditation body’s top management shall define and document policies and objectives, including a quality policy, for its activities, and it shall provide evidence of commitment to quality and to compliance with the requirements of this International Standard. The management shall ensure effective communication of the needs of interested parties. The management shall also ensure that the policies are understood, implemented and maintained at all levels of the accreditation body. The objectives should be measurable and shall be consistent with the accreditation body’s policies. |  |  |  | X
|  |  | 5.3 | Document control | The accreditation body shall establish procedures to control all documents (internal and external) that relate to its accreditation activities. The procedures shall define the controls needed a) to approve documents for adequacy prior to issue, |  |  |  | X
6.3.2.1.3b)2) |  | 2) the organizational structure of the accrediting authority’s environmental laboratory accreditation program and the responsibilities of individual staff assigned to the structure; | 4.2.8 | Structure | The accreditation body shall document its entire structure, showing lines of authority and responsibility. |  |  |  | X
6.3.2.1.3b)3) |  | 3) the policies and procedures for acquiring, training, supervising and evaluating the performance of accrediting authority employees or contractors carrying out any part of the accrediting authority’s laboratory accreditation program; (Note: Procedures for hiring (acquiring) employees do not seem to be addressed in ISO 17011.) | 6.1.3 | Personnel Associated with the Accreditation Body | The accreditation body shall make clear to each person concerned the extent and the limits of their duties, responsibilities and authorities. |  |  |  | X |  |  | X | Procedures for hiring (acquiring) employees do not seem to be addressed in ISO 17011.
|  |  | 6.2.1 | Personnel Involved in the Accreditation Process | The accreditation body shall describe for each activity involved in the accreditation process: a) the qualifications, experience and competence required, and b) initial and ongoing training required. |  |  |  | X
|  |  | 6.2.2 | Personnel Involved in the Accreditation Process | The accreditation body shall establish procedures for selecting, training and formally approving assessors and experts used in the assessment process. |  |  |  | X
|  |  | 6.3.1 | Monitoring | The accreditation body shall ensure the satisfactory performance of the assessment and the accreditation decision-making process by establishing procedures for monitoring the performance and competence of the personnel involved. In particular, the accreditation body shall review the performance and competence of its personnel in order to identify training needs. |  |  |  | X
|  |  | 6.3.2 | Monitoring | The accreditation body shall conduct monitoring (e.g. by on-site observations, or by using other techniques such as review of assessment reports, feedback from CABs and peer monitoring of assessors) to evaluate an assessor’s performance and to recommend appropriate follow-up actions to improve performance. Each assessor shall be observed on-site regularly, normally every three years, unless there is sufficient supporting evidence that the assessor is continuing to perform competently. |  |  |  | X
6.3.2.1.3b)4) |  | 4) the arrangements for annual internal audits, including Quality System reviews, as required in subsection 6.3.3.1 (j); | 5.7.1 | Internal Audits | The accreditation body shall establish procedures for internal audits to verify that they conform to the requirements of this International Standard and that the management system is implemented and maintained | 5.7.4 | Internal Audits | One element of the annual internal audit shall be to review the effectiveness of the quality systems required. The internal audit shall include a review of the quality manual and associated written quality procedures. The frequency of internal audits may be reduced if the accreditation body can demonstrate acceptable performance during on-site evaluations. If this audit frequency is extended to a period longer than one year, the accreditation body shall document the frequency in their policies, procedures or quality manual. | X
6.3.2.1.3b)5) |  | 5) the system for providing feedback to personnel responsible for the area audited and for taking timely and appropriate corrective actions whenever discrepancies are detected; | 5.7.3 | Internal Audits | The accreditation body shall ensure that c) personnel responsible for the area audited are informed of the outcome of the audit, d) actions are taken in a timely and appropriate manner, |  |  |  | X
6.3.2.1.3b)6) |  | 6) the procedures established to address conflict-of-interest questions arising from the NELAC standards as set forth in subsection 6.2.2 (d)(2) [6.2.2h)2) relating to internal laboratories] and for the accrediting authority’s management and technical staff as set forth in subsection 6.3.2.1 (i) [relating to freedom from commercial, financial, etc pressures]; | 4.1 | Legal Responsibility | NOTE: Governmental accreditation bodies are deemed to be legal entities on the basis of their governmental status. Where the governmental accreditation body is part of a larger governmental entity, the government is responsible for identifying the accreditation body in a way that no conflict of interest with governmental CABs occur. This accreditation body is deemed to be the "registered legal entity" in the context of this International Standard. |  |  |  | X
|  |  | 4.3.4 | Impartiality | All accreditation body personnel and committees that could influence the accreditation process shall act objectively and shall be free from any undue commercial, financial and other pressures that could compromise impartiality. |  |  |  | X
6.3.2.1.3b)7) |  | 7) the policies and procedures established to maintain document control for documents required by the NELAC standards; | 5.3 | Document Control | The accreditation body shall establish procedures to control all documents (internal and external) that relate to its accreditation activities. The procedures shall define the controls needed: a) to approve documents for adequacy prior to issue, b) to review and update as necessary and re-approve documents, c) to ensure that changes and the current revision status of documents are identified, d) to ensure that relevant versions of applicable documents are available to personnel, Subcontractors, assessors and experts of the accreditation body and CABs at points of use, e) to ensure that documents remain legible and readily identifiable, f) to prevent the unintended use of obsolete documents, and to apply suitable identification to them if they are retained for any purpose, and g) to safeguard, where relevant, the confidentiality of documents. |  |  |  | X
6.3.2.1.3b)8) |  | 8) the policies and procedures to implement the accreditation process; | 7.1.2 | Accreditation Process | The accreditation body shall make publicly available, and update at adequate intervals, the following: a)detailed information about its assessment and accreditation processes, including arrangements for granting, maintaining, extending, reducing, suspending and withdrawing accreditation; b) a document or reference documents containing the requirements for accreditation, including technical requirements specific to each field of accreditation, where applicable; c) general information about the fees relating to the accreditation; d) a description of the rights and obligations of CABs; e) information on the accredited CABs as described in 8.2.1; f) information on procedures for lodging and handling complaints and appeals; g) information about the authority under which the accreditation program operates; h) a description of its rights and duties; i) general information about the means by which it obtains financial support; j) information about its activities and stated limitations under which it operates; and k) information about the related bodies as described in 4.3.7, if applicable. | 4.3.8 | Impartiality | Unless required by applicable regulations, accreditation bodies and their contractors shall confine their requirements, assessments and decision making process for an accredited CAB to those matters specifically related to the fields of accreditation of the accreditation being sought or maintained by a CAB. | X
|  |  | 5.1.1 | Management: General | The accreditation body shall establish, implement and maintain a management system and continually improve its effectiveness in accordance with the requirements of this International Standard. Requirements for the management system that take into account the particular nature of accreditation bodies are defined in 5.2 to 5.9. |  |  |  | X
6.3.2.1.3b)9) |  | 9) the policies and procedures for dealing with appeals, complaints and disputes by laboratories; and | 5.9 | Complaints | The accreditation body shall establish procedures for dealing with complaints. The accreditation body a) shall decide on the validity of the complaint, b) shall, where appropriate, ensure that a complaint concerning an accredited CAB is first addressed by the CAB, c) shall take appropriate actions and assess their effectiveness, d) shall record all complaints and actions taken, and e) shall respond to the complainant. Note: ISO 17011 defines complaints to include expressions of dissatisfaction re CABs, where a response is expected. | 5.9.1 | Complaints | Accreditation bodies shall have documented policies and procedures for dealing with appeals, complaints and disputes. Probably not needed since ISO 17011 5.1.2 says procedures means documented procedures. | X
6.3.2.1.3b)10) |  | 10) the policies and procedures for dealing with reports of questionable laboratory practices. | 5.9 | Complaints | The accreditation body shall establish procedures for dealing with complaints. The accreditation body a) shall decide on the validity of the complaint, b) shall, where appropriate, ensure that a complaint concerning an accredited CAB is first addressed by the CAB, c) shall take appropriate actions and assess their effectiveness, d) shall record all complaints and actions taken, and e) shall respond to the complainant. Note: ISO 17011 defines complaints to include expressions of dissatisfaction re CABs, where a response is expected. |  |  |  | X |  |  |  | ISO 17011 appears to treat reports of questionable practices as a type of complaint.
6.3.2.1.4 | Mutual Assistance Agreements
|  | Upon mutual agreement, another NELAP-recognized accrediting authority may perform laboratory accreditation functions on behalf of a NELAP-recognized primary accrediting authority. Such an arrangement does not require approval by the NELAP Director. | 5.2.1 | Management System | NOTE: Those accreditation bodies that are signatories to a mutual recognition arrangement may refer to the obligations of the mutual recognition arrangement in their policies. |  |  |  |  | X
6.3.2.2 | Application Technical Review Report
6.3.2.2a) |  | The NELAP evaluation team shall accept an initial application and its supporting documentation for continued processing that contains sufficient information to determine that an accrediting authority meets the requirements of the NELAC standards for designation as a NELAP-recognized accrediting authority. When the NELAP evaluation team completes its review of an initial application and notes no deficiencies, the NELAP evaluation team shall schedule the on-site evaluation as set forth in subsection 6.4.1. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2b) |  | The NELAP evaluation team shall accept a renewal application and its supporting documentation for continued processing that contains sufficient information to determine that an accrediting authority meets the requirements of the NELAC standards for designation as a NELAP-recognized accrediting authority. When the NELAP evaluation team completes its review of a renewal application and denotes no deficiencies, the NELAP evaluation team shall recommend to the NELAP Director that NELAP recognition be maintained. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2c) |  | Except as noted in Section 6.5, the NELAP evaluation team shall not accept the application for continued processing if it notes deficiencies. The NELAP evaluation team will send by certified mail an application technical review report to the accrediting authority. The report: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2c)1) |  | shall identify any specific deficiencies noted during the application technical review, | [8 empty] | X
6.3.2.2c)2) |  | shall include references to the specific NELAC standards, and | [8 empty] | X
6.3.2.2c)3) |  | may provide suggested corrective action. | [8 empty] | X
6.3.2.2d) |  | To proceed with the review process, the accrediting authority shall respond with written corrective actions within 30 calendar days of receipt of the NELAP evaluation team's subsection 6.3.2.2(c) notification. The NELAP evaluation team shall review the corrective actions within 30 calendar days of receipt of the accrediting authority’s response. Alternately, the accrediting authority has the option to withdraw all or part of its NELAP recognition request. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2d)1) |  | If the corrective actions submitted by the accrediting authority do not meet the requirements of this chapter, the NELAP evaluation team shall notify the accrediting authority that it must submit additional corrective actions within 20 calendar days of receipt of the NELAP evaluation team’s response. The NELAP evaluation team shall review the accrediting authority’s second corrective action response within 20 calendar days of receipt. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2d)2) |  | If the second corrective action response submitted by the accrediting authority does not address satisfactorily all of the application deficiencies, the NELAP evaluation team shall make no further suggestions to the accrediting authority for correction of application deficiencies. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2d)3) |  | If application deficiencies still remain after the evaluation team’s second attempt to resolve those deficiencies, the NELAP evaluation team shall document those deficiencies which are not resolved and recommend to the NELAP Director that: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2d)3)i) |  | the accrediting authority’s application for initial NELAP recognition be denied; or | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  | X
6.3.2.2d)3)ii) |  | the accrediting authority’s NELAP recognition be revoked. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  | X
6.3.2.2e) |  | If the initial application as submitted contained no deficiencies or if deficiencies were corrected as provided in subsection 6.3.2.2(d), except those deficiencies requiring legislative or rulemaking action as set forth in Section 6.5, the NELAP evaluation team shall schedule the on-site evaluation as set forth in subsection 6.4.1 below. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2f) |  | If an accrediting authority elects to appeal denial or revocation of NELAP recognition resulting from the Section 6.3.2 application technical review process, an accrediting authority must follow the procedure set forth in Section 6.10 of this chapter. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.2.2g) |  | After review of the renewal NELAP-recognition application and supporting documents, the NELAP evaluation team shall schedule, when required, an on-site evaluation of the accrediting authority’s environmental laboratory accreditation program as set forth in Section 6.4 (a) and subsection 6.4.1 (a) below. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.3.3 | Reserved
6.3.4 | Notification of Changes to An Accrediting Authority’s Program
6.3.4a) | Notification of Changes to An Accrediting Authority’s Program | For all changes in the accrediting authority’s environmental laboratory accreditation program listed below, the NELAP Director shall be notified of changes to: | ISO 17011 requries ABs to maintain certain information but does not address notifying an external organization |  |  | Volume 1, module 2 requries ABs to maintain certain information but does not address notifying an external organization |  |  |  |  | X
6.3.4a)1) |  | the authority to accredit laboratories as stated in the statutes, regulations and promulgating instructions establishing and governing the accrediting authority’s environmental laboratory accreditation program, | ISO 17011 requries ABs to maintain certain information but does not address notifying an external organization |  |  | Volume 1, module 2 requries ABs to maintain certain information but does not address notifying an external organization | [5 empty] | X | This is a requirement without any sanction
6.3.4a)2) |  | the organizational structure including key personnel, | ISO 17011 requries ABs to maintain certain information but does not address notifying an external organization |  |  | Volume 1, module 2 requries ABs to maintain certain information but does not address notifying an external organization | [5 empty] | X | This is a requirement without any sanction
6.3.4a)3) |  | the rules, regulations, policies, guidance documents and standard operating procedures, | ISO 17011 requries ABs to maintain certain information but does not address notifying an external organization |  |  | Volume 1, module 2 requries ABs to maintain certain information but does not address notifying an external organization | [5 empty] | X | This is a requirement without any sanction
6.3.4a)4) |  | the mailing address and office location, telephone and facsimile numbers and electronic mail address, and | ISO 17011 requries ABs to maintain certain information but does not address notifying an external organization |  |  | Volume 1, module 2 requries ABs to maintain certain information but does not address notifying an external organization | [5 empty] | X | This is a requirement without any sanction
6.3.4a)5) |  | the contractual arrangements, including contractor’s personnel, for laboratory accreditation activities contracted out under authority of subsection 6.2 (c). | ISO 17011 requries ABs to maintain certain information but does not address notifying an external organization |  |  | Volume 1, module 2 requries ABs to maintain certain information but does not address notifying an external organization | [5 empty] | X | This is a requirement without any sanction
6.3.4b) |  | The notification to the NELAP Director shall be made within 30 calendar days of the change taking place in the accrediting authority’s environmental laboratory accreditation program. | ISO 17011 requries ABs to maintain certain information but does not address notifying an external organization |  |  | Volume 1, module 2 requries ABs to maintain certain information but does not address notifying an external organization | [5 empty] | X | This is a requirement without any sanction
6.3.4c) |  | The NELAP Director may request further documentation or conduct on-site evaluations to verify that changes in the accrediting authority’s NELAP-recognized environmental laboratory accreditation program do not place that program in violation of the NELAC standards. | ISO 17011 requries ABs to maintain certain information but does not address notifying an external organization |  |  | Volume 1, module 2 requries ABs to maintain certain information but does not address notifying an external organization | [5 empty] | X | This is a requirement without any sanction
6.8 | USE OF ACCREDITATION BY NELAP ACCREDITED LABORATORIES
6.8a) |  | The accrediting authority shall have requirements for controlling the ownership, use and display of the accrediting authority’s NELAP accreditation documents and for controlling the manner in which an accredited laboratory may refer to its NELAP accreditation and/or use of the NELAC/NELAP logo. These arrangements shall include, but are not limited to requirements that: | 8.3.1 | Reference to Accreditation and Use of Symbol | An accreditation body, as proprietor of the accreditation symbol that is intended for use by its accredited CABs, shall have a policy governing its protection and use. The accreditation symbol shall have, or be accompanied with, a clear indication as to which activity (as indicated in Clause 1) the accreditation is related. An accredited CAB is allowed to use this symbol on its reports or certificates issued within the scope of its accreditation. | 4.3.7 | Impartiality | NOTE: An accreditation body and related bodies within a Government department or entity might not have a distinctive name, logo and or symbol. | X
|  |  | 8.3.2 | Reference to Accreditation and Use of Symbol | The accreditation body shall take effective measures to ensure that the accredited CAB: a) fully conforms with the requirements of the accreditation body for claiming accreditation status, when making reference to its accreditation in communication media such as the Internet, documents, brochures, or advertising, b) only uses the accreditation symbols for premises of the CAB that are specifically included in the accreditation, c)does not make any statement regarding its accreditation that the accreditation body may consider misleading or unauthorized, d) takes due care that no report or certificate nor any part thereof is used in a misleading manner, e) upon suspension or withdrawal of its accreditation (however determined), discontinues its use of all advertising matter that contains any reference to an accredited status, and f) does not allow the fact of its accreditation to be used to imply that a product, process, system or person is approved by the accreditation body. |  |  |  | X
6.8a)1) |  | NELAP accredited laboratories post or display their most recent NELAP accreditation certificate or their NELAP-accredited fields of accreditation in a prominent place in the laboratory facility; | ISO 17011 8.3.2 requires an AB to ensure CABs display accreditation materials only in accredited premises but does not require displaying the materials |  |  | Volume 1, module 2 requires an AB to ensure CABs display accreditation materials only in accredited premises but does not require displaying the materials | [5 empty] | X
6.8a)2) |  | NELAP accredited laboratories make accurate statements concerning their NELAP accreditation fields of accreditation and NELAP accreditation status; | 8.1.1f) | Obligations of the CAB | The accreditation body shall require the CAB to conform to the following The CAB shall claim accreditation only with respect to the scope for which it has been granted accreditation. |  |  |  | X
|  |  | 8.3.2a)-d) | Reference to accreditation and use of symbols | The accreditation body shall take effective measures to ensure that the accredited CAB: a) fully conforms with the requirements of the accreditation body for claiming accreditation status, when making reference to its accreditation in communication media such as the Internet, documents, brochures, or advertising, b) only uses the accreditation symbols for premises of the CAB that are specifically included in the accreditation, c)does not make any statement regarding its accreditation that the accreditation body may consider misleading or unauthorized, d) takes due care that no report or certificate nor any part thereof is used in a misleading manner, |  |  |  | X
6.8a)3) |  | NELAP accredited laboratories accompany the accrediting authority’s name and/or the NELAC/NELAP logo with at least the phrase “NELAP accredited” and the laboratory’s accreditation number or other identifier when the accrediting authority’s name is used on general literature such as catalogs, advertising, business solicitations, proposals, quotations, laboratory analytical reports or other materials; and | ISO 17011 8.3.1 requires ABs to have policies governing the use of any symbol but does not require a particular phrase, number or identifier |  |  | 4.3.7 | Impartiality | NOTE: An accreditation body and related bodies within a Government department or entity might not have a distinctive name, logo and or symbol. |  |  |  | X
6.8a)4) |  | NELAP accredited laboratories not use their NELAP certificate, NELAP accreditation status and/or NELAC/NELAP logo to imply endorsement by the accrediting authority. | 8.3.2f) | Reference to accreditation and use of symbols | The accreditation body shall take effective measures to ensure that the accredited CAB: does not allow the fact of its accreditation to be used to imply that a product, process, system or person is approved by the accreditation body. | 4.3.7 | Impartiality | NOTE: An accreditation body and related bodies within a Government department or entity might not have a distinctive name, logo and or symbol. | X
6.8b) |  | The accrediting authority shall have arrangements to ensure that NELAP accredited laboratories choosing to use the accrediting authority’s name, making reference to its NELAP accreditation status and/or using the NELAC/NELAP logo in any catalogs, advertising, business solicitations, proposals, quotations, laboratory analytical reports or other materials, the NELAP accredited laboratory shall: | 8.3.2 | Reference to accreditation and use of symbols | The accreditation body shall take effective measures to ensure that the accredited CAB: | 4.3.7 | Impartiality | NOTE: An accreditation body and related bodies within a Government department or entity might not have a distinctive name, logo and or symbol. | X
6.8b)1) |  | distinguish between proposed testing for which the NELAP-accredited laboratory is accredited and the proposed testing for which the NELAP accredited laboratory is not accredited; | 8.3.2a)-d) | Reference to accreditation and use of symbols | The accreditation body shall take effective measures to ensure that the accredited CAB: a) fully conforms with the requirements of the accreditation body for claiming accreditation status, when making reference to its accreditation in communication media such as the Internet, documents, brochures, or advertising, b) only uses the accreditation symbols for premises of the CAB that are specifically included in the accreditation, c)does not make any statement regarding its accreditation that the accreditation body may consider misleading or unauthorized, d) takes due care that no report or certificate nor any part thereof is used in a misleading manner, |  |  |  | X
6.8b)2) |  | include the NELAP-accredited laboratory’s accreditation number or other identifier; and | 8.3.1 | Reference to accreditation and use of symbols | An accredited CAB is allowed to use this symbol on its reports or certificates issued within the scope of its accreditation. | 4.3.7 | Impartiality | NOTE: An accreditation body and related bodies within a Government department or entity might not have a distinctive name, logo and or symbol. |  |  |  | X
6.8c) |  | The accrediting authority shall have arrangements to ensure that the NELAP-accredited laboratories upon suspension, revocation or withdrawal of their NELAP accreditation shall: | 8.3.2e) | Reference to accreditation and use of symbols | eupon suspension or withdrawal of its accreditation (however determined), discontinues its use of all advertising matter that contains any reference to an accredited status, and |  |  |  | X
6.8c)1) |  | discontinue use of all catalogs, advertising, business solicitations, proposals, quotations, laboratory analytical results or other materials that contain reference to their past NELAP accreditation status and/or display the NELAC/NELAP logo, and, | 8.3.2e) | Reference to accreditation and use of symbols | upon suspension or withdrawal of its accreditation (however determined), discontinues its use of all advertising matter that contains any reference to an accredited status, and | 4.3.7 | Impartiality | NOTE: An accreditation body and related bodies within a Government department or entity might not have a distinctive name, logo and or symbol. | X
6.8c)2) |  | return any certificates for NELAP accreditation to the accrediting authority. | ISO 17011 8.3.1 requires ABs to have policies governing the use of any symbol but does not require its return |  |  | Volume 1, module 2 requires ABs to have policies governing the use of any symbol but does not require its return | [5 empty] | X
6.8d) |  | The accrediting authority shall have arrangements to take suitable actions, including legal action, when incorrect references to the accrediting authority’s NELAP accreditation, misleading use of the laboratory’s NELAP accreditation status and/or unauthorized use of the NELAC/NELAP logo is found in catalogs, advertisements, business solicitations, proposals, quotations, laboratory analytical reports or other materials. | 8.3.3 | Reference to accreditation and use of symbols | The accreditation body shall take suitable action to deal with incorrect references to accreditation NOTE: Suitable actions include request for corrective action, withdrawal of accreditation, publication of the transgression and, if necessary, other legal action. |  |  |  | X
6.9 | REQUIREMENTS OF THE NELAP |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9a) |  | The NELAP evaluation team shall submit all documents, letters, evaluation notes, checklists, etc. to the NELAP headquarters office within: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9a)1) |  | 30 calendar days of the final decision on the application by the NELAP Director, or | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9a)2) |  | 30 calendar days after the final recommendation by the Accrediting Authority Review Board (AARB) as set forth in Section 6.10 of this chapter. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9b) |  | The NELAP Director shall maintain complete and accurate records of all documents relating to the application and on-site evaluation processes for each accrediting authority for a minimum of ten years or a longer period of time if required by contractual obligations or pertinent federal laws and regulations. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9c) |  | The NELAP Director shall maintain an electronic directory to display the status of all NELAP-recognized accrediting authorities, pending applications for NELAP recognition and currently scheduled announced on-site evaluations. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1 | NELAP Evaluation Team |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1a) |  | The NELAP Director shall appoint NELAP evaluation team members as set forth in Section 6.3.3 (a)(4) and delegate the responsibilities required by this chapter to evaluation teams. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1b) |  | The NELAP evaluation team shall consist of at least one member who is an employee of the USEPA and at least one member who is an employee of a NELAP-recognized accrediting authority. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1c) |  | Prior to conducting the on-site evaluation of an accrediting authority's program, at least one member of the NELAP evaluation team shall complete the NELAP Accrediting Authority Evaluator Training Course. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d) |  | The NELAP evaluation team shall: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)1) |  | have at least one member of the NELAP evaluation team who meets the education, experience and training requirements for laboratory assessors specified in the NELAC standards, Chapter 3, On-site Assessment; and | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2) |  | have at least another member with experience that includes at least one of the following: | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2)i) |  | certification as a management systems lead assessor (quality or environmental) from an internationally recognized auditor certification body; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2)ii) |  | one year of experience implementing federal or state laboratory accreditation rulemaking; | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2)iii) |  | laboratory accreditation management; or | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)2)iv) |  | one year experience developing or participating in laboratory accreditation programs. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)3) |  | Have documentation that verifies freedom from any conflict of interest that would compromise acting in impartial nondiscriminatory manners. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.9.1d)4) |  | All experience required by this subsection must have been acquired within the five year period immediately preceding appointment as a NELAP evaluation team member. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.10 | APPEALING FINDINGS BASED UPON DIFFERENCES IN STANDARDS INTERPRETATIONS |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.10a) |  | Though standards are written as clearly and succinctly as possible, conflicts regarding interpretation of standards may arise between the NELAP evaluation team and an accrediting authority, a laboratory and the accrediting authority or between two or more accrediting authorities. Appendix A of this chapter outlines the procedures that must be followed in these instances. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.10b) |  | The outcome of the procedure outlined in Appendix A is a final consensus interpretation of a standard. This interpretation must be communicated to the relevant standing committees. The decision shall be posted on the NELAC Website and be accessible to all accrediting authorities and laboratories within 14 days. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.10c) |  | The consensus interpretation must be recognized by the NELAP Director, the NELAP evaluation teams, all accrediting authorities and laboratories until such a time as the standard is changed or another consensus interpretation has been issued. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11 | APPEALING DECISIONS TO DENY OR REVOKE NELAP RECOGNITION |  | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11a) |  | Within 20 calendar days of official notification of the NELAP action on an accrediting authority’s application for NELAP recognition, the accrediting authority shall notify the NELAP Director if the accrediting authority chooses to appeal the NELAP action. If the accrediting authority does not receive satisfactory resolution, the accrediting authority may request a review by the AARB. This request shall be made within 20 calendar days of the Director’s decision. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11b) |  | If any AARB member is not free of financial connection to the appealing accrediting authority, or is not free of any other relationship that would bias their review of the case, that AARB member shall be excluded from participating in deliberations on that appeal. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11c) |  | The AARB shall carry out an independent review of all relevant parts of the record. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11d) |  | The AARB shall conduct interviews with the accrediting authority and the NELAP Director. The AARB also may conduct interviews with the NELAP evaluation team member(s) or other individuals deemed appropriate by the AARB. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11e) |  | If the accrediting authority so desires, an opportunity for both the NELAP and the accrediting authority to meet jointly with the AARB shall be granted. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11f) |  | The AARB shall complete its review and render a final decision to the NELAP Director within 90 calendar days following receipt of the notice of appeal. This time frame may be extended by mutual agreement of all parties up to a maximum of 60 additional calendar days. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11g) |  | The ultimate decision to grant, maintain, deny or revoke NELAP recognition remains with the NELAP Director. The NELAP Director shall notify the appealing accrediting authority of his/her the final AARB decision within 20 calendar days of receipt of the recommendation from the AARB. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11h) |  | Accrediting authorities shall be limited to one appeal for each application cycle. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
6.11i) |  | Upon filing an appeal, the status existing prior to the decision shall remain in effect pending resolution of the appeal. | ISO 17011 establishes standards ABs must meet but does not address applying for recognition. |  |  | Volume 1, module 2 establishes standards ABs must meet but does not address applying for recognition. |  |  |  |  | X
Appendix A | QUESTIONS OF UNIFORMITY PROCEDURE
A.1 | PURPOSE | In the event where two or more parties cannot resolve an issue of interpretation of a standard, the following procedure shall be followed. This procedure may be initiated by any involved party and is to be used when the appeal procedure provided by the Accrediting Authority has been exhausted or is not appropriate. | 5.9 | Complaints | The accreditation body shall establish procedures for dealing with complaints. The accreditation body a) shall decide on the validity of the complaint, b) shall, where appropriate, ensure that a complaint concerning an accredited CAB is first addressed by the CAB, c) shall take appropriate actions and assess their effectiveness, d) shall record all complaints and actions taken, and e) shall respond to the complainant. Note: ISO 17011 defines complaints to include expressions of dissatisfaction re CABs, where a response is expected. |  |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2 | PROCEDURE FOR INITIATION OF RESOLUTION BY AFFECTED PARTIES |  | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.1 | Initial Decision/Interpretation Procedure |  | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be.
A.2.1a) |  | The affected party shall contact the involved Accrediting Authority(s) (AA)(s) in writing with a copy to the NELAP Director. The request shall include the reference for the affected standard and a statement of the variances in interpretation made by the AA(s) as well as a summary explaining the affected party’s position. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.1b) |  | The parties shall discuss the difference in interpretation within 7 days of notification of the issue. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.1c) |  | If the affected parties reach an agreement on interpretation the NELAP Director is informed in writing of their decision. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.1d) |  | If the affected parties cannot reach an agreement the request is forwarded in writing to the NELAP Director within 14 days by the affected party(s) | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2 | Decision/Interpretation Procedure When Affected Parties Cannot Reach an Agreement |  | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2a) |  | Within 7 days after receiving the request from the affected parties, the NELAP Director shall forward the request to the author of the applicable standard or AA workgroup for an interpretation/decision. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2b) |  | The author of the applicable standard or AA workgroup shall have 45 days to inform the director of their interpretation/decision | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2c) |  | The director shall inform the affected parties of the interpretation within 7 days. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.2.2d) |  | The effective parties shall notify the director of accepting or appeal the interpretation/decision within 7 days of being informed of the interpretation/decision. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.3 | APPEAL PROCEDURE | If the affected parties disagree with the decision/interpretation, the issue is appealed in writing to the NELAP Board of Directors for final resolution by being placed on the agenda of the next scheduled meeting for review and a decision. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
A.4 | POSTING OF DECISION | Once the issue has been resolved, the NELAP Director shall post the question and resolution within 14 days on the NELAC web site. | ISO 17011 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  | Volume 1, module 2 requires ABs to have procedures for handling complaints but does not specify what the procedures should be. |  |  |  | X | X | X | Suggest: limiting this process to disputes between ABs; deleting the appeal process for disputes between an AB and a CAB. NELAP Board is drafting a mechanism for voting on matters affecting the accreditation program. Requests for information should generally be referred to the state from which a lab is seeking/will seek accreditation.
6.5 |  | ACCREDITING AUTHORITY’S REQUEST FOR EXTENSION OF TIME TO COMPLY WITH THE NELAC STANDARDS
6.5 a) |  | Upon written request to the NELAP Director, through the NELAP evaluation team, an extension of time, not to exceed two years, to correct deficiencies noted in the accrediting authority’s application and/or deficiencies noted during the on-site evaluation shall be granted only: NELAC
6.5 a) 1 |  | when an applicant accrediting authority has an operating environmental laboratory accreditation program for the fields of accreditation for which it is seeking or renewing NELAP recognition, and
6.5 a) 2 |  | when, as set forth in Section 6.4.3(g)(3), implementation of corrective actions to correct application and/or evaluation deficiencies requires the accrediting authority to promulgate new or revised regulations, or
6.5 a) 3 |  | when, as set forth in Section 6.4.3(g)(3) implementation of corrective actions to correct application and/or evaluation deficiencies requires the accrediting authority to seek new or revised legislation.
6.5 b) |  | If the deficiencies continue to exist after two years from the date the original extension was granted, the accrediting authority shall reapply to the NELAP Director, through the NELAP evaluation team, for an additional extension time. The additional extension time shall be subject to the following conditions:
6.5 b) 1 |  | it shall not exceed two years, unless the Accrediting Authority Review Board recommends to the NELAP Director an additional length of time, and
6.5 b) |  | the accrediting authority shall meet the conditions given in Section 6.5(a)(1), (2), and (3), and
6.5 b) |  | the accrediting authority shall provide documentation to demonstrate that it has made significant progress towards completing its regulatory or legislative process.
6.5 c) |  | The accrediting authority shall include in its request for an extension of time to comply with the NELAC standards a projected time table for correction of the application and/or evaluation deficiencies.
6.6 |  | NELAP EVALUATION TEAM RECOMMENDATIONS TO THE NELAP DIRECTOR
6.6 a) |  | All recommendations required by this chapter from the NELAP evaluation team to the NELAP Director must be made in writing.
6.6 b) |  | All NELAP evaluation team recommendations to the NELAP Director shall include the following documentation when applicable:
6.6 b) 1 |  | a recommendation to grant, maintain or revoke NELAP recognition in full or in part;
6.6 b) 2 |  | a summary of the reasons supporting the recommendation;
6.6 b) 3 |  | a copy of all application review letters sent to the accrediting authority and all corrective action response letters submitted by the accrediting authority to the NELAP evaluation team;
6.6 b) 4 |  | a copy of all on-site evaluation review letters sent to the accrediting authority and all corrective action response letters submitted by the accrediting authority; and
6.6 b) 5 |  | a copy of the accrediting authority’s requests for extension of time to implement corrective actions if legislative or additional rulemaking is required pursuant to Section 6.5.
6.6 c) |  | A copy of any NELAP evaluation team’s recommendation with all supporting documentation to the NELAP Director also shall be furnished to the accrediting authority.
6.6 d) |  | Within 30 calendar days of receipt of the NELAP evaluation team’s recommendation, the NELAP Director shall provide written notification to the accrediting authority of acceptance or rejection of the NELAP evaluation team’s recommendation.
6.6 e) |  | The accrediting authority has the option to appeal a revocation or denial decision regarding NELAP recognition by the NELAP Director as set forth in Section 6.10 of this chapter.
6.7 |  | CERTIFICATE OF RECOGNITION TO THE ACCREDITING AUTHORITY
6.7 a) |  | The NELAP Director shall issue a certificate of NELAP recognition dated the day on which NELAP recognition is granted.
6.7 b) |  | The certificate of NELAP recognition shall include the following items:
6.7 b) 1 |  | the name and address of the accrediting authority,
6.7 b) 2 |  | the fields of accreditation for which the accrediting authority is NELAP-recognized,
6.7 b) 3 |  | the date of the accrediting authority's most recent on-site evaluation,
6.7 b) 4 |  | the expiration date of the accrediting authority’s NELAP recognition which shall not be more than three (3) years from the date of the most recent date granting NELAP recognition,
6.7 b) 5 |  | the signature of the NELAP Director,
6.7 b) 6 |  | a statement that the accrediting authority is in compliance with the NELAC standards,
6.7 b) 7 |  | a statement that the accrediting authority has been granted the authority to accredit environmental laboratories for the fields of accreditation for which the accrediting authority is NELAP-recognized,
6.7 b) 8 |  | a statement that continued NELAP recognition depends on compliance with the NELAC standards;
6.7 b) 9 |  | a seal incorporating the NELAP insignia; and
6.7 b) 10 |  | a unique designator, such as date of issuance and a serial or certificate number.