## TechnologyNELAC
Tech. Key | Technology Description (with test methods as examples) | DW | NPW | SCM | BT | AE
AMP | Amperometric Titration (e.g., EPA 330.1, SM4500CL D, SM4500CLO2 E)
AS | Alpha Spectrometry (e.g., EPA 907.0, NY-02)
ASC | Alpha Scintillation Cell Counter (e.g., EPA 903.1)
ASV | Anodic Stripping Voltammetry (e.g., Palintest 1001, EPA 7472)
AUTO | Auto Analyzer (e.g., EPA 353.2, SM4500NO3- F)
BETA | Beta Spectrometry (e.g., EPA 900.0)
BGCS | Beta/Gamma Coincidence Scintillation Counter (e.g., EPA 902.0)
Calorimetric or Thermometric (e.g, EPA 1010, SM2550B)
COND | Conductance (e.g., EPA 120.1, SM2510B)
COUL | Coulometric Titration (e.g., EPA 9076, 9000)
CVAAS | Atomic Absorption - Cold Vapor Spectrometry (e.g., EPA 245.1, SM3112B)
CVAFS | Atomic Fluorescence - Cold Vapor Spectrometry (e.g., EPA 1631E)
DCP-AES | Atomic Emission - Direct Current Plasma Spectrometry (e.g., ASTM D4190-94)
DPP | Differential Pulse Polarography (e.g., EPA 7198)
FAAS | Atomic Absorption - Flame Spectrometry (e.g., SM3111B)
FAES | Atomic Emission - Flame Spectrometry (e.g., SM3500Na B)
FLUOR | Ultraviolet or Visible Molecular Fluorescence Spectrometry (e.g., EPA 445.0, 908.1)
GALV | Galvanic Probe (e.g., EPA 405.1, SM5210B, SM2710B)
GC-ECD | Gas Chromatography - Electron Capture Detection (e.g., EPA 608, 8081)
GC-PID/FID | Gas Chromatography - Photoionization/Flame Ionization Detection (e.g., MA-VPH)
GC-ELCD | Gas Chromatography - Electrolytic Conductivity Detection (e.g., EPA 601)
GC-ELCD/PID | Gas Chromatography - Electrolytic Conductivity/Photoionization Detection (e.g., 8021)
GC-FID | Gas Chromatography - Flame Ionization Detection (e.g., EPA 8015, 8100)
GC-FPD | Gas Chromatography - Flame Photometric Detection (e.g., EPA 622, 8141)
GC-FTIR | Gas Chromatography - Fourier Transform Infrared Spectrometry (e.g., EPA 8410)
GC-HRMS | Gas Chromatography - Mass Spectrometry - High Resolution (e.g., EPA 1613)
GC-MS | Gas Chromatography - Mass Spectrometry (e.g., EPA 625, 8270)
Gas Chromatography - Tandem Mass Spectrometry
GC-NPD | Gas Chromatography - Nitrogen/Phosphorus Detection (e.g., EPA 607, 8070)
GC-PID | Gas Chromatography - Photoionization Detection (e.g., EPA 602)
GFAAS | Atomic Absorption - Graphite Furnace Spectrometry (e.g., SM3113B, EPA 200.9)
GRAV | Gravimetry (e.g., SM2540C, EPA 1664A)
GS-HR | Gamma Spectrometry - High Resolution (e.g., EPA 901.1)
GS-LR | Gamma Spectrometry - Low Resolution (e.g., EPA 901.0)
HGAAS | Atomic Absorption - Hydride Generation Spectrometry (e.g., SM3114B)
HPLC-ELEC | High Performance Liquid Chromatography - Electrochemical (e.g., EPA 605)
HPLC-FLUOR | High Performance Liquid Chromatography - Ultraviolet/Visible Molecular Fluorescence
HPLC-IR | High Performance Liquid Chromatography - Infrared Molecular Absorption
HPLC-PBMS | High Performance Liquid Chromatography - Mass Spectrometry-Particle Beam
HPLC-TSMS | High Performance Liquid Chromatography - Mass Spectrometry-Thermospray
HPLC-MS-MS | High Performance Liquid Chromatography - Tandem Mass Spectrometry
HPLC-UV | High Performance Liquid Chromatography - Ultraviolet/Visible Molecular Absorption
IC-COND | Ion Chromatography - Electroconductivity (e.g., EPA 300.0, 314.0)
IC-MS | Ion Chromatography - Mass Spectrometry (e.g., EPA 331.0)
IC-MS-MS | Ion Chromatography - Tandem Mass Spectrometry
IC-UV | Ion Chromatography - UV (e.g., EPA 7199, SM3500Cr C)
ICP-AES | Atomic Emission - Inductively Coupled Plasma Spectrometry (e.g., EPA 200.7, 6010)
ICP-MS | Mass Spectrometry - Inductively Coupled Plasma (e.g., EPA 200.8, 6020)
ISE | Ion Selective Electrode (e.g., SM4500H+ B, SM4500F- C)
IMM | Immunoassay (e.g., EPA 4000-series methods)
IR | Infrared Spectrometry (e.g., EPA 418.1, SM5520C)
LSC | Liquid Scintillation Counter (e.g., EPA 906.0)
LP | Lasar Phosphorimetry e.g., ASTM D5174-97)
NAA | Neutron Activation Analysis (e.g., EPA 9022)
PC | Proportional Counter (e.g., EPA 900.0, 903.0, 904.0)
PCM | Phase Contrast Microscopy (e.g., for Airborne Asbestos)
Miscellaneous Physical Properties (e.g., EPA 1030, 9095, SM2150B)
PLM | Polarized Light Microscopy (e.g., for Bulk Asbestos)
POL | Polarographic Probe (????)
SEM | Scanning Elecron Microscopy (for Asbestos?)
TEM | Transmission Electron Microscopy (e.g., EPA 100.1, 100.2)
TITR | Titrimetry - Visual Indicator (SM4500Cl- B, SM2340C)
TOC-FID | Total Organic Carbon - Flame Ionization Detector (e.g., SM5310C)
TOC-IR | Total Organic Carbon - Nondispersive Infrared Detector (e.g., SM5310B)
TOC-UV | Total Organic Carbon - UV (?????)
TURB | Turbidity (e.g., EPA 180.1, SM2130B)
TOX | Total Organic Halide (also Coulometric Titration with EPA 1650, 9020?)
UV-VIS | Ultraviolet or Visible Molecular Absorption Spectrometry (e.g., EPA 420.1)
XRF | X-Ray Fluorescence Spectrometry (e.g., EPA 6200, 9075)
XRT | X-Ray Transmission Spectrometry (????)
Other | Other (SPECIFY: )
CF-QL | Chromofluorogenic - Qualitative (e.g., SM9223B/P-A)
CF-QN | Chromofluorogenic - Quantitative (e.g., COLISURE/MPN)
C-QN | Chromogenic/MPN - Quantitative (e.g., SM9223B/MPN Tot. Coliform)
C-QT-QN | Chromogenic/Quantitray (e.g., SM9223B/QUANTITRAY Tot. Coliform)
FB-LE-QL | Fermentation Broth - Qualitative (e.g., SM9221B)
FB-PAE-QL | Fermentation Broth(PA) - Qualitative (e.g., SM9221D)
FB-PAF-QL | Fermentation Broth(PA)+Fluorogenic - Qualitative
FB-F-QN | Fermentation Broth+Fluorogenic - Quantitative (e.g., SM9221F)
FB-QN | Fermentation Broth - Quantitative (e.g., SM9221E, SM9230B)
FB-A1-QN | Fermentation Broth(A-1) - Quantitative (e.g., SM9221E)
FFIFV | Filtration/FA/IMS/FA/Viability (e.g., EPA 1623)
F-HPC-QN | Fluorogenic(HPC) - Quantitative (e.g., SimPlate)
F-QN | Fluorogenic/MPN - Quantitative (e.g., SM9223B/QUANTITRAY E. coli)
F-QT-QN | Fluorogenic/Quantitray (e.g., Enterolert)
MF-QL | Membrane Filtration - Qualitative (e.g., SM9222B)
MF-E-QL | Membrane Filtration+Fermentation Broth - Qualitative
MF-QN | Membrane Filtration - Quantitative (e.g., SM9222D)
MF-2S-QN | Membrane Filtration(2-Step) - Quantitative (e.g., SM9222C)
MF-MEI-QN | Membrane Filtration(m-EI) - Quantitative (e.g., EPA 1600)
MF-F-QL | Membrane Filtration+Fluorogenic - Qualitative (e.g., NA+MUG)
MF-F-QN | Membrane Filtration+Fluorogenic - Quantitative (e.g., EPA 1604)
MF-MTEC-QN | Membrane Filtration(m-TEC) - Quantitative (e.g., EPA 1603)
PQ-2S-QN | Plaque Counts(2-Step) - Quantitative (e.g., EPA 1601)
PQ-SL-QN | Plaque Counts(Single Layer) - Quantitative (e.g., EPA 1602)
PP-QN | Pour Plate - Quantitative (e.g., SM9215B)
SP-QN | Spread Plate - Quantitative (e.g, SM9215C)
BioTox | Toxicity Testing (Acute and Chronic)
MF-E-QN | Membrane Filtration+Fermentation Broth - Quantitative (e.g., SM9230C)
FB-F-QL | Fermentation Broth+Fluorogenic - Qualitative (e.g., EC+MUG)
This document is the MATRIX/TECHNOLOGY TABLE for the NELAP AB Application.
DW = Drinking Water matrix
NPW = Non-Potable Water matrix
SCM = Solids and Chemical Materials matrix
BT = Biological Tissues matrix
AE = Air and Emissions matrix