## Table
TNI PT for Accreditation
Fields of Proficiency Testing with PTRLs
Non-Potable Water (NPW)
Effective: October 1, 2021
[5 empty] | Blue = New Analyte | Magenta = Changes
Matrix | EPA | TNI |  | Analyte 1,2 | Conc Range | Acceptance Criteria 3,4,5,6 |  |  |  | TNI PTRL 7
| Analyte | Analyte | CAS
| Code | Code | Number |  |  | a | b | c | d
|  |  |  | Microbiology | CFU/100 mL |  |  |  |  | CFU/100 mL
NPW | 0233 | 2500 | NA | Total Coliform, MF 8 | 20 to 2400 | Log transform; ±3 SD |  |  |  | 2
NPW | 0235 | 2530 | NA | Fecal Coliform, MF 8 | 20 to 2400 | Log transform; ±3 SD |  |  |  | 2
NPW |  | 2525 | NA | E.coli, MF 8 | 20 to 2400 | Log transform; ±3 SD |  |  |  | 2
NPW |  | 2520 | NA | Enterococci, MF 8 | 20 to 1000 | Log transform; ±3 SD |  |  |  | 2
[5 empty] | MPN/100 mL |  |  |  |  | MPN/100 mL
NPW | 0234 | 2500 | NA | Total Coliform (MPN-Multiple Tube) 9 | 20 to 2400 | Log transform; ±3 SD |  |  |  | 2
NPW | 0234 | 2500 | NA | Total Coliform (MPN-Multiple Well) 9 | 20 to 2400 | Log transform; ±3 SD |  |  |  | 2
NPW | 0236 | 2530 | NA | Fecal Coliform (MPN-Multiple Tube) 9 | 20 to 2400 | Log transform; ±3 SD |  |  |  | 2
NPW | 0236 | 2530 | NA | Fecal Coliform (MPN-Multiple Well) 9 | 20 to 2400 | Log transform; ±3 SD |  |  |  | 2
NPW |  | 2525 | NA | E.coli (MPN-Multiple Tube) 9 | 20 to 2400 | Log transform; ±3 SD |  |  |  | 2
NPW |  | 2525 | NA | E.coli (MPN-Multiple Well) 9 | 20 to 2400 | Log transform; ±3 SD |  |  |  | 2
NPW |  | 2520 | NA | Enterococci (MPN-Multiple Tube) 9 | 20 to 1000 | Log transform; ±3 SD |  |  |  | 2
NPW |  | 2520 | NA | Enterococci (MPN-Multiple Well) 9 | 20 to 1000 | Log transform; ±3 SD |  |  |  | 2
|  |  |  | Trace Metals | µg/L |  |  |  |  | µg/L
NPW | 0001 | 1000 | 7429-90-5 | Aluminum | 200 to 4000 | 0.98226 | 9.5889 | 0.04714 | 11.211 | 144
NPW | 0016 | 1005 | 7440-36-0 | Antimony | 90 to 900 | 0.98642 | -1.1174 | 0.04708 | 6.123 | 57
NPW | 0002 | 1010 | 7440-38-2 | Arsenic | 90 to 900 | 0.99164 | 1.2647 | 0.04215 | 5.1741 | 64
NPW | 0237 | 1015 | 7440-39-3 | Barium | 100 to 2500 | ±15% fixed acceptance limit |  |  |  | 85
NPW | 0003 | 1020 | 7440-41-7 | Beryllium | 50 to 500 | ±15% fixed acceptance limit |  |  |  | 42
NPW |  | 1025 | 7440-42-8 | Boron | 800 to 2000 | ±15% fixed acceptance limit |  |  |  | 680
NPW | 0004 | 1030 | 7440-43-9 | Cadmium | 100 to 1000 | ±15% fixed acceptance limit |  |  |  | 85
NPW | 0006 | 1040 | 7440-47-3 | Chromium | 100 to 1000 | ±15% fixed acceptance limit |  |  |  | 85
NPW | 0238 | 1045 | 18540-29-9 | Chromium (VI) | 90 to 900 | 0.99172 | 1.0232 | 0.04763 | 2.2011 | 71
NPW | 0005 | 1050 | 7440-48-4 | Cobalt | 100 to 1000 | ±15% fixed acceptance limit |  |  |  | 85
NPW | 0007 | 1055 | 7440-50-8 | Copper | 100 to 1000 | ±15% fixed acceptance limit |  |  |  | 85
NPW | 0008 | 1070 | 7439-89-6 | Iron | 200 to 4000 | ±15% fixed acceptance limit |  |  |  | 170
NPW | 0012 | 1075 | 7439-92-1 | Lead | 100 to 1500 | ±15% fixed acceptance limit |  |  |  | 85
NPW | 0010 | 1090 | 7439-96-5 | Manganese | 200 to 2000 | ±15% fixed acceptance limit |  |  |  | 170
NPW | 0009 | 1095 | 7439-97-6 | Mercury 10a | 3.0 to 30 | ±30% fixed acceptance limit |  |  |  | 0.9
NPW | 0074 | 1100 | 7439-98-7 | Molybdenum | 60 to 600 | 0.99526 | -0.16142 | 0.03723 | 2.5555 | 45
NPW | 0011 | 1105 | 7440-02-0 | Nickel | 200 to 2000 | 1.0012 | 1.5795 | 0.03684 | 3.8151 | 168
NPW | 0013 | 1140 | 7782-49-2 | Selenium | 100 to 1000 | ±15% fixed acceptance limit |  |  |  | 85
NPW | 0017 | 1150 | 7440-22-4 | Silver | 100 to 1000 | ±15% fixed acceptance limit |  |  |  | 85
NPW | 0075 | 1160 | 7440-24-6 | Strontium | 50 to 500 | ±15% fixed acceptance limit |  |  |  | 42
NPW | 0018 | 1165 | 7440-28-0 | Thallium | 80 to 800 | 0.99321 | -0.9634 | 0.0479 | 4.2361 | 54
NPW | 0239 | 1175 | 7440-31-5 | Tin | 200 to 2000 | ±30% fixed acceptance limit |  |  |  | 140
NPW | 0076 | 1180 | 7440-32-6 | Titanium | 60 to 300 | ±15% fixed acceptance limit |  |  |  | 51
NPW | 0014 | 1185 | 7440-62-2 | Vanadium | 50 to 2000 | ±15% fixed acceptance limit |  |  |  | 42
NPW | 0015 | 1190 | 7440-66-6 | Zinc | 300 to 2000 | ±15% fixed acceptance limit |  |  |  | 255
|  |  |  | Demands 10b | mg/L |  |  |  |  | mg/L
NPW | 0038 | 1530 | NA | Biochemical oxygen demand 10c | 18 to 230 | 0.62374 | 0.70217 | 0.09275 | 0.66361 | 4.9
NPW | 0102 | 1555 | NA | Carbonaceous BOD (CBOD) 10c | 18 to 230 | 0.56476 | 0.66652 | 0.0965 | 0.82528 | 3.1
NPW | 0036 | 1565 | NA | Chemical Oxygen Demand (COD) 10d | 30 to 250 | 0.9843 | -0.31713 | 0.04318 | 3.0191 | 16
NPW | 0037 | 2040 | NA | Total Organic Carbon (TOC) 10e | 6.0 to 100 | 0.99263 | 0.16801 | 0.04728 | 0.35361 | 4.2
|  |  |  | Minerals | mg/L |  |  |  |  | mg/L
NPW | 0027 | 1505 | NA | Alkalinity as CaCO3 | 25 to 400 | ±20% at < 40; ±15% at ≥ 40 fixed acceptance limit |  |  |  | 20
NPW |  | 1540 | 24959-67-9 | Bromide | 1.0 to 10 | 1.0098 | -0.05334 | 0.03999 | 0.09123 | 0.56
NPW | 0023 | 1035 | 7440-70-2 | Calcium | 10 to 100 | ±15% fixed acceptance limit |  |  |  | 8.5
NPW | 0028 | 1575 | 16887-00-6 | Chloride | 35 to 275 | 1.0005 | 0.04897 | 0.03758 | 0.37156 | 30
NPW | 0029 | 1730 | 16984-48-8 | Fluoride | 0.4 to 4 | 0.97477 | 0.0156 | 0.04871 | 0.02772 | 0.26
NPW |  | 1550 | NA | Calcium hardness as CaCO3 | 25 to 250 | ±15% fixed acceptance limit |  |  |  | 21
NPW | 0022 | 1755 | NA | Total hardness as CaCO3 | 40 to 415 | ±15% fixed acceptance limit |  |  |  | 34
NPW | 0024 | 1085 | 7439-95-4 | Magnesium | 4.0 to 40 | ±15% fixed acceptance limit |  |  |  | 3.4
NPW | 0026 | 1125 | 7440-09-7 | Potassium | 4.0 to 40 | ±20% fixed acceptance limit |  |  |  | 3.2
NPW | 0025 | 1155 | 7440-23-5 | Sodium | 10 to 100 | ±20% fixed acceptance limit |  |  |  | 8
NPW | 0020 | 1610 | NA | Conductivity | 200 to 1200 µmhos/cm | ±10% fixed acceptance limit |  |  |  | 180 µmhos/cm
NPW | 0030 | 2000 | 14808-79-8 | Sulfate | 5.0 to 125 | 0.98799 | -0.21298 | 0.04729 | 0.33085 | 3
NPW |  | 2005 | 18496-25-8 | Sulfide | 2.0 to 10 | 0.96567 | -0.12705 | 0.12048 | 0.28156 | 0.2
NPW | 0021 | 1955 | NA | Residue-filterable (TDS) | 140 to 800 | 1 | 0 | 0 | 15 | 95
NPW | 0105 | 1950 | NA | Residue-total (TS) | 140 to 800 | 1 | 0 | 0 | 15 | 95
|  |  |  | Nutrients | mg/L |  |  |  |  | mg/L
NPW | 0031 | 1515 | NA | Ammonia as N | 1.0 to 20 | 0.99233 | 0.05665 | 0.0583 | 0.09135 | 0.6
NPW | 0032 | 1810 | NA | Nitrate as N | 2.0 to 25 | 0.99751 | -0.00052 | 0.05061 | 0.06418 | 1.5
NPW |  | 1820 | NA | Nitrate plus Nitrite as N | 2.5 to 25 | 0.99565 | -0.00099 | 0.05094 | 0.04001 | 1.99
NPW |  | 1840 | NA | Nitrite as N | 0.4 to 4.0 | 1.0017 | -0.00299 | 0.03767 | 0.02498 | 0.28
NPW | 0033 | 1870 | 264888-19-9 | Orthophosphate as P | 0.5 to 5.5 | ±15% fixed acceptance limit |  |  |  | 0.42
NPW | 0034 | 1795 | NA | Total Kjeldahl-Nitrogen 10f | 3.0 to 35 | 0.9701 | 0.2283 | 0.06803 | 0.19061 | 1.95
NPW | 0035 | 1910 | NA | Total Phosphorus | 0.5 to 10 | 0.99315 | 0.0084 | 0.05063 | 0.02537 | 0.35
|  |  |  | Misc. Analytes | mg/L |  |  |  |  | mg/L
NPW |  | 1500 | NA | Acidity, as CaCO3 | 650 to 1800 | ±10% fixed acceptance limit |  |  |  | 585
NPW |  | 1605 | NA | Color | 10 to 75 PC units | 0.94742 | 0.60978 | 0.0367 | 2.4407 | 1.7 PC units
NPW | 0072 | 1960 | NA | Residue-nonfilterable (TSS) | 20 to 100 | 0.97278 | -0.63381 | 0.02997 | 1.5793 | 12
NPW | 0019 | 1900 | NA | pH 10g | 5.0 to 10 units | ± 0.2 units fixed acceptance limit |  |  |  | Not applicable
NPW | 0071 | 1645 | NA | Total Cyanide 10h | 0.1 to 1 | ±35% fixed acceptance limit |  |  |  | 0.065
NPW | 0097 | 1905 | NA | Total Phenolics 10i | 0.5 to 5 | 0.64077 | 0.02504 | 0.10376 | 0.00818 | 0.16
NPW | 0098 | 1940 | NA | Total Residual Chlorine | 0.5 to 3.0 | 0.93448 | 0.03924 | 0.06879 | 0.00729 | 0.38
NPW |  | 1965 | NA | Residue-settleable | 5.0 to 50 mL/L | 1.0436 | -0.01083 | 0.05973 | 0.4546 | 2.9 mL/L
NPW |  | 1990 | NA | Silica as SiO2 | 50 to 250 | ±25% fixed acceptance limit |  |  |  | 38
NPW |  | 2025 | NA | Surfactants - MBAS | 0.2 to 1.0 | 1.0421 | -0.0068 | 0.13262 | 0.00459 | 0.1
NPW |  | 2055 | NA | Turbidity 10j | 2.0 to 30 NTU | 1.004 | -0.03675 | 0.0475 | 0.15748 | 1.2 NTU
NPW |  | 1970 | NA | Residue-volatile | 100 to 500 | 0.96443 | -4.7559 | 0.01817 | 14.945 | 41
Low Level Analytes 11
NPW |  | 1095 | 7439-97-6 | Mercury 10a | 20 to 100 ng/L | 0.991 | 0.2064 | 0.0432 | 2.5774 | 9.7
NPW |  | 1940 | NA | Total Residual Chlorine | 50 to 250 µg/L | 1 | 0 | 0 | 20 | 5
|  |  |  | Volatile Aromatics 1 | µg/L |  |  |  |  | µg/L
NPW | 0065 | 4375 | 71-43-2 | Benzene | 10 to 120 | ±30% fixed acceptance limit |  |  |  | 7
NPW | 0094 | 4610 | 95-50-1 | 1,2-Dichlorobenzene (o-Dichlorobenzene) | 10 to 120 | ±30% fixed acceptance limit |  |  |  | 7
NPW | 0096 | 4615 | 541-73-1 | 1,3-Dichlorobenzene (m-Dichlorobenzene) | 10 to 120 | ±30% fixed acceptance limit |  |  |  | 7
NPW | 0095 | 4620 | 106-46-7 | 1,4-Dichlorobenzene (p-Dichlorobenzene) | 10 to 120 | ±30% fixed acceptance limit |  |  |  | 7
NPW | 0066 | 4765 | 100-41-4 | Ethylbenzene | 10 to 120 | ±30% fixed acceptance limit |  |  |  | 7
NPW | 0222 | 5005 | 91-20-3 | Naphthalene | 15 to 150 | 0.87852 | 1.4343 | 0.13345 | 0.75607 | 6.3
NPW |  | 5100 | 100-42-5 | Styrene | 20 to 120 | ±35% fixed acceptance limit |  |  |  | 13
NPW | 0067 | 5140 | 108-88-3 | Toluene | 10 to 120 | ±30% fixed acceptance limit |  |  |  | 7
NPW | 0092 | 5155 | 120-82-1 | 1,2,4-Trichlorobenzene | 15 to 150 | 0.91603 | -1.3028 | 0.14734 | 0.50996 | 4.3
NPW |  | 5210 | 95-63-6 | 1,2,4-Trimethylbenzene | 10 to 120 | ±35% fixed acceptance limit |  |  |  | 6.5
NPW |  | 5215 | 108-67-8 | 1,3,5-Trimethylbenzene | 10 to 120 | ±35% fixed acceptance limit |  |  |  | 6.5
NPW |  | 5240 | NA | m+p-xylene | 10 to 150 | ±40% fixed acceptance limit |  |  |  | 6
NPW |  | 5250 | 95-47-6 | o-Xylene | 10 to 150 | ±40% fixed acceptance limit |  |  |  | 6
NPW | 0242 | 5260 | 1330-20-7 | Xylene (total) 12 | 20 to 300 | ±40% fixed acceptance limit |  |  |  | 12
|  |  |  | Volatile Ketones/Ethers 1 | µg/L |  |  |  |  | µg/L
NPW |  | 4315 | 67-64-1 | Acetone | 20 to 200 | 0.8856 | 3.5838 | 0.20279 | 1.7474 | 3.9
NPW |  | 4860 | 591-78-6 | 2-Hexanone | 20 to 200 | 1.0054 | -1.1748 | 0.15343 | 1.7764 | 4.4
NPW |  | 4995 | 108-10-1 | 4-Methyl-2-pentanone (MIBK) | 20 to 200 | 1.0022 | -1.0337 | 0.09342 | 4.1819 | 2
NPW |  | 5000 | 1634-04-4 | Methyl tert-butyl ether (MTBE) | 15 to 150 | 1.0233 | -0.36204 | 0.11118 | 0.30834 | 9
|  |  |  | Volatile Halocarbons 1 | µg/L |  |  |  |  | µg/L
NPW | 0060 | 4395 | 75-27-4 | Bromodichloromethane | 10 to 100 | ±40% fixed acceptance limit |  |  |  | 6
NPW | 0062 | 4400 | 75-25-2 | Bromoform | 10 to 100 | ±40% fixed acceptance limit |  |  |  | 6
NPW | 0243 | 4950 | 74-83-9 | Methyl bromide (Bromomethane) | 20 to 120 | ± 60% fixed acceptance limit |  |  |  | 8
NPW | 0058 | 4455 | 56-23-5 | Carbon tetrachloride | 15 to 150 | 0.9577 | 0.06116 | 0.1269 | 0.34429 | 7.7
NPW | 0064 | 4475 | 108-90-7 | Chlorobenzene | 10 to 120 | ±30% fixed acceptance limit |  |  |  | 7
NPW | 0244 | 4485 | 75-00-3 | Chloroethane (Ethyl chloride) | 20 to 120 | ± 60% fixed acceptance limit |  |  |  | 8
NPW | 0055 | 4505 | 67-66-3 | Chloroform | 10 to 100 | ±30% fixed acceptance limit |  |  |  | 7
NPW | 0245 | 4960 | 74-87-3 | Methyl chloride (Chloromethane) | 20 to 120 | ± 60% fixed acceptance limit |  |  |  | 8
NPW | 0061 | 4575 | 124-48-1 | Chlorodibromomethane | 10 to 100 | ±40% fixed acceptance limit |  |  |  | 6
NPW |  | 4570 | 96-12-8 | 1,2-Dibromo-3-chloropropane (DBCP) | 15 to 150 | ±40% fixed acceptance limit |  |  |  | 9
NPW |  | 4585 | 106-93-4 | 1,2-Dibromoethane (EDB, Ethylene dibromide) | 10 to 120 | ±35% fixed acceptance limit |  |  |  | 6.5
NPW |  | 4595 | 74-95-3 | Dibromomethane (Methylene bromide) | 10 to 120 | ±35% fixed acceptance limit |  |  |  | 6.5
NPW |  | 4630 | 75-34-3 | 1,1-Dichloroethane | 10 to 150 | 0.9977 | 0.21167 | 0.12266 | 0.01737 | 6.4
NPW | 0054 | 4635 | 107-06-2 | 1,2-Dichloroethane (Ethylene dichloride) | 15 to 150 | 0.98434 | 1.3728 | 0.09117 | 0.46927 | 10.6
NPW | 0246 | 4640 | 75-35-4 | 1,1-Dichloroethylene | 10 to 150 | 1.0034 | 0.66304 | 0.14467 | 0.05207 | 6.2
NPW |  | 4645 | 156-59-2 | cis-1,2-Dichloroethylene | 10 to 150 | 0.99725 | 0.3699 | 0.10952 | 0.00362 | 7
NPW | 0247 | 4700 | 156-60-5 | trans-1,2-Dichloroethylene | 10 to 120 | ±40% fixed acceptance limit |  |  |  | 6
NPW | 0248 | 4655 | 78-87-5 | 1,2-Dichloropropane | 10 to 150 | ±30% fixed acceptance limit |  |  |  | 7
NPW |  | 4680 | 10061-01-5 | cis-1,3-Dichloropropene | 10 to 120 | ±35% fixed acceptance limit |  |  |  | 6.5
NPW | 0249 | 4685 | 10061-02-6 | trans-1,3-Dichloropropylene | 10 to 120 | ±35% fixed acceptance limit |  |  |  | 6.5
NPW | 0063 | 4975 | 75-09-2 | Methylene chloride (Dichloromethane) | 10 to 120 | ±40% fixed acceptance limit |  |  |  | 6
NPW |  | 5105 | 630-20-6 | 1,1,1,2-Tetrachloroethane | 15 to 150 | ±35% fixed acceptance limit |  |  |  | 9.8
NPW | 0250 | 5110 | 79-34-5 | 1,1,2,2-Tetrachloroethane | 15 to 150 | ±35% fixed acceptance limit |  |  |  | 9.8
NPW | 0059 | 5115 | 127-18-4 | Tetrachloroethylene (Perchloroethylene) | 10 to 150 | 0.94162 | -0.50633 | 0.1189 | 0.34415 | 4.3
NPW | 0056 | 5160 | 71-55-6 | 1,1,1-Trichloroethane | 10 to 100 | ±40% fixed acceptance limit |  |  |  | 6
NPW | 0251 | 5165 | 79-00-5 | 1,1,2-Trichloroethane | 15 to 150 | ±30% fixed acceptance limit |  |  |  | 10.5
NPW | 0057 | 5170 | 79-01-6 | Trichloroethene (Trichloroethylene) | 10 to 100 | 0.96107 | 0.57202 | 0.10774 | 0.24777 | 6.2
NPW | 0252 | 5175 | 75-69-4 | Trichlorofluoromethane (Fluorotrichloromethane, Freon 11) | 20 to 120 | ± 60% fixed acceptance limit |  |  |  | 8
NPW |  | 5180 | 96-18-4 | 1,2,3-Trichloropropane | 15 to 150 | 0.9867 | -0.47208 | 0.16297 | 0.96052 | 4.1
NPW | 0253 | 5235 | 75-01-4 | Vinyl chloride (Chloroethene) | 20 to 120 | ± 60% fixed acceptance limit |  |  |  | 8
|  |  |  | Low-Level Halocarbons11 | µg/L |  |  |  |  | µg/L
NPW |  | 4570 | 96-12-8 | 1,2-Dibromo-3-chloropropane (DBCP) | 0.2 to 2.0 | 0.9542 | 0.0359 | 0.12 | 0.0161 | 0.106
NPW |  | 4585 | 106-93-4 | 1,2-Dibromoethane (EDB, Ethylene dibromide) | 0.2 to 2.0 | 0.9341 | 0.0293 | 0.109 | 0.0239 | 0.079
NPW |  | 5180 | 96-18-4 | 1,2,3-Trichloropropane | 0.2 to 2.0 | 0.9284 | 0.0534 | 0.1257 | 0.0117 | 0.129
|  |  |  | Volatile Petroleum Hydrocarbons | µg/L |  |  |  |  | µg/L
NPW |  | 9408 | 8006-61-9 | Gasoline Range Organics (GRO) 13 | 400 to 4000 | 1.0683 | -7.7234 | 0.21622 | 35.0439 | 55
|  |  |  | Base/Neutrals 1 | µg/L |  |  |  |  | µg/L
NPW | 0189 | 5500 | 83-32-9 | Acenaphthene | 10 to 200 | 0.77476 | 0.85055 | 0.14269 | 0.1159 | 4
NPW | 0190 | 5505 | 208-96-8 | Acenaphthylene | 10 to 200 | 0.8029 | -0.29737 | 0.14846 | 0.11105 | 2.9
NPW | 0192 | 5555 | 120-12-7 | Anthracene | 10 to 200 | 0.79857 | 1.787 | 0.12292 | 0.7303 | 3.9
NPW | 0177 | 5575 | 56-55-3 | Benzo(a)anthracene | 10 to 200 | 0.83806 | 0.56988 | 0.11623 | 0.60745 | 3.6
NPW | 0254 | 5670 | 85-68-7 | Butyl benzyl phthalate | 50 to 200 | 0.84958 | -2.1862 | 0.17764 | 0.07519 | 13.4
NPW | 0178 | 5585 | 205-99-2 | Benzo(b)fluoranthene | 20 to 200 | 0.83272 | 0.15308 | 0.14969 | 0.10783 | 7.5
NPW | 0179 | 5600 | 207-08-9 | Benzo(k)fluoranthene | 20 to 200 | 0.8223 | 1.996 | 0.1862 | 1.126 | 7.7
NPW | 0180 | 5590 | 191-24-2 | Benzo(g,h,i)perylene | 10 to 200 | 0.82613 | 1.5562 | 0.15563 | 0.01661 | 5.1
NPW | 0255 | 5580 | 50-32-8 | Benzo(a)pyrene | 10 to 200 | 0.82073 | -0.05496 | 0.14841 | 0.4349 | 2.4
NPW | 0198 | 5660 | 101-55-3 | 4-Bromophenyl phenyl ether (BDE-3) | 20 to 200 | 0.80814 | 3.0645 | 0.13246 | 0.89955 | 8.6
NPW | 0195 | 5760 | 111-91-1 | bis(2-Chloroethoxy)methane | 20 to 200 | 0.76152 | 0.489 | 0.11931 | 1.5633 | 3.9
NPW | 0196 | 5765 | 111-44-4 | bis(2-Chloroethyl)ether | 20 to 200 | 0.70902 | 2.3607 | 0.15288 | 0.48014 | 5.9
NPW | 0197 | 4659 | 108-60-1 | 2,2'-Oxybis(1-chloropropane), bis(2-Chloro-1-methyethyl)ether18 | 30 to 200 | 0.72847 | 1.6917 | 0.1303 | 2.9025 | 3.1
NPW | 0256 | 6065 | 117-81-7 | Di(2-ethylhexyl) phthalate (bis(2-Ethylhexyl)phthalate, DEHP) | 20 to 200 | 0.80645 | 2.5761 | 0.14737 | 1.6124 | 5
NPW | 0204 | 5825 | 7005-72-3 | 4-Chlorophenyl phenylether | 20 to 200 | 0.7669 | 3.7466 | 0.14167 | 0.23026 | 9.9
NPW | 0203 | 5795 | 91-58-7 | 2-Chloronaphthalene | 20 to 200 | 0.71022 | 2.4854 | 0.14767 | 0.50793 | 6.3
NPW | 0181 | 5855 | 218-01-9 | Chrysene | 10 to 200 | 0.818 | 2.3274 | 0.1351 | 0.21372 | 5.8
NPW | 0182 | 5895 | 53-70-3 | Dibenzo(a,h)anthracene | 20 to 200 | 0.80792 | 2.389 | 0.14974 | 0.87291 | 6.9
NPW |  | 5905 | 132-64-9 | Dibenzofuran | 30 to 200 | 0.74105 | 2.718 | 0.11586 | 1.0735 | 11.3
NPW |  | 4610 | 95-50-1 | 1,2-Dichlorobenzene (o-Dichlorobenzene) | 20 to 200 | 0.6365 | 0.79056 | 0.1517 | 2.2155 | 2
NPW |  | 4615 | 541-73-1 | 1,3-Dichlorobenzene (m-Dichlorobenzene) | 20 to 200 | 0.59206 | 3.026 | 0.17869 | 0.34642 | 3.1
NPW |  | 4620 | 106-46-7 | 1,4-Dichlorobenzene (p-Dichlorobenzene) | 20 to 200 | 0.56712 | 3.6005 | 0.16398 | 0.48259 | 3.7
NPW | 0208 | 6070 | 84-66-2 | Diethyl phthalate | 50 to 200 | 0.74922 | 3.3637 | 0.18048 | 2.0213 | 8.9
NPW | 0209 | 6135 | 131-11-3 | Dimethyl phthalate | 50 to 200 | 0.63751 | 3.9631 | 0.25238 | 0.81745 | 11.5
NPW | 0205 | 5925 | 84-74-2 | Di-n-butyl phthalate | 40 to 200 | 0.77968 | 5.1233 | 0.14898 | 0.87761 | 15.8
NPW | 0186 | 6185 | 121-14-2 | 2,4-Dinitrotoluene (2,4-DNT) | 20 to 200 | 0.8219 | 0.41368 | 0.11825 | 1.7449 | 4.5
NPW | 0210 | 6190 | 606-20-2 | 2,6-Dinitrotoluene (2,6-DNT) | 20 to 200 | 0.79993 | 0.47696 | 0.13156 | 0.13678 | 8.2
NPW | 0211 | 6200 | 117-84-0 | Di-n-octyl phthalate | 30 to 200 | 0.81862 | 2.8779 | 0.17239 | 1.2382 | 8.2
NPW | 0212 | 6265 | 206-44-0 | Fluoranthene | 30 to 200 | 0.80867 | 2.9863 | 0.12723 | 0.0642 | 15.6
NPW | 0213 | 6270 | 86-73-7 | Fluorene | 10 to 200 | 0.76187 | 3.7583 | 0.11648 | 1.0349 | 4.8
NPW | 0214 | 6275 | 118-74-1 | Hexachlorobenzene | 20 to 200 | 0.82024 | 0.22632 | 0.12378 | 0.12966 | 8.8
NPW | 0215 | 4835 | 87-68-3 | Hexachlorobutadiene | 50 to 200 | 0.62858 | 2.6591 | 0.16158 | 1.9082 | 4.3
NPW | 0216 | 6285 | 77-47-4 | Hexachlorocyclopentadiene | 50 to 200 | 0.62159 | -4.4226 | 0.20488 | 4.3221 | 5
NPW | 0217 | 4840 | 67-72-1 | Hexachloroethane | 50 to 200 | 0.59212 | -0.06571 | 0.16402 | 0.53083 | 3.3
NPW | 0218 | 6315 | 193-39-5 | Indeno(1,2,3, cd)pyrene | 30 to 200 | 0.71154 | 5.0289 | 0.14303 | 1.4299 | 9.2
NPW | 0219 | 6320 | 78-59-1 | Isophorone | 20 to 200 | 0.79808 | 0.70528 | 0.14366 | 0.29999 | 7.1
NPW |  | 6385 | 91-57-6 | 2-Methylnaphthalene | 20 to 200 | 0.69834 | 2.0844 | 0.13609 | 2.1436 | 2
|  |  |  | Base/Neutrals 1 cont' | µg/L |  |  |  |  | µg/L
NPW | 0222 | 5005 | 91-20-3 | Naphthalene | 20 to 200 | 0.67491 | 3.5514 | 0.14414 | 1.2975 | 4.5
NPW | 0226 | 5015 | 98-95-3 | Nitrobenzene | 20 to 200 | 0.74634 | 0.98644 | 0.13877 | 0.45892 | 6.2
NPW | 0227 | 6530 | 62-75-9 | N-Nitrosodimethylamine | 75 to 200 | 0.46654 | 7.3433 | 0.16521 | 3.9997 | 7.5
NPW | 0230 | 6545 | 621-64-7 | n-Nitrosodi-n-propylamine | 30 to 200 | 0.79127 | -0.05099 | 0.15409 | 0.13278 | 9.4
NPW | 0229 | 6535 | 86-30-6 | N-Nitrosodiphenylamine | 30 to 200 | 0.774 | 0.67105 | 0.20159 | 0.04939 | 5.6
NPW | 0231 | 6615 | 85-01-8 | Phenanthrene | 10 to 200 | 0.80012 | 2.8698 | 0.11098 | 0.94848 | 4.7
NPW | 0187 | 6665 | 129-00-0 | Pyrene | 10 to 200 | 0.84765 | 1.0097 | 0.14898 | 0.052987 | 4.9
NPW | 0092 | 5155 | 120-82-1 | 1,2,4-Trichlorobenzene | 20 to 200 | 0.67686 | 1.1166 | 0.1493 | 1.8128 | 2
|  |  |  | Acids 1 | µg/L |  |  |  |  | µg/L
NPW | 0161 | 5700 | 59-50-7 | 4-Chloro-3-methylphenol | 30 to 200 | 0.79979 | 0.62642 | 0.1421 | 0.03965 | 11.7
NPW | 0162 | 5800 | 95-57-8 | 2-Chlorophenol | 30 to 200 | 0.72922 | 1.464 | 0.15182 | 0.01741 | 9.6
NPW | 0163 | 6000 | 120-83-2 | 2,4-Dichlorophenol | 30 to 200 | 0.73618 | 2.8458 | 0.14325 | 0.058542 | 11.9
NPW |  | 6005 | 87-65-0 | 2,6-Dichlorophenol | 30 to 200 | 0.75122 | 3.7563 | 0.15637 | 0.03121 | 12.1
NPW | 0165 | 6130 | 105-67-9 | 2,4-Dimethylphenol | 40 to 200 | 0.74963 | 1.4508 | 0.1601 | 0.09533 | 11.9
NPW | 0167 | 6175 | 51-28-5 | 2,4-Dinitrophenol | 100 to 200 | 0.65309 | 3.592 | 0.16953 | 8.5727 | 10
NPW | 0168 | 6360 | 534-52-1 | 2-Methyl-4,6-dinitrophenol (4,6-Dinitro-2-methylphenol) | 40 to 200 | 0.81078 | 3.629 | 0.15727 | 2.1683 | 10.7
NPW |  | 6400 | 95-48-7 | 2-Methylphenol (o-Cresol) | 40 to 200 | 0.68214 | 2.2126 | 0.15285 | 0.5485 | 9.5
NPW |  | 6410 | 106-44-5 | 4-Methylphenol (p-Cresol) 14 | 50 to 200 | 0.65307 | 2.1854 | 0.20075 | 0.78073 | 5
NPW | 0171 | 6490 | 88-75-5 | 2-Nitrophenol | 50 to 200 | 0.76311 | 1.1486 | 0.12719 | 2.4547 | 12.9
NPW | 0173 | 6500 | 100-02-7 | 4-Nitrophenol | 100 to 200 | 0.55911 | -1.0075 | 0.2511 | 1.9409 | 10
NPW | 0174 | 6625 | 108-95-2 | Phenol | 100 to 200 | 0.557 | 0.5929 | 0.253 | 1.0269 | 10
NPW | 0158 | 6605 | 87-86-5 | Pentachlorophenol | 40 to 200 | 0.84691 | -0.73379 | 0.15612 | 1.5178 | 9.9
NPW | 0175 | 6835 | 95-95-4 | 2,4,5-Trichlorophenol | 30 to 200 | 0.77259 | 3.2199 | 0.1362 | 0.99159 | 11.2
NPW | 0159 | 6840 | 88-06-2 | 2,4,6-Trichlorophenol | 30 to 200 | 0.788 | 0.8051 | 0.14058 | 0.028 | 11.7
|  |  |  | PCBs in Water 2, 20 | µg/L |  |  |  |  | µg/L
NPW | 0040 | 8880 | 12674-11-2 | Aroclor-1016 (PCB-1016) | 2.0 to 10 | 0.83181 | 0.19913 | 0.15906 | 0.038395 | 0.8
NPW | 0041 | 8885 | 11104-28-2 | Aroclor-1221 (PCB-1221) | 2.0 to 10 | 0.83181 | 0.19913 | 0.15906 | 0.038395 | 0.8
NPW | 0042 | 8890 | 11141-16-5 | Aroclor-1232 (PCB-1232) | 2.0 to 10 | 0.83181 | 0.19913 | 0.15906 | 0.038395 | 0.8
NPW | 0040 | 8895 | 53469-21-9 | Aroclor-1242 (PCB-1242) | 2.0 to 10 | 0.83181 | 0.19913 | 0.15906 | 0.038395 | 0.8
NPW | 0044 | 8900 | 12672-29-6 | Aroclor-1248 (PCB-1248) | 2.0 to 10 | 0.83181 | 0.19913 | 0.15906 | 0.038395 | 0.8
NPW | 0045 | 8905 | 11097-69-1 | Aroclor-1254 (PCB-1254) | 2.0 to 10 | 0.83181 | 0.19913 | 0.15906 | 0.038395 | 0.8
NPW | 0046 | 8910 | 11096-82-5 | Aroclor-1260 (PCB-1260) | 2.0 to 10 | 0.83181 | 0.19913 | 0.15906 | 0.038395 | 0.8
|  |  |  | Organochlorine Pesticides 1, 19 | µg/L |  |  |  |  | µg/L
NPW | 0047 | 7025 | 309-00-2 | Aldrin | 1.0 to 15 | 0.85238 | -0.01593 | 0.16553 | 0.00017 | 0.34
NPW | 0079 | 7110 | 319-84-6 | alpha-BHC (alpha-Hexachlorocyclohexane) | 2.0 to 20 | 0.89959 | 0.01507 | 0.15052 | 0.03491 | 0.81
NPW | 0080 | 7115 | 319-85-7 | beta-BHC (beta-Hexachlorocyclohexane) | 2.0 to 20 | 0.8889 | 0.19612 | 0.13723 | 0.07771 | 0.92
NPW | 0081 | 7105 | 319-86-8 | delta-BHC | 2.0 to 20 | 0.90307 | 0.10358 | 0.15247 | 0.06726 | 0.79
NPW | 0082 | 7120 | 58-89-9 | gamma-BHC (Lindane, gamma-Hexachlorocyclohexane) | 2.0 to 20 | 0.89589 | 0.10954 | 0.15277 | 0.01894 | 0.93
NPW |  | 7240 | 5103-71-9 | cis-Chlordane (alpha-Chlordane) | 1.0 to 10 | 0.88415 | 0.05415 | 0.14232 | 0.03479 | 0.41
NPW |  | 7245 | 5566-34-7 | gamma-Chlordane | 1.0 to 10 | 0.86171 | 0.10407 | 0.13234 | 0.07159 | 0.35
NPW | 0053 | 7250 | 12789-03-6 | Chlordane (tech.) | 3.0 to 25 | 0.85012 | 0.41209 | 0.15402 | 0.03808 | 1.46
NPW | 0049 | 7355 | 72-54-8 | 4,4'-DDD19a | 2.0 to 10 | 0.92709 | 0.03839 | 0.12274 | 0.17627 | 0.63
NPW | 0050 | 7360 | 72-55-9 | 4,4'-DDE19a | 1.0 to 10 | 0.87925 | 0.07183 | 0.14681 | 0.03954 | 0.39
NPW | 0051 | 7365 | 50-29-3 | 4,4'-DDT19a | 1.0 to 10 | 0.89867 | 0.10755 | 0.168 | 0.03365 | 0.4
NPW | 0048 | 7470 | 60-57-1 | Dieldrin | 1.0 to 15 | 0.91259 | 0.03225 | 0.13267 | 0.02401 | 0.47
NPW | 0083 | 7510 | 959-98-8 | Endosulfan I | 4.0 to 20 | 0.86984 | -0.06035 | 0.15483 | 0.05491 | 1.4
NPW | 0084 | 7515 | 33213-65-9 | Endosulfan II | 4.0 to 20 | 0.8765 | 0.09936 | 0.14898 | 0.09122 | 1.54
NPW | 0085 | 7520 | 1031-07-8 | Endosulfan sulfate | 4.0 to 20 | 0.87518 | 0.53117 | 0.13478 | 0.2091 | 1.79
NPW | 0086 | 7540 | 72-20-8 | Endrin19b | 2.0 to 20 | 0.91826 | 0.07055 | 0.15944 | 0.02771 | 0.87
NPW | 0087 | 7530 | 7421-93-4 | Endrin aldehyde19b | 4.0 to 20 | 0.85846 | 0.48453 | 0.15709 | 0.20539 | 1.42
NPW |  | 7535 | 53494-70-5 | Endrin ketone19b | 4.0 to 20 | 0.89512 | 0.37022 | 0.11348 | 0.19022 | 2
NPW | 0052 | 7685 | 76-44-8 | Heptachlor | 1.0 to 10 | 0.84696 | 0.04567 | 0.15964 | 0.04018 | 0.29
NPW | 0078 | 7690 | 1024-57-3 | Heptachlor epoxide | 1.0 to 10 | 0.91762 | 0.00405 | 0.1342 | 0.02681 | 0.44
NPW | 0234 | 7810 | 72-43-5 | Methoxychlor | 2.0 to 20 | 0.91154 | 0.28008 | 0.14668 | 0.22902 | 0.54
NPW | 0241 | 8250 | 8001-35-2 | Toxaphene (Chlorinated Camphene) | 20 to 100 | 0.80867 | 1.8908 | 0.19911 | 0.50803 | 4.59
|  |  |  | Herbicides 1 | µg/L |  |  |  |  | µg/L
NPW | 0257 | 8545 | 94-75-7 | 2,4-D | 2 to 10 | 0.72044 | 0.29949 | 0.25428 | 0.02967 | 0.2
NPW | 0258 | 8595 | 1918-00-9 | Dicamba | 2 to 10 | 0.78481 | 0.27878 | 0.17536 | 0.14549 | 0.4
NPW | 0140 | 8655 | 93-76-5 | 2,4,5-T | 2 to 10 | 0.81319 | 0.13927 | 0.18501 | 0.13533 | 0.2
NPW | 0259 | 8650 | 93-72-1 | Silvex (2,4,5-TP) | 2 to 10 | 0.83487 | 0.15155 | 0.20456 | 0.01954 | 0.5
|  |  |  | Low Level PAHs 1 | µg/L |  |  |  |  | µg/L
NPW |  | 5500 | 83-32-9 | Acenaphthene | 2.0 to 20 | 0.76002 | 0.14759 | 0.14564 | 0.00207 | 0.79
NPW |  | 5505 | 208-96-8 | Acenaphthylene | 2.0 to 20 | 0.78564 | 0.04175 | 0.11327 | 0.06865 | 0.73
NPW |  | 5555 | 120-12-7 | Anthracene | 0.5 to 5.0 | 0.81513 | 0.01938 | 0.17137 | 0.01151 | 0.14
NPW |  | 5575 | 56-55-3 | Benzo(a)anthracene | 0.5 to 5.0 | 0.90121 | -0.02364 | 0.06136 | 0.0462 | 0.2
NPW |  | 5580 | 50-32-8 | Benzo(a)pyrene | 0.5 to 5.0 | 0.77454 | 0.08241 | 0.1162 | 0.02695 | 0.21
NPW |  | 5585 | 205-99-2 | Benzo(b)fluoranthene | 0.5 to 5.0 | 0.8217 | 0.05436 | 0.11673 | 0.0144 | 0.25
NPW |  | 5590 | 191-24-2 | Benzo(g,h,i)perylene | 0.5 to 5.0 | 0.76828 | 0.07372 | 0.16405 | 0.00884 | 0.18
NPW |  | 5600 | 207-08-9 | Benzo(k)fluoranthene | 0.5 to 5.0 | 0.89434 | -0.00686 | 0.1245 | 0.01084 | 0.22
NPW |  | 5855 | 218-01-9 | Chrysene | 0.5 to 5.0 | 0.88831 | 0.01319 | 0.10455 | 0.02347 | 0.23
NPW |  | 5895 | 53-70-3 | Dibenz(a,h)anthracene | 0.5 to 5.0 | 0.79135 | 0.064 | 0.13774 | 0.05201 | 0.1
NPW |  | 6265 | 206-44-0 | Fluoranthene | 0.5 to 5.0 | 0.85654 | 0.02106 | 0.1064 | 0.01279 | 0.25
NPW |  | 6270 | 86-73-7 | Fluorene | 2.0 to 10 | 0.78634 | 0.04721 | 0.11531 | 0.06314 | 0.74
NPW |  | 6315 | 193-39-5 | Indeno(1,2,3-cd)pyrene | 0.5 to 5.0 | 0.82242 | 0.06228 | 0.13163 | 0.02665 | 0.2
NPW |  | 5005 | 91-20-3 | Naphthalene | 2.0 to 10 | 0.72793 | 0.0977 | 0.1251 | 0.0803 | 0.56
NPW |  | 6615 | 85-01-8 | Phenanthrene | 0.5 to 5.0 | 0.83317 | 0.02557 | 0.10987 | 0.01176 | 0.24
NPW |  | 6665 | 129-00-0 | Pyrene | 0.5 to 5.0 | 0.84675 | 0.0435 | 0.10226 | 0.00948 | 0.28
Petroleum Hydrocarbons
NPW |  | 9369 | 68334-30-5 | Diesel Range Organics (DRO) 15 | 800 to 6000 µg/L | 0.779 | -96.0467 | 0.13859 | 109.1897 | 80 µg/L
NPW | 0104 | 1803 | NA | n-Hexane Extractable Material (O&G) 10k,16 | 20 to 200 mg/L | 0.93997 | -0.41164 | 0.05448 | 2.0789 | 8.8 mg/L
NPW |  | 1853 | NA | Non-Polar Extractable Material (TPH) 17 | 20 to 200 mg/L | 0.96922 | -1.1573 | 0.15862 | 0.37092 | 7.6 mg/L
1) For volatiles, base/neutrals, acids, organochlorine pesticides, herbicides, and low level PAHs, providers must include a minimum number of analytes using the
criteria described below:
PT samples that are to be scored for one to ten analytes must include all of these analytes.
PT samples that are to be scored for ten to twenty analytes must include at least ten of these analytes or 80% ot the total, whichever number is greater.
PT samples that are to be scored for more than twenty analytes must include at least sixteen of these analytes or 60% ot the total, whichever number is greater.
If the calculated percentage of the total number of analytes in the PT sample is a fraction, the fraction shall be rounded up to the next whole number.
2) One sample (minimum) in every study, containing one Aroclor, selected at random from among the Aroclors listed above.
3) Acceptance limits are set at the Mean ± 3 SD
Where the a, b, c and d factors are presented, Mean = a*T + b; SD = c*T + d where T is the assigned value.
Where only the c and d factors are presented, Mean = Robust Study Mean; SD = c*X + d where X is the Robust Study Mean.
Where no factors are presented (Study Mean ±3SD), Mean = Robust Study Mean, SD = Robust Study Standard Deviation.
Robust Study Mean and Standard Deviation are generated using statistical analysis of study data set. (ie. Bi-weight, Grubbs, Dixon, etc.)
Quantitative Microbiology acceptance criteria are based on the robust participant Mean and SD determined from each respective PT study
4) If the lower acceptance limit generated using the criteria contained in this table is less than (<) 10% of the assigned value, the lower acceptance limits are set
at 10% of the assigned value with the exception of microbiology analytes.
5) If the lower acceptance limit generated using the criteria contained in this table is greater than 90% of the assigned value, the lower acceptance limits are set
at 90% of the assigned value with the exception of microbiology analytes.
6) If the upper acceptance limit generated using the criteria contained in this table is less than 110% of the assigned value, the upper acceptance limits are set
at 110% of the assigned value with the exception of microbiology analytes.
7) TNI Proficiency Testing Reporting Limit (PTRL) is a statistically derived value that represents the lowest acceptable concentration for an analyte in a proficiency test
sample, if the analyte is spiked into the proficiency test sample.
TNI PTRLs are also used by PT Providers to set the assigned value for unspiked analytes. For all analytes with an assigned value equal to <PTRL, the PT Provider
must verify that the PT sample does not contain the analyte at a concentration greater than or equal to one-half (1/2) of the PTRL.
Refer to the "TNI V1M1 2016 Standard Update Guidance on Proficiency Testing Reporting Limit (PTRL)", GUID-3-114-Rev0, October 15, 2018 for further information.
8) These limits are for quantitative methods using membrane filtration techniques.
9) These limits are for quantitative methods using most probable number techniques.
10) The following recommended sample designs, which were used in past USEPA studies, should be used as model designs because other designs
may not give equivalent statistics. PT study providers may vary their sample designs from those shown. The specifics within each sample are within
the discretion of the PT study Provider.
a) Design criterion for Mercury – 1:1 (mole:mole as Hg) Mercuric Oxide and Methyl Mercuric Chloride.
b) Design criteria for Demands – 1:1 Glucose and Glutamic Acid.
c) Design criteria for 5-Day BOD and Carbonaceous BOD – The assigned value used for BOD and CBOD is derived from the linear relationship between the
BOD or CBOD value and the concentration of Glucose-Glutamic Acid (GGA) or Potassium Hydrogen Phthalate (KHP) used for the formulation.
For example, 150 mg/L each of Glucose & of Glutamic Acid produces a BOD of 198 mg/L, and 300 mg/L KHP produces a BOD of 240 mg/L.
0 mg/L GGA or KHP would produce a BOD value of 0 mg/L.
d) Design criterion for Chemical Oxygen Demand – The assigned value of COD is (1.066 times mg Glucose plus 0.9787 times mg Glutamic Acid) divided by total liters
of sample adjusted for required dilutions.
e) Design criterion for Total Organic Carbon – The assigned value of TOC is (0.4000 times mg Glucose plus 0.4082 times mg Glutamic Acid) divided by total liters of
sample adjusted for required dilutions.
f) Design criterion for Total Kjeldahl Nitrogen – Glycine is the source of TKN.
g) Design criterion for pH – in separate solution (use buffer formulation from the CRC chemical handbook).
h) Design criterion for Total Cyanide – Potassium Ferricyanide.
i) Design criterion for Total Phenolics (4AAP) – 40% Phenol, 20% 2-Chlorophenol, 20% 2,4-Dinitrophenol, 20% 2,4-Dichlorophenol (mole %),
calculated as mg/L Phenol.
j) Design criterion for Turbidity - Formazin is the source for Turbidity.
k) Design criterion for Oil and Grease – 1:1 Paraffin oil and cooking oil, vacuum pump oil, or similar mixture that does not contain volatile organics.
11) The Low Level Analytes' concentration ranges and acceptance criteria are specifically intended for technologies/methods that can achieve the listed PTRL.
12) Volatiles Aromatics must contain all three Xylene isomers. The concentration range of o-Xylene and m&p-Xylene is 10-150 µg/L each.
13) Gasoline Range Organics (GRO) per purge-and-trap extraction followed by chromatographic analysis. GRO is defined as the carbon range between
n-C5 and n-C10.
14) Laboratories seeking or maintaining TNI accreditation for Non-Potable Water 4-Methylphenol or the coeluting isomer pair of 3-Methylphenol and
4-Methylphenol must meet the TNI PT requirements for this Field of Proficiency Testing (4-Methylphenol).
15) Diesel Range Organics (DRO) per solvent extraction followed by chromatographic analysis. DRO is defined as the carbon range between n-C10 and n-C28.
16) n-Hexane Extractable Material (HEM) per solvent extraction followed by gravimetric or infrared spectrometric analysis (Oil & Grease).
17) non-Polar Extractable Material per solvent extraction and Silica Gel Treated (SGT) followed by gravimetric or infrared spectrometric analysis
(Total Petroleum Hydrocarbons).
18) Also known as Bis(2-chloro-1-methylethyl) Ether, formerly known as Bis(2-chloroisopropyl) Ether.
19) These analytes are specified as part of a method defined and evaluated degradation process. PT sample designs for these analytes must conform to the following:
a) If the parent compound 4,4'-DDT is spiked into the PT sample, then its degradation products, 4,4'-DDD and 4,4'-DDE, must also be spiked into that PT sample.
b) If the parent compound Endrin is spiked into the PT sample, then its degradation products, Endrin aldehyde and Endrin ketone, must also be spiked into that PT sample.
20) A “Not Acceptable” evaluation of any one or more Aroclor Identifications constitutes a failure to demonstrate proficiency for all accredited Aroclors reported.

## Change Log
Non-Potable Water (NPW) FoPT Table Change Log
Effective Date | Change
2017-07-24 | Formatting changes (color coding and logo) to standardize FoPT Tables (posted to website 10-16-2018)
10-1-2020 | Coliform analytes for MPN separated into "MPN-Multiple Tube" and "MPN-Multiple Well"; CAS Numbers added and analyte names updated for congruity with LAMS Added footnotes 19a and 19b for 4,4'-DDT and Endrin degradation products.
2021-03-01 | Added footnote 20 on PCB evlautions. Updated the PTRL defintion to be consistent with the TNI V1M1 and V3. Editorial changes only. Corrected analyte id number for n-Hexane Extractable Material to 1853