## Comments
INTERIM STANDARD ELV1M1. APRIL 2016. RESPONSE TO COMMENTS
Vote Tally: Abstain 0; Affirmative 25; Affirmative with Comment 2; Negative with Comment 4.
Disclaimer: The NELAC Institute (TNI) accepts no liability for the content of any comment on a standard. Any views or opinions on a standard are solely those of the commenter and do not necessarily reflect those of TNI.
Vote | Section | Vote Comment | Disposition | Change/Reasoning
Affirmative with comment | General | I would like to thank all of the Committee members for all of their work in generating this standard. Generating a standard while addressing the diverse views of affected stakeholders presented in a significant challenge. There may be usage of "FoPT's" that should be "FoPTs". The apostrophe may not be needed. | Persuasive | Completed
Negative with comment | 3.15 | COMMENT: It seems odd to me that “suspension” is not defined using the same terminology as in other volumes/modules. However, since here it’s truncated (adds no NEW or DIFFERENT information), I guess it’s OK. My recommendation is that it’s always defined the same way, though. A TNI accredited lab, if suspended, is suspended by one and only one definition of the word. The definition of what suspension means can’t differ according to chapter. Again … maybe “no harm done” here … so it’s just a comment. | Persuasive | The definitions were harmonized to the existing TNI defintions in Volume 2 Module 1.
Negative with comment | 4.2.2 | SIGNIFICANT COMMENT: I’m guessing it was not intentional but in one KEY section we have greatly weakened the standard’s language and enforceability. TNI 2015 V1M1 4.2.2: “PT samples shall be analyzed in accordance with the laboratory’s established standard operating procedures (SOPs) using the same quality control, acceptance criteria, and staff as used for the analysis of routine environmental samples.” TNI 2009 V1M1 5.1.1: “The laboratory shall analyze PT samples in the same manner as used for routine environmental samples using the same staff, sample tracking, sample preparation and analysis methods, standard operating procedures, calibration techniques, quality control procedures, and acceptance criteria.” • Omitted auditable requirements from 2009 are in red. • New language will permit a lab to write into their SOP that they are going to handle their PT in a different way … say, run it 4 times or over several runs or with a different calibration scheme or without digestion, because it does not require the SAME SOP (and that the other items in the list are ‘SAME’). • Lost the ability to require same preparation (such as digestion) for PT samples. The lab can specify in its SOP how its PTs will be handled and avoid the same procedure as all other samples. • Lost the ability to require PT samples to be handled through LIMS (where automated calcs are done). (This requirement was tied to the “same sample tracking” phrase which is gone.) • Lost the ability to prohibit running sample multiple times IF the lab has opted to put into their SOP that they do so. For example, a finding would be written as follows: “The laboratory did not demonstrate that PT samples were analyzed in accordance with the laboratory’s established standard operating procedure SOP #001 Revision 4. Specifically, PT ABC123 was analyzed 6 times over a period of 3 days and was not digested.” [Keep in mind that the finding is stating how the lab did not MEET THE STANDARD.] To this finding, the laboratory’s corrective action could be to revise its SOP stating how its PTs will be run for that analysis … and that CA would bring them into compliance with the Standard. Without the “SAME” phrasing in there ABs will have no regulatory basis to reject this approach to corrective action. | This clause passed the VDS voting process without comment, there fore cannot be addressed by the committee.
Negative with comment | 4.2.3 | The new language in Volume 1, Module 1 sections 4.2.3 and 4.3.7 do not adequately address my concerns, specifically: Section 4.2.3 appears unchanged from the original balloted draft. I suggest the words "For chemistry" be added to the beginning of the second sentance. "4.2.3 The laboratory shall evaluate the analytical result for each chemistry and radiochemistry field of accreditation to the PTRL as established by the TNI FoPT Tables. For chemistry, if the laboratory's Limit of Quantitation (LOQ) is below the PTRL, they may evaluate results to their normal LOQ." | Persuasive | Separate section added to the standard.
Negative with comment | 4.2.3 | The new language in section 4.2.3. does not address my comment on the previous ballot since the second sentence is still connected with both chemistry and radiochemistry. This section would be acceptable if the second sentence were moved to a new section and specifically focused on chemistry. | Persuasive | Separate section added to the standard.
Negative with comment | 4.2.3 | Section 4.2.3 is not applicable to radiochemistry and therefore inaccurate. | Persuasive | Separate section added to the standard.
Affirmative with comment | 4.3.2 | Editorial comment here. For clarity, please insert a comma after the word "shall" on the first line. That will clearly delineate the separable phrase "on or before the closing date of the study" and clearly connect the auxiliary verb with the main verb (… laboratory shall … direct the PT Provider …). | Persuasive | Completed.
Affirmative with comment | 4.3.6 | The acronym MDA appears, and there is no listing in the definitions section. Therefore, spell out the acronym on first usage, as follows, in the first sentence: "… whether above or below the Minimum Detectable Activity (MDA)." | N/A | The clause has been re-written without reference to MDA, so no longer applicable.
Negative with comment | 4.3.6 | Similarly, 4.3.6 is too narrow and dances around what really needs saying. According to Volume 1, module 6, labs should not censor results (not just against an MDA), rather results should be reported “as measured”. Suggest the following language: 4.3.6 Radiochemistry results shall be reported as measured, including zero, negative, and positive results, and shall not be censored or reported as “less than” values (e.g., < PTRL or <MDA). All radiochemistry PT study results shall be reported in association with the measurement uncertainty, as appropriate to the program (e.g., CSU is generally appropriate although counting uncertainty at the 95% confidence interval may be required for SDWA compliance measurements). | Persuasive | Section updated with alternate language after further disucssion with commentor and PTEC.
Negative with comment | 4.3.6 | Section 4.3.6 should be expanded to include the following text based on requirements of Volume 1, module 6: "4.3.6 Radiochemistry results shall be reported as measured, including zero, negative, and positive results, and shall not be censored or reported as "less than" values (e.g., <PTRL or <MDA). All radiochemistry PT study results shall be reported in association with the measurement uncertainty, as appropriate to the program (e.g., CSU is generally appropriate although counting uncertainty at the 95% confidence interval may be required for SDWA compliance measurements)." | Persuasive | Section updated with alternate language.
Negative with comment | 4.3.6 | Section 4.3.6 is not accurate. The combined standard uncertainty (CSU) does not apply to drinking water analysis, under Safe Drinking Water Act. | Persuasive | Section updated with alternate language.
Negative with comment | 4.3.7 | Section 4.3.7. may or may not be acceptable as written – it is not currently limited to chemistry, but one might argue that since LOQs do not exist for radiochemistry, it does not apply. This fact would be much clearer, however, if the section specifically pointed at chemistry. In other words, “The laboratory shall evaluate and report each FoPT result for chemistry as follows:…” | Persuasive | Added the word chemistry
Negative with comment | 4.3.7 | The new language in Volume 1, Module 1 sections 4.2.3 and 4.3.7 do not adequately address my concerns, specifically: Section 4.3.7 appears unchanged from the original balloted draft. I suggest the following be added: "d) For radiochemistry results shall be reported as described in section 4.3.6." | Persuasive | Added the word chemistry
Negative with comment | 4.3.7 | Section 4.3.7 should state that it is applicable for chemistry so there will be no confusion with radiochemistry. | Persuasive | Added the word chemistry
Negative with comment | 4.3.7 (b) and (c) | RECOMMENDATION: 4.3.7. b and c: a. 4.3.7.c provides three options which the laboratory SHALL choose from if results are below the PTRL. b. 4.3.7.b provides, in the second sentence, a “SHALL” directive which is contradictory to the choices provided in 4.3.7.c. c. The first sentence of 4.3.7.b is “understood” by the options provided in 4.3.7.c. This is unnecessarily “bulky” and confusing, and also contradictory. It seems that 4.3.7.b should be removed. [This seems like an editorial change to me based on the reasons. ] | Persuasive | Clause 4.3.7 re-written to simplify.
Affirmative with comment | 7.2 | This sentence may not be up for consideration in this IS stage, but the sentence does not read clearly to me. Does the insertion of this word capture the intent of the Expert Committee in writing this Standard? "Laboratories shall have to submit questions to their AB in regards to the AB's PT evaluation, if necessary." | This clause passed the VDS voting process without comment, there fore cannot be addressed by the committee. | Editorial change clarified the statement.