## Comments
INTERIM STANDARD ELV2M2. APRIL 2016. RESPONSE TO COMMENTS
Vote Tally: Abstain 2; Affirmative 24; Affirmative with Comment 4; Negative with Comment 1.
Disclaimer: The NELAC Institute (TNI) accepts no liability for the content of any comment on a standard. Any views or opinions on a standard are solely those of the commenter and do not necessarily reflect those of TNI.
Vote | Section | Vote Comment | Disposition | Change/Reasoning
Affirmative with comment | General | I would like to thank all of the Committee members for all of their work in generating this standard. Generating a standard while addressing the diverse views of affected stakeholders presented in a significant challenge. There may be usage of "FoPT's" that should be "FoPTs". The apostrophe may not be needed. | Persuasive | Completed
Negative with comment | General | The use of the word "shall" needs to be equally applied for both laboratory suspension for failing PTs as well as reinstatement in meeting the established criteria. Allowing ABs discretionary judgment on laboratory suspension with the use of the work "may" sets up inconsistent judgments/interpretation by each TNI - AB. Allowing for AB discretionary decision-making does not foster a national, uniform and consistent standardized approach to applying suspension criteria across all ABs. | Persuasive | Language changed to allow ABs to follow their normal procedures and incorporate "shall" into the standard.
Affirmative with comment | 3.1.6 | Clause 3.1.6 had been modified in the IS to change the definition of Suspension to read “The temporary removal of a laboratory’s accreditation for a defined period of time, which shall not exceed six (6) months or the period of accreditation, whichever is shorter, in order to allow the laboratory time to correct deficiencies or area of non-conformance with the Standard.” Previously it had read “..whichever is longer..”. In discussions at the Chicago meeting, we determined that the change would be inconsistent with other parts of the standard and that the definition of suspension cannot vary between modules. It was agreed this should be changed back to “longer”. | Persuasive | Now Clause 3.15 and changed as recommended.
Affirmative with comment | 3.2 | Since this definition is being targeted for deletion and the other subsequent sections are not being renumbered, should Section 3.2 be left with a place-holder? If so, insert "<Reserved>" in place of the deleted text for Section 3.2. | Persuasive | Sections re-numbered
Affirmative with comment | 4.2.1 | In the VDS, Clause 4.2.1 states “The Secondary AB shall have procedures in place to evaluate and update a laboratory’s accreditation status based on the accreditation granted by a Primary AB.” On discussion in the Chicago meeting, it was agreed clause 4.2.1 is redundant, since it is covered in 4.2.2. It was agreed 4.2.1 should be removed, with its language being merged into 4.2.2. | Persuasive | Clause 4.2.1 merged into 4.2.2 and deleted. Sections were re-numbered.
Affirmative with comment | 5 | Since Section 5.2 is being eliminated, the Section numbered as 5.1 is unnecessary. Renumber sections 5.1.1 – 5.1.4 as 5.1 – 5.4. | Persuasive | Completed
Affirmative with comment | 6.1 & 6.2 | I am voting Affirmative only with the assumption and condition that the changes in sections 6.1 and 6.2 agreed to by the Committee during the public meeting in Chicago in July are being made. | Persuasive | Language changed to allow ABs to follow their normal procedures and incoporate "shall" into the standard.
Affirmative with comment | 6.1.1 and 6.2.1 | The numbering of sections 6.1.1 and 6.2.1 is unnecessary since there are no corresponding sections 6.1.2 and 6.2.2. Please delete. | Persuasive | Completed
Affirmative with comment | 6.1.1 (b) | Clause "6.1.1(b)" [should really be 6.1(b)] There are two periods at the end of the sentence. One of them can be deleted. | Persuasive | Re-numbered
Affirmative with comment | 6.3.1 | If [comment regarding Clauses 6.1.1 and 6.2.1] above is persuasive, then change the reference to "section 6.1.1a" in the second line to "section 6.1a." If [comment regarding Clauses 6.1.1 and 6.2.1] above is persuasive, then change the reference to "section 6.1.1b" in the second line to "section 6.1b." | Persuasive | Completed